Existing AS Capacity Monitor Display with Additional Data

| System Ancillary Service Capacity Monitor |
| --- |
| Last Updated Sep 09 2012 20:11:11 CDT |
| Responsive Reserve Capacity (MW) |  |  |  |
| Generation Resources | 1,401 |  |  |  |
| Load Resources (excludes Controllable Load Resources) | 1,380 |  |  |  |
| Controllable Load Resources | 0 |  |  |  |
| Non-Spin Reserve Capacity (MW) |  |  |  |
| On-Line Generation Resources With Energy Offer Curves | 17 |  |  |  |
| On-Line Generation Resources with Output Schedule | 0 |  |  |  |
| Off-Line Generation Resources | 931 |  |  |  |
| Undeployed Load Resources | 0 |  |  |  |
| Regulation Up / Regulation Down Capacity (MW) |  |  |  |
| Undeployed Reg-Up | 395 |  |  |  |
| Undeployed Reg-Down | 511 |  |  |  |
| System Capacity (MW) |  |  |  |
| Capacity with Energy Offer Curve Available to Increase SCED Base Points | 1,698 |  |  |  |
| Capacity without Energy Offer Curve Available to Increase SCED Base Points | 1 |  |  |  |
| Capacity with Energy Offer Curve Available to Decrease SCED Base Points | -17,199 |  |  |  |
| Capacity without Energy Offer Curve Available to Decrease SCED Base Points | -1,464 |  |  |  |
| ERCOT-Wide Physical Responsive Capability | 3,795 |  |  |  |

Responsive Reserve Responsibility (MW)

Generation Resources

Load Resources (excluding Controllable Load Resources)

Controllable Load Resources

RRS Deployed (MW)

Generation Resources

Load Resources (excluding Controllable Load Resources)

Controllable Load Resources

Non-Spin Reserve Responsibility (MW)

On-Line Generation Resources with Energy Offer Curves

On-Line Generation Resources with Output Schedules

Load Resources

Off-Line Resources other than QSGRs

QSGRs

AS Responsibility for URS

AS Responsibility for DRS

Proposed AS Capacity Monitor Display

| System Ancillary Service Capacity Monitor |
| --- |
| Last Updated Sep 09 2012 20:11:11 CDT |
| Responsive Reserve |  |  |  |
| RRS Responsibility |  |  |  |
| Generation Resources |  |  |  |  |
| Load Resources (excludes Controllable Load Resources) |  |  |  |  |
| Controllable Load Resources |  |  |  |  |
| RRS Undeployed Capacity (MW) |  |  |  |  |
| Generation Resources |  |  |  |  |
| Load Resources (excludes Controllable Load Resources) |  |  |  |  |
| Controllable Load Resources |  |  |  |  |
| RRS Deployed (MW) Generation Resources Load Resources (excluding Controllable Load Resources) Controllable Load Resources |  |  |  |  |
| Non-Spin Reserve |  |  |  |  |
| NSRS Responsibility (MW) |  |  |  |  |
| On-Line Generation Resources with Energy Offer Curves On-Line Generation Resources with Output Schedules Load Resources Off-Line Resources other than QSGRs QSGRs NSRS Undeployed Capacity (MW) |  |  |  |  |
| On-Line Generation Resources With Energy Offer Curves |  |  |  |  |
| On-Line Generation Resources with Output Schedule |  |  |  |  |
| Off-Line Generation Resources |  |  |  |  |
| Undeployed Load Resources |  |  |  |  |
| Regulation Up / Regulation Down Capacity (MW) |  |  |  |  |
| Regulation Up Responsibility |  |  |  |  |
| Regulation Up Deployed |  |  |  |
| Regulation Up Undeployed |  |  |  |  |
| Regulation Down Responsibility |  |  |  |  |
| Regulation Down Deployed |  |  |  |  |
| Regulation Down Undeployed |  |  |  |  |
| System Capacity (MW) |  |  |  |  |
| Capacity with Energy Offer Curve Available to Increase SCED Base Points |  |  |  |  |
| Capacity without Energy Offer Curve Available to Increase SCED Base Points |  |  |  |  |
| Capacity with Energy Offer Curve Available to Decrease SCED Base Points |  |  |  |  |
| Capacity without Energy Offer Curve Available to Decrease SCED Base Points |  |  |  |  |
| ERCOT-Wide Physical Responsive Capability |  |  |  |  |