**DWG Report to ROS**

**February 2013**

1. DWG members had a conference call on January 17, primarily to discuss the 2013 Flat start.
2. 2013 Flat Start has been posted on the ERCOT POI site, and a vote for approval is due COB February 7.
3. The Final version of the 2012 Stability Book has been posted on the ERCOT POI site.
4. ERCOT has requested Normal and Delayed Clearing times for the 138 kV and 345 kV systems from each TSP. Members have agreed to provide this information to ERCOT by Feb 17.
5. FERC Order 754 data request was discussed in the January 17 conference call. Members plan to use the 2013 flat start to conduct the required analysis.