## Slide 1: PDCWG Report to ROS
David Kee Chair
CPS Energy
Sydney Niemeyer Vice Chair
NRG Energy

## Slide 2: Summary
Leadership nomination
Scope update
Regulation bias update (NPRR 486)
SCR 773
Event reviews
Focus for future meetings

## Slide 3: January Meeting
Met Jan 24, 2013
22 members representing 15 companies as well as ERCOT & TRE.
PDCWG unanimously nominated
  David Kee CPS Energy as Chair
  Sydney Niemeyer NRG Energy as Vice Chair
Next meeting Feb 28, 2013

## Slide 4: Scope update
Background: in 2012 the PDCWG added to its scope “Evaluate the impact of all technologies on system wide control performance.”
This update adds to the scope the programs that implement these technologies.
New scope reads “Evaluate the impact of all technologies and programs to implement these technologies on system wide control performance.”

## Slide 5: Regulation Bias update
ROS assignment was to examine NPRR 486. As part of that assignment PDCWG began to look for a solution to regulation bias issue
Regulation bias was examined and ERCOT LFC system was tuned.
Regulation deployment improved, but the bias seems to persist (note there is a limited data set)
Next step identified as modification to generation dispatch calculation

## Slide 6: Reg. Bias - SCR 773
ERCOT drafted language at request of PDCWG
PDCWG discussed and agreed to sponsor SCR
Regulation deployed is added into the GTBD value
After implementation and evaluation, additional changes may be needed
PDCWG is conflicted with the desire to correct the bias promptly as well as systematically
  Members are working on preparing for next step in the event that SCR 773 does not meet expectations
Filed as urgent and will be considered at PRS

## Slide 7: Event Review
01-04-2013 09:41 – DCS event Loss of 1174MW
  System passed DCS metric
  LR’s deployed
  Deployment was discussed no members reported any issues with quick LR response
  Event was not used to evaluate governor response due to the quick recovery of frequency

## Slide 8: Event Review
01-08-2013 16:40 – DCS event Loss of 1174MW – 1367MW total (sympathetic trip)
  System passed DCS metric
  LR’s deployed
  Deployment was discussed no members reported any issues with quick LR response
  Event was not used to evaluate governor response due to the quick recovery of frequency

## Slide 9: Event Review
12-25-2012 04:30 – Loss of 783MW
  System passed event
  Some Resources squelched
  Overall performance was good

## Slide 10: Focus for 2013
Formal & documented review/report of frequency responsiveness for Power Augmentation on Combined Cycle Resources (train not individual unit)
Review regulation/GTBD deployment effectiveness
Study the impact of HSL/basepoint/generation deviation on compliance and reliability
Responsive Reserve requirements, qualification vs. compliance. (10min vs 16 second)
Standardized/consistent metrics for PFR analysis (BAL001-TRE).
Standardized/reasonable expectations for extreme events (2750MW or larger lost) – driven by NERC.
No performance required for nonpayment (freq. resp AS)
ERS impact review with appropriate ERCOT group. Target Q1-2014
PMU data understanding of implications
Pilot of fast frequency response – characterize & create evaluation process.
Work on realistic measurement of combined cycles

## Slide 11
Questions?