## Slide 1: Report of SPS Type2 Task Force to ROS February 14th, 2013
By:
R. Jones
SPS2TF Chair

## Slide 2
Second Meeting – Monday, 1/21/13
Well attended in person (10) and WebEx
Issues discussed:
“Cost-Benefit” (“risk-reward” to TO) should it be discussed for each proposed SPS Type-2?,
Some debate whether Protocols & Guides anticipated GO SPSs,
New Development- ERCOT affirmed that BA would have responsibility to monitor telemetry of GO SPSs,
Discussed questions, “What is the TOP “area”?” and “Can an SPS exist outside of a TOP “area”?”
Discussed and did some wordsmithing of CPN proposed telemetry requirements for Type-2s.

## Slide 3
Next Steps for Task Force
Monitor Outcomes of Two Critical Meetings:
February 1st TRE Meeting- Engineering examination of Baytown RAP characteristics, (TRE/CPN/NRG/ERCOT),
February 15th TOP CFR Meeting,
Will set a date for next Task Force meeting to move forward based on outcomes of those two meetings.

## Slide 4
Three Paths of Task Force Actions Were Identified
#1
TRE to give guidance on TOP needed actions,
Documentation of TRE interpretations.
#2
TOP CFR provides needed answers,
Can SPS exist outside of TOP “area” ?(PRC-001.R.6),
BA (ERCOT) agrees to monitor and report (TOP-005.R.2),
Review all standards that are applicable to SPSs,
Potential for recommending a Regional Standard is still on the table.

## Slide 5
Paths Cont’d:
#3
Operating Guides revisions,
Permissive/Mandatory sharing of SPS telemetry,
Who Monitors and Reports on SPS?