## Slide 1: 2013 Ancillary Services Methodology
Chad Thompson, ERCOT
WMS: February 13, 2013
ROS: February 14, 2013

## Slide 2: Proposed Changes
Remove Non-Spin Load Forecast Bias
Consider Net-Load Error from all Intermittent Renewable Resources

## Slide 3: NSRS Load Forecast Bias - Background
The NSRS Load Forecast Bias was implemented in Zonal due to the lack of an hour-ahead commitment tool (RPRS)
With the addition of HRUC, ERCOT is now able to wait until closer to the Operating Hour to issue commitments, which provides QSEs the latitude to self-commit Resources in lieu of receiving an HRUC instruction

## Slide 4: NSRS Load Forecast Bias – Effects of this change
2012 was evaluated with the Load Forecast Bias removed
Observed that some months’ minimum NSRS requirements remained unchanged while others observed a decrease
  Fewer periods of over-forecasted conditions have been observed
The decreases observed were not always across the same hour blocks
The result, on a total hourly average, is a reduction in the minimum requirement by approximately 110 MW per hour

## Slide 5: 2012 Hourly Monthly Average Data

## Slide 6: Consider Net-Load Error from all IRRs
With the planned continued addition of non-wind IRRs, ERCOT believes it is necessary to include net-load error from all IRR types to accommodate new renewable technologies into the analyses
ERCOT has removed previous references to using the GE Study for increases in IRR penetration

## Slide 7: Timeline
Board Approval in March to meet the annual review requirement in the Nodal Protocols
Seeking TAC endorsement in March ahead of the Board Meeting
Seeking WMS and ROS endorsement in February ahead of the March TAC Meeting
ERCOT is comfortable with a “no-change” re-affirmation of the current AS Methodology if that is what WMS and ROS endorse
  ERCOT would still suggest administrative changes to the document, including updated Board approved and Effective dates