Operations Working Group Meeting

Monday, 01/28/13

Austin - Marriott

In Attendance:

Frank Owens - CTT

Jerry Willms - LST

Stan Morris – TNMP

Rick Keetch – NRG Energy

Robert Bailey – NRG

John Abel – ONCOR

Ross Owen – Oncor

Brenda Hampton – Luminant

Matt Carter – Garland

David Penny – Texas RE

Keith Jordan - CPS Energy

Tip Tipton - Brazos

Jeff Sims – CPS Energy

Yvette Landin – ERCOT (RC)

Jimmy Hartmann – ERCOT (RC)

Vijay Betanabhatla – ERCOT (RC)

Kelly Blackmer – ERCOT (RC)

Colleen Frosch – ERCOT (RC)

Dial-In Attendees:

Kevin Morley – CNP

Larry Helms – Denton

Isabel Flores – ERCOT (RC)

Nathan Bigbee – ERCOT (RC)

- Antitrust Admonition – Meeting opened at 8:53 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting –

No updates

- December OWG Meeting Notes - Notes approved with one change. NOGR 104 is not withdrawn

- NOGRR Reviews

  - 104NOGRR Removal of Transmission Operator Definition from the Nodal Operating Guide

This NOGRR proposes deleting the definition of Transmission Operator from the Nodal Operating Guides.

ERCOT Legal submitted comments on this NOGRR. Nathan Bigbee from ERCOT legal called in to explain the comments and answer questions.

OWG decided that no action needed on this NOGRR till NPR490 is settled.

  - 107NOGRR Disturbance Monitoring Requirements Clarification

This NOGRR clarifies disturbance monitoring requirements.

ERCOT Impact analysis showed no Impact.

OWG agreed to move it to ROS with recommendation to approve.

  - 108NOGRR QSE and TSP Hotline Responsibilities

This NOGRR adds the requirement for Qualified Scheduling Entities (QSEs) and Transmission Operators (TOs) to have a touchtone keypad on their Hotline phone.

ERCOT Impact analysis showed no Impact.

OWG agreed to move it to ROS with recommendation to approve.

- Monthly Operations Report

Vijay reviewed the report, no comments or questions were received.

- .

- Operations Task Force Report

Ross requested that OTF work on a reactive scorecard that shows, who is passing, who is not, who has not tested.  Stan (OTF Chair), agreed to work with ERCOT on that.

OTF also has additional action items that were assigned in December:

  - David Penny mentioned that language in the Protocols indicates real -time data for reliability purposes must be accurate within 3% percent.  Language in the Operating Guides indicates voltage is to be maintained within 2% of the voltage profile.  These requirements appear to conflict with each other, even though by the hierarchal process, the Protocols supersede the Operating Guides in this case.  Additionally, language in ERCOT’s Steady State Voltage Control Procedure states that transmission voltage should not exceed 105% nor fall below 95% of the nominal voltage during normal operation of the system and that transmission voltage during emergencies (including contingency events) should not exceed equipment over excitation ratings.  OTF is to review the language in the Operating Guides.

  - David Penny mentioned that based on data provided by the TOs, there appeared to be instances during cycling of feeders the TOs were not meeting their load-shed obligation for brief periods of time.  OTF is to review the language in the Operating Guides.

- Seminar Task Force Report

Dry run will start from 1 PM

- Texas RE Update Report

Mark mentioned that PRC-004, PRC-024, and PRC-025 are out for comment.  John Warren is working on a draft NPRR to clean up the emergency notification language in the protocols, and Texas RE will work with ERCOT on updating the SW Outage action item list.

- System Operations Report

A market notice will be sent out as a reminder that Back-up plans are due March 15, 2013.

- Other

Ross Owen presented results from some voltage reduction tests done by Oncor. He said eventually VR could be used during EEAs to lower the demand. Also mentioned that some TOs already use VR to shave the peak.

- Future Meeting Date

Wednesday, February 20th

- Meeting Adjourned at 11:00.

Notes compiled by Vijay Betanabhatla