Governing Document for Weather-Sensitive Emergency Response Service Pilot Project

- INTRODUCTION AND SUMMARY

As authorized by P.U.C. Substantive Rule 25.361(k), the ERCOT Board of Directors (“Board”) hereby establishes a pilot project to test an Emergency Response Service for Weather-Sensitive Loads (“Weather-Sensitive ERS”).  This pilot project will allow consumers that have a demonstrated pattern of increased energy usage during peak weather conditions associated with higher system demand to offer their demand response capability during peak hours in the summer months in exchange for payment from ERCOT.  ERCOT expects that this project will provide a better understanding of the capabilities of residential and other weather-sensitive consumers, which should further enable ERCOT staff and stakeholders to evaluate the feasibility and necessary details of a weather-sensitive ERS product.

- PURPOSE

The purpose of this pilot project is to:

- Evaluate the ability of weather-sensitive Loads to provide dispatchable demand response during summer system conditions;

- Evaluate the accuracy of Qualified Scheduling Entity (QSE) projections of demand response capabilities and Load growth;

- Evaluate deployment impacts on end-use customers;

- Identify any unforeseen challenges in procuring, deploying and evaluating the performance of weather-sensitive Loads.

- GENERAL PROVISIONS

Except where another rule or procedure is provided in this document, this pilot project will adhere to the rules and procedures governing ERS, including, without limitation, the ERCOT Protocols and the Emergency Response Service Technical Requirements & Scope of Work, an ERCOT Other Binding Document.

This Governing Document will be liberally construed to achieve the purposes of this pilot. Capitalized terms will be given the meaning assigned by the ERCOT Protocols to the extent they are consistent with this Governing Document.  In the event of any conflict between this Governing Document and the ERCOT Protocols, Market Guides, or any other ERCOT standard, the Governing Document will govern, but only to the extent the conflict relates to the administration of this pilot project.

- PROJECT TIMELINE

ERCOT will conduct this pilot project over a period coinciding with the June through September 2013 ERS Standard Contract Term (June 1, 2013, to September 30, 2013).  ERCOT’s procurement of Weather-Sensitive ERS will follow the timeline to be published by ERCOT in its Request for Proposals for the June through September 2013 ERS Standard Contract Term.  Charges and payments will be settled according to the timelines for settlement of standard ERS obligations for the June through September 2013 ERS Standard Contract Term, as described in Protocols Section 9.14.5, Settlement of Emergency Response Service.

- ELIGIBILITY AND QUALIFICATION

- Participant Requirements

Participation in this pilot project is limited to any Loads qualified to provide ERS that can be categorized as “weather-sensitive” by meeting either of the following criteria:

(a)	The Load must consist exclusively of residential sites and must qualify for performance evaluation under either the regression baseline methodology or the control group baseline methodology; or

(b)	The Load must consist exclusively of non-residential sites and must qualify as weather-sensitive under the regression baseline evaluation methodology.

The control group and regression methodologies are described in the document entitled “Emergency Response Service Default Baseline Methodologies” posted to the ERCOT website.  All sites in an ERS Load must have at least nine months of interval meter data to qualify as weather-sensitive under the regression baseline evaluation methodology.  ERCOT will post minimum accuracy standards for qualification under the regression baseline evaluation methodology.  All sites in an ERS Load assigned to the control group baseline must have fully functional interval metering, but are not required to have historical meter data.  ERCOT’s determination that an ERS Load is eligible to participate in the pilot is independent of ERCOT’s determination of which baseline methodologies may be appropriate for purposes of evaluating the ERS Load’s performance.

- QSE Requirements

Any offer to provide Weather-Sensitive ERS on behalf of eligible ERS Loads must be submitted by a Qualified Scheduling Entity (QSE).  As a condition for participation in this pilot, a QSE must have demonstrated the capability to receive both Extensible Markup Language (XML) messaging and Verbal Dispatch Instructions (VDIs) on behalf of each ERS Load it represents (as required of ERS QSEs by Section 3.14.3.1 of the ERCOT Protocols) and must demonstrate the capacity to curtail, or require curtailment, of the consumption of energy for each ERS Load it represents.  Prior to submitting any offer, a QSE must submit a fully executed Weather-Sensitive ERS Pilot Project Supplement to Market Participant Agreement (which is attached hereto as Attachment A and incorporated herein for purposes of Board approval).

A QSE offering an ERS Load’s capacity in either conventional 10-Minute ERS or in the 30-Minute ERS pilot project for the June through September 2013 Standard Contract Term or 30-Minute ERS Pilot Contract Period may also offer that capacity for the Weather-Sensitive ERS pilot project.  However, ERCOT will commit ERS Loads to participate in this pilot project before considering offers for other ERS services.  An ERS Load whose capacity is offered and committed in this pilot project may not participate in either 10-Minute ERS or the 30-Minute ERS pilot project for any Time Period for which the Resource is committed under this pilot.  A committed ERS Load may participate in ERS in other Time Periods, provided that the population of that Load does not change during the pilot, as otherwise permitted by Section 7, below.  An ERS Load may not participate in this pilot if, at the time of its offer, all or any part of the Load’s capacity is already committed under a non-ERS demand response program for all or any part of any Time Period for which the Resource has submitted an offer in this pilot.

- PROCUREMENT

ERCOT will procure Weather-Sensitive ERS for a pilot project contract term beginning on June 1, 2013 and ending on September 30, 2013, coincident with the planned June through September 2013 ERS Standard Contract Term (hereinafter “pilot project term”).  ERCOT will procure a maximum of 30 MW of Weather-Sensitive ERS.  If more than 30 MW is offered, ERCOT will proportionally reduce the commitments of all participating ERS Loads consistent with the value ‘MW Tied Offers’ indicated on the ERS Submission Form.

For the June through September 2013 pilot project term, ERCOT will procure Weather-Sensitive ERS for the Business Hours 2, Business Hours 3 ERS Time Periods and a Weekend/Holiday Peak Time Period (1 p.m. to 8 p.m. on Saturdays, Sundays, and Holidays) that will be available only to Weather-Sensitive ERS Loads.

A QSE must offer at least 100 kW for each Weather-Sensitive ERS Load.  If the actual capacity of a Load is greater than 100 kW but less than 300 kW, ERCOT will deploy all sites in the Load during each test or event deployment, as provided by Section 9.B., below.  For the purposes of this pilot project, actual capacity shall be calculated by multiplying the actual number of sites by the offered output and dividing by the offered number of sites.

QSEs representing Weather-Sensitive ERS Loads in Business Hours 2 and 3 ERS Time Periods will be paid the clearing price for the corresponding Time Period in the 30-Minute ERS pilot project.  QSEs representing Weather-Sensitive ERS Loads in the Weekend/Holiday Peak Time Periods will be paid the time-weighted average clearing price for Business Hours 2 and 3 Time Periods.  Any offer price included on the ERS Submission Form for Weather-Sensitive ERS Loads will be disregarded.

Each offer submitted by a QSE on behalf of an aggregated Weather-Sensitive ERS Load must include the QSE’s projection of the maximum number of sites in the aggregation during the ERS Standard Contract Term.  ERCOT shall review this projection and shall reject any offer that assumes population growth that would violate the limits on site participation growth described in section 7, below.

Weather-Sensitive ERS Loads are not eligible for renewal opt-in, as described in Protocols Section 3.14.3.1, Emergency Response Service Procurement.

For the purpose of the pilot, QSEs may not self-provide Weather-Sensitive ERS, as otherwise permitted by Protocols Section 3.14.3.2, Emergency Response Service Self-Provision.

- MODIFICATION OF LOAD POPULATION

A QSE may modify the population of an aggregated Weather-Sensitive ERS Load once per month during the pilot project by resubmitting the offer form to reflect the site modifications. Other fields on the offer form may not be modified.  These adjustments will be effective on the first day of each month following the first month.  A QSE may increase the number of sites in an aggregated ERS Load that is participating only in designated weather-sensitive ERS Time Period(s) by no more than the greater of the following:

(a)	100% of the Load’s initial size; or

(b)	Two MW times the QSE’s projection of the maximum number of sites in the aggregation during the pilot project term, divided by the MW capacity offered for the aggregation.

Any sites added to an ERS Load during the pilot project must qualify for the baseline applicable to the ERS Load, as described in Section 9.A., below.

- DEPLOYMENT REQUIREMENTS

ERCOT may dispatch Weather-Sensitive ERS Loads for purposes of testing or to provide capacity during an ERCOT-declared Energy Emergency Alert (EEA).  ERCOT will deploy Weather-Sensitive ERS Loads obligated in Business Hours 2 and 3 Time Periods via an XML and Verbal Dispatch Instruction (VDI).  ERCOT will deploy Weather-Sensitive ERS Loads obligated in the Weekend/Holiday Peak Time Period via a VDI only.  An instruction shall not be considered a deployment of Weather-Sensitive ERS Loads unless the instruction explicitly applies to Weather-Sensitive ERS.  Upon receiving an instruction requiring deployment of Weather-Sensitive ERS, each affected QSE must ensure curtailment of its Weather-Sensitive ERS Loads consistent with their respective obligations within 30 minutes of the QSE receiving the instruction and shall ensure those Loads remain curtailed until recalled by ERCOT.  ERCOT shall not require deployment of any single Load for longer than three hours during any single deployment.

- Test Deployment

ERCOT shall conduct unannounced testing of each participating ERS Load at least once but no more than twice per month during the pilot project, unless testing has been superseded by deployment events as described below in this Section.  For no more than two of the tests of an ERS Load in the pilot project term, the Sustained Response Period of the test will have a duration of at least one hour.  The remaining tests will be conducted according to normal ERS testing procedures.  At the time of Dispatch during a test, ERCOT will not advise the QSE of the test duration.  ERCOT may conduct a test during any of an ERS Load’s obligated hours.  However, tests will generally be targeted toward periods of peak weather conditions.

For an ERS Load assigned to an ERS default baseline that has an actual capacity of at least 300 kW at the time of the test, tests will be conducted by group. If an ERS Load assigned to an ERS default baseline has an actual capacity lower than 300 kW at the time of the test, all sites in the resource will be assigned to the same group and tests will be conducted for the entire Load. The Dispatch Instruction shall identify the group being tested.

For an ERS Load assigned to the control group baseline, tests will target one or more of the designated groups.  The Dispatch Instruction shall identify the group(s) being tested.  Non-tested groups will serve as the control group.  Selection of groups to be tested will be random and will cycle through the groups within the Load.

The QSE is responsible for managing group assignments and for deploying only the group(s) dispatched by ERCOT during a test.

ERCOT may reduce the number of tests administered by the number of EEA deployment events during the ERS Standard Contract Term.  However, a test shall not reduce a participating ERS Load’s EEA deployment obligation, as described in this Section below.

- EEA Deployment

Except for the purposes of testing, ERCOT may dispatch Weather-Sensitive ERS Loads only if ERCOT has first declared a Level 1 (or higher) Energy Emergency Alert.  A deployment of 30-minute ERS or 10-minute ERS during an EEA shall not be considered a deployment of Weather-Sensitive ERS unless the VDI expressly includes Weather-Sensitive ERS.

Each Weather-Sensitive ERS Load shall be subject to a maximum number of EEA deployment events equal to two times the number of months of obligation in the pilot project term (i.e., 8 deployments).

- PERFORMANCE EVALUATION

Weather-Sensitive ERS Loads are subject to event performance, test performance, and availability requirements as described in this Section.  Unless specifically addressed in this Section, Weather-Sensitive ERS Loads are subject to the same performance criteria that apply to other ERS Resources.

- Baseline Assignments

For purposes of performance evaluation, each Weather-Sensitive ERS Load must be assigned to an appropriate baseline before the beginning of the pilot project term.  An ERS Load consisting of residential sites must be assigned to either the regression baseline evaluation methodology or the control group baseline evaluation methodology.  If ERCOT determines that the residential ERS Load may be assigned to either baseline, the QSE may select the baseline.  For each ERS Load consisting of non-residential sites, the QSE must select any one of the ERS default baseline methodologies for which the Load qualifies.

- Group Assignments for Certain ERS Loads

For each Weather-Sensitive ERS Load assigned to a default baseline that has an actual capacity of at least 300 kW, ERCOT will assign each site in the Load to one of two numbered groups for purposes of testing and deployment event Dispatch.  Upon the request of a QSE, or upon a determination by ERCOT that assignment to two groups would result in test results that would inaccurately represent performance for the entire Load, ERCOT shall assign all sites within the Load to a single group.  ERCOT will assign all sites within an ERS Load whose actual capacity is less than 300 kW to a single group.  Group designations are subject to change if the QSE adjusts the population of the ERS Load during the pilot project, as described in Section 7, above.

For a Weather-Sensitive ERS Load assigned to the control group baseline, ERCOT will divide the aggregation into multiple randomly assigned numbered groups for purposes of testing and deployment event Dispatch, and one or more of these groups will be designated as the control group(s) at time of Dispatch.  ERCOT will strive to minimize control group size while preserving the ability to achieve accurate demand response measurement and verification.  The number of groups, group size and group designations are subject to change if the QSE adjusts the population of the ERS Load during the pilot project, as described in Section 7, above.

- Test Performance Factor Calculation

ERCOT shall calculate a test performance factor for each test of a participating ERS Load using the event performance methodology described below in this Section, except that the capacity obligations shall be prorated based on the number of sites dispatched during the test.

- EEA Deployment Event Performance Factor Calculation

For an EEA deployment event in which pilot participants are deployed, ERCOT shall calculate Load and QSE portfolio-level ERS Event Performance Factors as follows:

- For each interval of a deployment ERCOT shall compute an event interval performance factor (EIPF) for each Weather-Sensitive ERS Load as specified in Protocols Section 8.1.3.1.4(2)(b)(i) except that the interval performance factor shall not be capped at one.  In addition, ERCOT shall compute a demand reduction value for that interval as the greater of zero or the baseline estimate for that interval less the actual load for that interval. The demand reduction value shall be adjusted to reflect normalized peak weather conditions and any baseline modifications required in Section 11.B., below.  Regardless of the number of enrolled sites in the Weather-Sensitive ERS Load at the time of an event, the contracted capacity value (OFFERMW) used will be the value submitted by the QSE in its offer.  ERCOT shall compute each ERS Load’s interval fraction value (IntFrac) as provided in Section 8.1.3.1.4(2)(b)(i).

- For an EEA deployment event with two or more full intervals in the Sustained Response Period, if an ERS Load’s EIPF for the first full interval of the Sustained Response Period is less than 75% of the average EIPF for the remaining full intervals of the Sustained Response Period, the baseline used to evaluate the ERS Load shall be reduced to the level at which the ERSEPF for that event or test is equal to 0.75 times the ERSEPF determined by using the initial baseline.  For the purposes of this calculation, each EIPF is capped at 1.0.

- ERCOT shall compute a QSE portfolio-level MW obligation and portfolio-level demand reduction value for each interval of a deployment as the sum of the MW obligations and the demand reduction values calculated in paragraph i., above, respectively. ERCOT shall compute the QSE’s portfolio-level interval fraction value (IntFrac) for each interval of a deployment as the average of the interval fractions for each of the Loads within its portfolio weighted by the demand reduction value for the Load in that interval.

- For each test and EEA deployment event, ERCOT shall compute each Weather-Sensitive  ERS Load’s event performance factor (ERSEPF) as the average of the event interval performance factors calculated in paragraph i., above, weighted by the interval demand reduction values and interval fractions (IntFrac) computed in paragraph i., above.

- ERCOT shall compute the QSE’s portfolio-level event interval performance factor for each interval of a deployment as specified in Protocols Section 8.1.3.1.4(2)(b) using the values computed in paragraphs i. and ii., above.

- ERCOT shall compute the QSE’s portfolio-level Weather-Sensitive ERS Load event performance factor (ERSEPF) for each test and event as the average of the event interval performance factors calculated in paragraph iii., above, weighted by the interval demand reduction values and interval fractions (IntFrac) computed in paragraph ii., above.

- ERCOT shall compute the QSE’s portfolio-level Weather-Sensitive ERS Load event performance factor for the Contract Period as the average of the event interval performance factors for all tests and events during the Contract Period calculated in paragraph iii., above weighted by the interval demand reduction values and interval fractions computed in paragraph ii., above.

- Availability Factor Calculation

The availability factor methodologies described in Section 8.1.3.1.3, Availability Criteria for Emergency Response Service Resources, shall not apply to ERS Loads.  A participating ERS Load’s availability factor for the duration of the pilot shall be set to 1.0.

- LIMITED MORATORIUM ON SUSPENSION

Participating ERS Loads and QSEs representing such Loads are not subject to suspension for failure to comply with any standard required in this pilot.  This moratorium on suspension applies only to Weather-Sensitive ERS for the duration of the pilot.

- SETTLEMENT

ERCOT will settle Weather-Sensitive ERS in the same manner that ERS is settled under Section 6.6.11, Emergency Response Service Capacity, except that the QSE Portfolio-Level ERSEPF used will be calculated as provided in Section 9.D., above, and except as otherwise provided in this Section.  ERCOT will itemize payments and charges associated with the Weather-Sensitive ERS pilot project separate from other ERS charges on Settlement Statements.

- Payment Calculation

The offer price used in the calculation (OFFERPRICE) shall be the clearing price for the 30-Minute ERS pilot project for each corresponding Time Period.  For Loads participating in the Weekend/Holiday Peak Time Period, the OFFERPRICE for that Time Period shall be the time-weighted average of the clearing price for the 30-Minute ERS pilot project in the Business Hours 2 and 3 Time Periods.  Any offer price included on the ERS Submission Form for Weather-Sensitive ERS Loads will be disregarded.

- Payment Reduction

Notwithstanding the foregoing, ERCOT shall reduce a QSE’s payment for a Weather-Sensitive ERS Load as follows:

- If the maximum number of sites in the Weather-Sensitive ERS Load during the pilot project term is less than 90% of the maximum number of sites projected by the QSE at the time of offer submission, as described in Section 6, above, the baseline used to evaluate the Weather-Sensitive ERS Load shall be reduced to the level at which the pilot project ERSEPF is equal to the square of the ERSEPF determined by using the initial baseline.

- If the average Demand reduction value per site within the Weather-Sensitive ERS Load for all tests and deployment events during the pilot project term is less than 90% of the average Demand reduction value per site as calculated based on the QSE’s offer, the baseline used to evaluate Weather-Sensitive ERS Load shall be reduced to the level at which the Load’s pilot project ERSEPF is equal to the square of the ERSEPF determined by using the initial baseline.  ERCOT shall adjust the results of each test and deployment event to normalized peak weather conditions before making this calculation.

- If ERCOT determines that the total demand response value provided by the Weather-Sensitive ERS Load, as adjusted for normalized peak weather conditions, is equal to or greater than 90% of its contracted capacity value (OFFERMW), the squaring provisions described in paragraphs i. and ii. In this Section shall be waived.

- If the provisions of both paragraphs i. and ii. in this Section require the ERSEPF to be squared and paragraph iii. Of this section does not apply, the baseline used to evaluate the Weather-Sensitive ERS Load shall be reduced to the level at which the pilot project ERSEPF for the Weather-Sensitive ERS Load is equal to the cube of the ERSEPF determined by using the initial baseline.

- If a Weather-Sensitive ERS Load’s obligation is exhausted during the pilot project term, the provisions of paragraphs i., ii., and iv., above shall not be applied.

- PROGRAM COSTS

ERCOT estimates that the pilot project will cost $19,500.  This figure is based on the average clearing prices for the Business Hours 2 and 3 Time Periods in the last two 30-Minute ERS Contract Periods and assumes estimated participation of 2.5 MW for the three eligible Time Periods in the June to September 2013 ERS Standard Contract Term and that no reductions to payment will apply.  If ERCOT were to procure 30 MW of Weather-Sensitive ERS in this pilot project (a prospect that ERCOT currently views as unlikely), estimated costs using the same clearing price assumptions would be $233,000.  Actual costs may differ from these projections depending on actual participation, performance, and the clearing price for the 30-Minute ERS pilot project.

ERCOT will absorb the personnel impact of this pilot project in its current Operations and Maintenance budget for 2013.

ERCOT’s procurement of Weather-Sensitive ERS for this pilot is subject to the $50 million cost cap specified in P.U.C. Substantive Rule 25.507(b)(2).

- SURVEY OF END-USE CUSTOMERS

In order to further understand the effects of deployment obligations on weather-sensitive Loads, ERCOT may conduct a survey of pilot project participants after the completion of the pilot project term.  If ERCOT conducts such a survey, each QSE will be responsible for providing the survey via mail or email to individual end-use customers participating in Loads represented by the QSE.

- EVALUATION AND TERMINATION OF PILOT PROJECT

In advance of the December 2013 meeting of the ERCOT Board of Directors (“Board”), ERCOT will submit a report to the Board analyzing the pilot project data in light of objectives stated in Section 2, above.  The report will also include a recommendation as to whether the Protocols should be revised to allow participation in ERS by weather-sensitive Loads.

Unless extended by the Board of Directors, this pilot project will terminate at the end of the June to September 2013 ERS Standard Contract Term (i.e., on September 30, 2013).  If the Board chooses to extend the duration of the pilot project for any reason, the program will terminate at the end of that extended term, or at the end of the Operating Day prior to the effective date of any NPRR enabling participation ERS by weather-sensitive Loads, whichever comes first, except as otherwise directed by the Board.

At any time, with or without prior notice, ERCOT staff may suspend the pilot (including testing or deployment obligations) if, in its sole judgment, it determines that the pilot could jeopardize the efficient or reliable operation of the ERCOT System.  Additionally, ERCOT may at any time prohibit the continued participation in this pilot of any Weather-Sensitive ERS Load that, in ERCOT’s sole judgment, poses a threat to the reliability of the ERCOT system.

Irrespective of the reason for termination of the pilot, ERCOT will settle all pilot project obligations in accordance with the terms of this Governing Document.

Weather-Sensitive Emergency Response Service Pilot Project

Supplement to Market Participant Agreement

Between

(Name of QSE)

and

Electric Reliability Council of Texas, Inc.

This Supplement to Market Participant Agreement (“Supplement”), effective as of [START DATE] (“Start Date”), is entered into by and between [PARTICIPANT’s NAME], a Qualified Scheduling Entity in the ERCOT Region (“QSE” or “Participant”) and Electric Reliability Council of Texas, Inc., a Texas non-profit corporation (“ERCOT”).

Recitals

WHEREAS:

- The Public Utility Commission of Texas (“PUCT”) has authorized ERCOT to conduct pilot projects in P.U.C. Substantive Rule 25.361(k);

- The ERCOT Board has approved a pilot project to evaluate a weather-sensitive Emergency Response Service (“Weather-Sensitive ERS”), as described in the Governing Document for Weather-Sensitive Emergency Response Service Pilot Project (“Governing Document”);

- Participant is a QSE in the ERCOT Region and has executed a Standard Form Market Participant Agreement (“Market Participant Agreement”) with ERCOT;

- Participant is a QSE representing an ERS Load that will be obligated to provide Weather-Sensitive ERS in accordance with the requirements prescribed in the Governing Document;

- Participant and ERCOT wish to supplement the Market Participant Agreement between Participant and ERCOT to provide for Participant to represent ERS Loads participating in the Weather-Sensitive ERS; and

- The Parties enter into this Supplement in order to establish the terms and conditions by which ERCOT and Participant will discharge their respective duties and responsibilities with respect to the Weather-Sensitive ERS pilot project.

Agreements

NOW, THEREFORE, in consideration of the mutual covenants and promises contained herein, ERCOT and Participant (the “Parties”) hereby agree as follows:

- All terms and conditions of the Market Participant Agreement between Participant and ERCOT remain in full force and effect.

- In addition to its obligations under the Market Participant Agreement with ERCOT, Participant will submit Weather-Sensitive ERS offers on behalf of ERS Loads as described in the Governing Document.

- Participant and ERCOT will abide by and comply with the rules of the Weather-Sensitive ERS pilot project set out in the Governing Document.

- Each award of Weather-Sensitive ERS will be confirmed by ERCOT in an award notification to Participant.

- Either Party may terminate this Supplement by providing 30 days’ notice to the other Party; however, no termination of this Supplement will be effective before the end of any period for which ERCOT has already issued an award notification to Participant.

- Otherwise, this Supplement will terminate upon the completion of all obligations incurred under the terms of the Governing Document and this Supplement.

- This Supplement may be executed in two or more counterparts, each of which is deemed an original but all constitute one and the same instrument.

SIGNED, ACCEPTED, AND AGREED TO by each undersigned signatory who, by signature hereto, represents and warrants that he or she has full power and authority to execute this Supplement.

Electric Reliability Council of Texas, Inc.:

By: ____________________________________________________

Printed Name: ___________________________________________

Title: ___________________________________________________

Date: ___________________________________________________

Participant:

By: _____________________________________________________

Printed Name:____________________________________________

Title: ___________________________________________________

Date: ___________________________________________________

The Load performance requirements for this pilot project are intended to be similar to those proposed in Nodal Protocol Revision Request (NPRR) 505, ERS Weather-Sensitive Loads.

This document is available at http://www.ercot.com/content/services/programs/load/eils/contracts/2013/02-05/Technical_Requirements_&_Scope_of_Work-FebMay13_Final.doc.

This document is available at: http://www.ercot.com/content/services/programs/load/eils/ERS_k/Default_Baseline_Methodologies.doc

The requirements for these baselines are described in the “Emergency Response Service Default Baseline Methodologies” document, available at http://www.ercot.com/content/services/programs/load/eils/ERS_k/Default_Baseline_Methodologies.doc.

Unless otherwise indicated, capitalized terms in this Supplement have the meanings ascribed to them in the ERCOT Protocols.