## Slide 1: 2013 Ancillary Services Methodology
Technical Advisory Committee Meeting
March 7 2013

## Slide 2: Proposed Changes
Remove Non-Spin Load Forecast Bias
  Implemented in Zonal due to lack of an HRUC process
Consider Net-Load Error from all Intermittent Renewable Resources
  As more non-wind IRRs enter the market, it is necessary to incorporate non-IRR error into the AS analyses

## Slide 3: WMS and ROS Discussion and Endorsement
Concerns raised by the Market Participants
  Regardless of now having an intra-day commitment tool, there may still be a bias in the load forecast which should be considered in the NSRS calculation
  If bias is removed, then potentially replacing a market-based service with an out of market service
  It is not intuitive/desired that the NSRS requirement should decrease during peak hours
  Reducing the NSRS requirement may not be aligned with the Resource Adequacy proposals currently being discussed

## Slide 4: WMS and ROS Discussion and Endorsement
WMS and ROS have endorsed a re-affirmation of the existing Ancillary Services Methodology
  ERCOT supports this endorsement
ERCOT Comments
  ERCOT is committed to continue working with the stakeholders to better define the continued need for the Load Forecast Bias, and whether a cap on the amount of NSRS requirement is needed
  If modifications to the methodology are desired after this assessment concludes, ERCOT will bring the methodology back to the stakeholders and Board of Directors for endorsement and approval

## Slide 5: Timeline
Proposed changes presented to:
  QMWG on December 4 and January 8
  WMS on January 9; ROS on January 10 – Discussion Tabled
  Update to TAC on February 7
  WMS on February 13; ROS on February 14 – Endorsed re-affirmation of current AS Methodology
Road Map
  Seek Board Approval on March 19 to meet the annual review requirement in the Nodal Protocols
  Seek TAC endorsement today