BLACK START WORKING GROUP MEETING

February 11, 2013

TAYLOR, TEXAS

The Black Start Working Group (BSWG) met on February 11, 2013.  The following are the main topics of discussion:

Antitrust Admonition:

The Antitrust Admonition was delivered.

ROS Update:

No new action items.  BSWG will continue to report status of topics concerning system restoration to ROS.

Approval of Meeting Minutes for January 7, 2013:

BSWG members approved the minutes.

TRE Discussed EOP-005-2 R6:

- Frank Vick from TRE attended and discussed EOP-005-2 R6.

- He stated:

  - R6.1 would be dynamic testing of the BS Resource.

  - R6.2 and R6.3 can be validated using steady state simulation.

ERCOT Black Start Service:  Black Start Unit Selection Process:

- Greeshma Nissankala presented on the Black Start Unit Selection process.  She explained BS unit bidding, testing, and selection.  The timeline for FRP submission and notification was discussed.  Unit testing period modified to meet NERC requirements.  Simulator used in selection looks at connectivity between BS and NS units.  Actual testing considers a units ability to support voltage and frequency as load is picked up.

EOP-005-002 R6 Subcommittee Report:

- Presented “intended function” of the ERCOT Restoration Plan to meet EOP-005-2 R6.0.  NERC requirement is referencing the Transmission Operator.  The subcommittee will revise the “intended function” to reference the TOP.

- Group discussion included:

  - R6.2 is a TOP function.  ERCOT does not have load or control of breakers.

  - It is a possible option to use the ERCOT BS Simulator to meet this requirement.

  - Generator Operators would have to participate is the validation.

- TO function may include:

  - Bring BS Resources online.

  - Energize Cranking Paths to NS Unit.

  - Synchronize Corridors to synch points between islands.

- TOP without BS Resources may need different functions.

- BS Plans are difficult to validate beyond your area.

- Voltage: +/- 5% of nominal.

- Frequency: 58-62 -> Need to check high generator set point as defined by ERCOT.

2013 Black Start Training Report:

- First session had server issues that should be resolved.

Next BSWG Meeting:  March 11, 2013