| NPRR Number | 495 | NPRR Title | Changes to Ancillary Services Capacity Monitor |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | March 7, 2013 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Priority – 2013; Rank – 870 |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.7.5, Ancillary Services Capacity Monitor |  |  |
| Market Guide Section(s) Requiring Revision |  | Not applicable. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) modifies the Ancillary Service Capacity Monitor information provided by ERCOT both through Inter-Control Center Communications Protocol (ICCP) telemetry and the Market Information System (MIS) Public Area. |  |  |
| Reason for Revision |  | This NPRR is the result of feedback from Market Participants regarding potential improvements to the Ancillary Service Capacity Monitor information provided by ERCOT. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR495 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 10/29/12, NPRR495 was posted. - On 11/15/12, PRS considered NPRR495. - On 12/12/12, an Impact Analysis was posted. - On 12/13/12, PRS considered the 11/15/12 PRS Report and Impact Analysis for NPRR495. - On 1/17/13, PRS again considered the 11/15/12 PRS Report and Impact Analysis for NPRR495. - On 2/21/13, PRS again considered the 11/15/12 PRS Report and Impact Analysis for NPRR495. - On 3/7/13, TAC considered NPRR495. |  |  |
| PRS Decision |  | On 11/15/12, PRS unanimously voted to recommend approval of NPRR495 as submitted. All Market Segments were present for the vote. On 12/13/12, PRS voted to table NPRR495. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. On 1/17/13, PRS unanimously voted to table NPRR495. All Market Segments were present for the vote. On 2/21/13, PRS unanimously voted to endorse and forward the 11/15/12 PRS Report and Impact Analysis for NPRR495 to TAC with a recommended priority of 2013 and rank of 870. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 11/15/12, there was no discussion. On 12/13/12, participants questioned whether the Business Case sets forth a sufficient justification for NPRR495 given the cost reported in the Impact Analysis. It was noted that NPRR495 originated from discussions at the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG). PRS tabled NPRR495 to allow additional time for QMWG and WMS to review and propose additions to the Business Case for NPRR495. On 1/17/13, concerns were raised regarding the $105k – 125k budgetary impact for implementing NPRR495. It was suggested that ERCOT re-evaluate NPRR495 to determine whether or not it could be implemented in phases for a more cost effective solution. On 2/21/13, ERCOT Staff noted that removing ICCP delivery from NPRR495 would result in only a minimal cost reduction as the cost is driven by the development, testing and deployment of the changes to the source system versus the reporting format. Participants opined that it would be beneficial to have the information available by summer 2014. |  |  |
| TAC Decision |  | On 3/7/13, TAC unanimously voted to recommend approval of NPRR495 as recommended by PRS in the 2/21/13 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 3/7/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR495 recognizing the benefits of added transparency and clarity for the health of the market. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Improves transparency of available Ancillary Services capacity. |
|  | 2 | - Allows Market Participants greater efficiencies in operations and intraday hedging. It’s important to understand how much capacity available on the system is for reserved capacity since reserve quantities are priced at the System-Wide Offer Cap (SWCAP). |
|  | 3 | - Lower costs to the market due to greater market efficiencies. |
|  | 4 | - More economical selection of units based on available capacity information. |

| Sponsor |  |
| --- | --- |
| Name | Jackie Ashbaugh on behalf of the MIS User Group (MISUG) |
| E-mail Address | JAshbaugh@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3937 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Comments

Please note that the baseline Protocol language in Section 6.5.7.5 has been updated due to the unboxing of NPRR458, Establishment of ERCOT’s Central Counterparty Role, in the January 1, 2013 Protocols.

Proposed Protocol Language Revision

6.5.7.5	Ancillary Services Capacity Monitor

(1)	ERCOT shall calculate the following every ten seconds and provide Real-Time summaries to ERCOT Operators and all Market Participants using ICCP, giving updates of calculations every ten seconds, and posting on the MIS Public Area, giving updates of calculations every five minutes, which show the Real-Time total system amount of:

(a)	RRS capacity from:

(i)	Generation Resources;

(ii)	Load Resources excluding Controllable Load Resources; and

(iii)	Controllable Load Resources;

(b)	Ancillary Service Resource Responsibility for RRS from:

(i)	Generation Resources;

(ii)	Load Resources excluding Controllable Load Resources; and

(iii)	Controllable Load Resources;

(c)	RRS deployed to Generation and Controllable Load Resources;

(d)	Non-Spin available from:

(i)	On-Line Generation Resources with Energy Offer Curves;

(ii)	Undeployed Load Resources;

(iii)	Off-Line Generation Resources; and

(iv)	Resources with Output Schedules;

(e)	Ancillary Service Resource Responsibility for Non-Spin from:

(i)	On-Line Generation Resources with Energy Offer Curves;

(ii)	On-Line Generation Resources with Output Schedules;

(iii)	Load Resources;

(iv)	Off-Line Generation Resources excluding Quick Start Generation Resources (QSGRs); and

(v)	QSGRs;

(f)	Undeployed Reg-Up and Reg-Down;

(g)	Ancillary Service Resource Responsibility for Reg-Up and Reg-Down;

(h)	Deployed Reg-Up and Reg-Down;

(i)	Available capacity:

(i)	With Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED;

(ii)	With Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED;

(iii)	Without Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED; and

(iv)	Without Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED; and

(j)	The ERCOT-wide Physical Responsive Capability (PRC) calculated as follows:

generationresourcei=onlineonlinegenerationAllresources

PRC1 =			Min(Max((RDF*HSL – Actual Net Telemetered Output)i , 0.0) , 0.2*RDF*HSLi)

generationresourcei=onlineonlinegenerationAllresources

PRC2 =	((Hydro-synchronous condenser output)i as qualified by item (9) of Operating Guide Section 2.3.1.2, Additional Operational Details for Responsive Reserve Providers))





resources

load

online

All

resource

load

online

i

PRC3 =			(RRS MW supplied from Load Resources)i

PRC =	PRC1 + PRC2 + PRC3

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| PRC1 | MW | Generation On-Line greater than 0 MW |
| PRC2 | MW | Hydro-synchronous condenser output |
| PRC3 | MW | RRS supplied from Load Resources |
| PRC | MW | Physical Responsive Capability |
| RDF |  | The currently approved Reserve Discount Factor |

(2)	Each QSE shall operate Resources providing Ancillary Service capacity to meet its obligations.  If a QSE experiences temporary conditions where its total obligation for providing Ancillary Service cannot be met on the QSE’s Resources, then the QSE may add additional capability from other Resources that it represents.  It adds that capability by changing the Resource Status and updating the Ancillary Service Schedules and Ancillary Services Resource Responsibility of the affected Resources and notifying ERCOT under Section 6.4.8.1, Evaluation and Maintenance of Ancillary Service Capacity Sufficiency.  If the QSE is unable to meet its total obligations to provide committed Ancillary Services capacity, the QSE shall notify ERCOT immediately of the expected duration of the QSE’s inability to meet its obligations.  ERCOT shall determine whether replacement Ancillary Services will be procured to account for the QSE’s shortfall according to Section 6.4.8.1.