| NPRR Number | 500 | NPRR Title | Posting of Generation that is Off but Available |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | March 7, 2013 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Priority – 2014; Rank – 950 |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.2.3, System Adequacy Reports |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds to the Short-Term System Adequacy Report a field showing the aggregate Generation Resource capacity that is schedule in the Current Operating Plan (COP) as “Off” and can be started in time to be available each Operating Hour. |  |  |
| Reason for Revision |  | Showing the capacity that is Off-Line but available to the market will provide far better transparency for Resources that are making decisions on whether to commit units or for Loads that are making decisions to purchase from the market or sources outside of the ERCOT market. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR500 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 11/2/12, NPRR500 was posted. - On 12/13/12, PRS considered NPRR500. - On 1/10/13, an Impact Analysis was posted. - On 1/17/13, PRS considered the 12/13/12 PRS Report and Impact Analysis for NPRR500. - On 2/21/13, PRS again considered the 12/13/12 PRS Report and Impact Analysis for NPRR500. - On 3/7/13, TAC considered NPRR500. |  |  |
| PRS Decision |  | On 12/13/12, PRS voted to recommend approval of NPRR500 as revised by PRS. There were two opposing votes from the Independent Generator and Independent Retail Electric Provider (IREP) Market Segments and three abstentions from the Consumer, Independent Power Marketer (IPM) and Municipal Market Segment. All Market Segments were present for the vote. On 1/17/13, PRS voted to table NPRR500 for one month. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. On 2/21/13, PRS voted via roll call vote to endorse and forward the 12/13/12 PRS Report and Impact Analysis for NPRR500 to TAC with a recommended priority of 2014 and rank of 950. There were four opposing votes from the IPM (3) and IREP Market Segments and three abstentions from the Independent Generator (2) and IPM Market Segments. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 12/13/12, concern was expressed regarding the accuracy of COP data, and whether the benefits of NPRR500 outweigh the anticipated cost. It was noted that the information requested through NPRR500 is already being generated by ERCOT but is not currently included in the Short-Term System Adequacy Report. On 1/17/13, it was clarified that additional data would need to be processed to generate the report requested by NPRR500. It was requested that ERCOT Staff and interested parties re-evaluate NPRR500 to determine if there is a more cost efficient option for implementation. On 2/21/13, participants debated the appropriate priority and rank for NPRR500 and whether it should receive a 2013 or 2014 priority. ERCOT Staff noted that there is an implementation alternative that would reduce the estimated cost of NPRR500 but would produce a simplified report, and that this alternative implementation would not require any further revisions to the NPRR500 Protocol language. |  |  |
| TAC Decision |  | On 3/7/13, TAC voted to recommend approval of NPRR500 as recommended by PRS in the 2/21/13 PRS Report. There were four opposing votes from the Independent Generator Market Segment and one abstention from the IPM Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 3/7/13, concern was raised that the report produced pursuant to NPRR500 would provide an advantage to Market Participants that do not own physical assets by providing insight into Resource Entity decisions regarding units as ERCOT System Demand changes. Some participants opined that the report does not raise confidentiality concerns because the information reported would be aggregated rather than unit-specific. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR500 recognizing the benefits of added transparency and clarity for the health of the market. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Improves transparency of Resource capacity available to the market but not “On”. |
|  | 2 | No negative impacts to security of the ERCOT System or operation of Resources within the ERCOT System. |
|  | 3 | As this information is already available on ERCOT systems, minimal cost and impact to ERCOT resources and systems is expected. |
|  | 4 | No negative impacts to any Market Segment. |
|  | 5 | Corrects a chronic problem in the way external markets handle information currently available in the Short-Term System Adequacy Report. |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@morganstanley.com |
| Company | Morgan Stanley Capital Group, Inc. |
| Phone Number | 512-497-2986 |
| Cell Number |  |
| Market Segment | IPM |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Comments

Please note that the baseline Protocol language in Section 3.2.3 has been updated to reflect the January 1, 2013 incorporation of NPRR479, Daily Net Outage MW.

Proposed Protocol Language Revision

3.2.3	System Adequacy Reports

(1)	ERCOT shall publish system adequacy reports to assess the adequacy of Resources and Transmission Facilities to meet the projected Demand.  ERCOT shall provide reports on a system-wide basis and by Forecast Zone, where applicable.

(2)	ERCOT shall generate and post a “Medium-Term System Adequacy Report” on the MIS Secure Area.  ERCOT shall update the report monthly using the latest aggregate Generation Resource capacity and Load Resource capacity.  The data will be provided for each week, starting with the second week, of a rolling 36-month period.  The Medium-Term System Adequacy Report will provide:

(a)	Generation Resource capacity at the time of forecasted weekly peak Demand;

(b)	Load Resource capacity at the time of the forecasted weekly peak Demand;

(c)	Weekly peak forecast Demand described in Section 3.2.2, Demand Forecasts;

(d)	Calculated system reserve, highlighting any deficiency hours, that excludes Load Resource capacity;

(e)	Calculated system reserve, highlighting any deficiency hours, that includes Load Resource capacity shown as a reduction in forecast Demand;

(f)	Ancillary Service requirements; and

(g)	Transmission constraints that have a high probability of being binding in the Security-Constrained Economic Dispatch (SCED) or Day-Ahead Market (DAM) given the forecasted system conditions for each week excluding the effects of any transmission or Resource Outages.

(3)	ERCOT shall generate and post a “Short-Term System Adequacy Report” on the MIS Public Area.  ERCOT shall update this report hourly following updates to the Seven-Day Load Forecast and on detection of a change to Resource Status that changes the availability of a Resource.  The Short-Term System Adequacy Report will provide:

(a)	For Generation Resources, the available On-Line Resource capacity for each hour, using the COP for the first seven days;

[NPRR479: Insert paragraph (2)(b) below upon system implementation and renumber accordingly:] (b) ERCOT shall post a total system-wide capacity of Resource Outages as reflected in the Outage Scheduler that are accepted or approved. The Resource Outage capacity amount shall be based from each Resource’s current Seasonal High Sustained Limit (HSL) and posted each hour for the top of each Operating Hour for the next 168 hours. The information provided by ERCOT shall be aggregated on a system-wide basis separating Intermittent Renewable Resources (IRRs) from other Resources, and shall include no specific Resource information, and will exclude Outages related to Mothballed Generation Resources;

(b)	For Load Resources, the available capacity for each hour using the COP;

(c)	Forecast Demand for each hour described in Section 3.2.2;

(d)	Ancillary Service requirements for the Operating Day and subsequent days;

(e)	Transmission constraints that have a high probability of being binding in SCED or DAM given the forecasted system conditions for each week including the effects of any transmission or Resource Outages.  The binding constraints may not be updated every hour; and

(f)	For Generation Resources, the available Off-Line Resource capacity that can be started for each hour, using the COP for the first seven days.