| SCR Number | 773 | SCR Title | Addition of Regulation Feedback to Generation to be Dispatched Calculation |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Recommended Approval |
| Date of Decision |  | February 21, 2013 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Supporting Protocol Section |  | 6.5.7.3, Security Constrained Economic Dispatch |  |  |
| Other Document Reference/Source |  | None. |  |  |
| System Change Description |  | None. |  |  |
| Reason for System Change |  | This System Change Request (SCR) updates the formula used to calculate the amount of generation to be dispatched that takes into account a configurable quantity for Regulation Service that has been deployed. |  |  |
| Procedural History |  | - On 1/30/13, SCR773 was posted. - On 2/15/13, WMS comments were posted. - On 2/18/13, ROS comments were posted. - On 2/21/13, PRS considered SCR773. |  |  |
| PRS Decision |  | On 2/21/13, PRS voted to grant SCR773 Urgent status. There was one abstention from the Investor Owned Utility (IOU) Market Segment. PRS then voted to recommend approval of SCR773 as submitted and to forward SCR773 to TAC. There were two abstentions from the IOU Market Segment. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 2/21/13, it was explained that SCR773 provides an alternative approach to address the issue of over-deployment of Regulation Service as identified in Nodal Protocol Revision Request (NPRR) 486, Calculation of Generation to be Dispatched. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Reduce the amount of Regulation Service deployed. |

| Sponsor |  |
| --- | --- |
| Name | David Kee on behalf of the Performance, Disturbance, Compliance Working Group (PDCWG) |
| E-mail Address | dekee@cpsenergy.com |
| Company | CPS Energy |
| Phone Number | 210-353-6912 |
| Cell Number | 210-667-5206 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 021513 | Endorsed as submitted and directed the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) to continue to analyze SCR773 to determine whether or not it reduces Regulation Service over-deployment. |
| ROS 021813 | Endorsed as submitted. |

Business Case for Proposed System Change

Issue:

ERCOT’s current generation to be dispatched calculation does not have a regulation feedback mechanism, which results in Regulation Service deployment in one direction for longer durations.

Resolution:

Following modifications are needed:

- Add the K4 configurable factor together with the rolling average of regulation deployed to the following equations.

Generation to be Dispatched = Total Gen +K1*10*System Load Frequency Bias + K2*[(net non-conforming Load) – (net filtered non-conforming Load)] + K3*5*PLRR + K4*Regulation Deployed.

- Ability to use the rolling average of Regulation Service deployed over X minutes, where value X can be configured.