| PGRR Number | 023 | PGRR Title | Contingency Filing Requirements |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | March 19, 2013 |  |  |
| Effective Date |  | April 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Planning Guide Section Requiring Revision |  | 6.9, Contingency Filing Requirements (new) |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) adds a requirement for Transmission Service Providers (TSPs) to submit and annually review a list of contingencies for their portion of the ERCOT System. The language ensures that the appropriate contingencies are being submitted for ERCOT and North American Electric Reliability Corporation (NERC) planning criteria. |  |  |
| Reason for Revision |  | There are currently no requirements in the Protocols or Market Guides for TSPs to submit their contingency lists. The contingency definitions are critical for planning the ERCOT System. |  |  |
| Procedural History |  | - On 10/10/12, PGRR023 was posted. - On 10/25/12, the Planning Working Group (PLWG) considered PGRR023. - On 10/31/12, an Impact Analysis was posted. - On 12/4/12, the PLWG considered the 10/25/12 PLWG Report and Impact Analysis for PGRR023. - On 1/10/13, ROS considered PGRR023. - On 2/7/13, TAC considered PGRR023. - On 3/19/13, the ERCOT Board considered PGRR023. |  |  |
| PLWG Decision |  | On 10/25/12, the PLWG was in consensus to recommend approval of PGRR023 as revised by PLWG. On 12/4/12, the PLWG was in consensus to endorse and forward the 10/25/12 PLWG Report and Impact Analysis to ROS. |  |  |
| Summary of PLWG Discussion |  | On 10/25/12, it was noted that the schedule for updating steady-state contingencies is addressed in the Steady State Working Group Procedure Manual. The minimum requirements for developing and updating the contingencies were also discussed. On 12/4/12, there was no discussion. |  |  |
| ROS Decision |  | On 1/10/13, ROS unanimously voted to recommend approval of PGRR023 as recommended by PLWG in the 12/4/12 PLWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 1/10/13, it was suggested that the Steady State Working Group Procedure Manual be reviewed and revised to include contingency studies down to 65kV and that the Steady State Working Group (SSWG) should coordinate with the Texas Reliability Entity (Texas RE) on those revisions. |  |  |
| TAC Decision |  | On 2/7/13, TAC unanimously voted to recommend approval of PGRR023 as recommended by ROS in the 1/10/13 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 2/7/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR023 as it creates a requirement for TSPs to submit contingency definitions which are required for planning studies. |  |  |
| Board Decision |  | On 3/19/13, the ERCOT Board approved PGRR023 as recommended by TAC in the 2/7/13 TAC Report. |  |  |

Business Case

| Business Case | 1 | Requires TSPs to submit the appropriate contingencies for planning analysis, which should ensure reliable planning of the ERCOT System. |
| --- | --- | --- |

| Sponsor |  |
| --- | --- |
| Name | Sergio Garza on behalf of the PLWG |
| E-mail Address | Sergio.garza@lcra.org |
| Company | LCRA |
| Phone Number | (512) 578-4149 |
| Cell Number |  |
| Market Segment | Cooperative |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

6.9	Contingency Filing Requirements

Each Transmission Service Provider (TSP), or its Designated Agent, shall provide updates to the ERCOT list of steady-state contingencies corresponding to the steady-state base cases for its’ existing system and planned future Transmission Facilities.  ERCOT shall post the list to the Planning and Operations Information website.  The list shall be reviewed and updated as described in the Steady State Working Group Procedure Manual.  At a minimum, the list shall contain North American Electric Reliability Corporation (NERC) Category B, C and D contingencies as described in the Steady State Working Group Procedure Manual and contingencies representing the Forced Outage of a double circuit (two circuits on the same structures in excess of 0.5 miles in length).