| NOGRR Number | 101 | NOGRR Title | Market Transparency for DC Tie Outage Information |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | March 19, 2013 |  |  |
| Effective Date |  | April 1, 2013 (Upon system implementation for grey-boxed language in Section 10.1) |  |  |
| Priority and Rank Assigned |  | Priority – 2013; Rank – 815 (for grey-boxed language in Section 10.1) |  |  |
| Operating Guide Sections Requiring Revision |  | 10, Market Data Transparency (new) 10.1, Direct Current Tie Outage Information (new) |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) provides that ERCOT shall produce a detailed report regarding any Outage of a Direct Current Tie (DC Tie) in a timely manner. |  |  |
| Reason for Revision |  | Outages of interconnection points between the ERCOT and non-ERCOT Control Areas have market implications on both the ERCOT market and the interconnected market. Detailed information regarding such Outages is necessary for Market Participants on both sides of the interconnection point to be able to manage risk associated with such Outages. |  |  |
| Procedural History |  | - On 7/24/12, NOGRR101 was posted. - On 7/30/12, Calpine comments were posted. - On 8/13/12, ERCOT comments were posted. - On 8/15/12, the Operations Working Group (OWG) considered NOGRR101. - On 8/16/12, WMS comments were posted. - On 10/17/12, a second set of ERCOT comments were posted. - On 10/17/12, OWG considered the 8/15/12 OWG Report for NOGRR101. - On 10/22/12, Tenaska Power Services Co. comments were posted. - On 11/7/12, an Impact Analysis was posted. - On 11/14/12, OWG considered the 10/17/12 OWG Report and Impact Analysis for NOGRR101. - On 11/20/12, a third set of ERCOT comments were posted. - On 12/6/12, ROS considered NOGRR101. - On 12/12/12, a fourth set of ERCOT comments were posted. - On 12/13/12, PRS considered the priority and rank for NOGRR101. - On 1/14/13, a fifth set of ERCOT comments were posted. - On 1/17/13, PRS again considered the priority and rank for NOGRR101. - On 2/7/13, TAC considered NOGRR101. - On 3/19/13, the ERCOT Board considered NOGRR101. |  |  |
| OWG Decision |  | On 8/15/12, OWG was in consensus to recommend approval of NOGRR101 as revised by the 8/13/12 ERCOT comments. On 10/17/12, OWG was in consensus to recommend approval of NOGRR101 as amended by the 10/17/12 ERCOT comments. On 11/14/12, OWG was in consensus to endorse and forward the 10/17/12 OWG Report and Impact Analysis for NOGRR101 to ROS. |  |  |
| Summary of OWG Discussion |  | On 8/15/12, it was stated that this NOGRR increases transparency of DC Tie Outage information. The 8/13/12 ERCOT comments were also discussed. On 10/17/12, ERCOT Staff explained that development of an Impact Analysis is pending further clarification to Section 10 and that the language added to the grey-box for NOGRR084, Daily Grid Operations Summary Report, should be removed. On 11/14/12, ERCOT Staff reviewed the Impact Analysis for NOGRR101. |  |  |
| ROS Decision |  | On 12/6/12, ROS voted to recommend approval of NOGRR101 as amended by the 10/22/12 Tenaska Power Services Co. comments and as revised by ROS with a recommended priority of 2013 and rank of 815. There was one opposing vote from the Investor Owned Utility (IOU) Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 12/6/12, the 10/22/12 Tenaska Power Services Co. comments were discussed. ERCOT Staff expressed concern that the changes proposed by these comments conflict with existing requirements to disclose Generation Resource information and could result in providing confidential information. Participants noted that the intent of the 10/22/12 Tenaska Power Services Co. comments is to post Outage information on the DC Tie and not transfer capabilities. |  |  |
| PRS Decision |  | On 12/13/12, PRS voted to table NOGRR101. There was one opposing vote from the Independent Power Marketer (IPM) Market Segment. All Market Segments were present for the vote. On 1/17/13, PRS voted to endorse and forward the 12/6/12 ROS Report as amended by the 1/14/13 ERCOT comments and as revised by PRS and the Impact Analysis for NOGRR101 to TAC with a recommended priority of 2013 and rank of 815. There was one abstention from the IPM Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 12/13/12, the 12/12/12 ERCOT comments were discussed. ERCOT Staff stated that as reflected in the 12/6/12 ROS Report, ERCOT would be required to disclose the Resource causing the Outage of the DC Tie. Participants stated that the intent is for ERCOT to disclose whether the DC Tie Outage was a result of a transmission or Resource Outage and not specifically disclose the Resource. It was requested that ERCOT and affected parties collaborate to provide clarifying language. On 1/17/13, ERCOT Staff stated that in addition to requirements in the Protocols, Transmission Service Providers (TSPs) will be required to enter additional information into the Outage Scheduler such as specific work being performed on the DC Tie. |  |  |
| TAC Decision |  | On 2/7/13, TAC unanimously voted to recommend approval of NOGRR101 as recommended by PRS in the 1/17/13 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 2/7/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NOGRR101 recognizing the benefits of added transparency and clarity for the health of the market. |  |  |
| Board Decision |  | On 3/19/13, the ERCOT Board approved NOGRR101 as recommended by TAC in the 2/7/13 TAC Report. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - Increases transparency of market and reliability related data. - Allows Market Participants to manage risk associated with interconnection Outages. - Removes potential issues between interconnected markets. |
|  | 2 | Impacts to Market Segments: - Potential positive impact to Market Participants who are active in multiple markets. |

| Sponsor |  |
| --- | --- |
| Name | Jeremy Carpenter |
| E-mail Address | jcarpenter@tnsk.com |
| Company | Tenaska Power Services Co. |
| Phone Number | 817-303-1869 |
| Cell Number |  |
| Market Segment | IPM |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Calpine 073012 | Proposed changes to clarify how DC Tie Outages are reported. |
| ERCOT 081312 | Proposed changes to require TSPs to enter additional DC Tie Outage details and to clarify when specific DC Tie Outage information will be provided. |
| WMS 081612 | Endorsed NOGRR101 as revised by the 8/13/12 ERCOT comments. |
| ERCOT 101712 | Deferred filing an Impact Analysis pending further clarification of NOGRR101 and removed language inserted into the grey-box of Section 10.2 regarding approval or cancellation of Outages. |
| Tenaska Power Services Co. 102212 | Proposed changes to include that all Outage types in the ERCOT Control Area should be reported. |
| ERCOT 112012 | Proposed non-substantive administrative changes. |
| ERCOT 121212 | Expressed concerns regarding confidentiality issues in relation to Resource Status; and requested that NOGRR101 be tabled to allow time for ERCOT to consult with Public Utility Commission of Texas (PUCT) Staff. |
| ERCOT 011413 | Proposed clarifications regarding the posting of DC Tie Outages and derates. |

Proposed Guide Language Revision

- 10	Market Data Transparency

Information in this section provides reporting transparency for operational level data.  The information in this section is provided in addition to those required in the other sections of the Protocols or these Operating Guides.  Pursuant to Protocol Section 12.2 ERCOT Responsibilities, ERCOT shall post information to the Market Information System (MIS) as directed throughout these Operating Guides.

- 10.1 	Direct Current Tie Outage Information

- (1)	In addition to requirements in Protocol Sections 3.1.4.4, Management of Resource or Transmission Forced Outages or Maintenance Outages, and 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities, Transmission Service Providers (TSPs) shall also enter the following information into the Outage Scheduler:

(a)	Specific work being performed; and

(b)	If the Outage is due to work being performed on the DC Tie or if there is another Outage in the ERCOT Control Area which also requires an Outage on the DC Tie.

(2)	As soon as practicable, ERCOT shall post the DC Tie name, start date/time, and end date/time for Forced Outages and Derates on the Market Information System (MIS) Public Area.

OO

[NOGRR101: Insert paragraphs (3) and (4) above, upon system implementation:] (3) One Business Day following the approval or cancellation of a Transmission Facility’s Outage which requires a DC Tie Outage or DC Tie derate, ERCOT shall post the following information on the MIS Public Area: (a) Equipment name of impacted Transmission Facilities; (b) Start date and time of impacted Transmission Facilities; (c) End date and time of impacted Transmission Facilities; (d) General description of work being performed on impacted Transmission Facilities; and (e) If the Outage is due to work being performed on the DC Tie or if there is a transmission Outage in the ERCOT Control Area which also requires an Outage on the DC Tie. (4) One Business Day following the approval or cancellation of a Resource Outage, which requires a DC Tie Outage or DC Tie derate, ERCOT shall post the following information on the MIS Public Area: (a) Name of impacted DC Tie; (b) Start date and time of impacted DC Tie; (c) End date and time of expected DC Tie Outage or DC Tie; and (d) Explanation that the DC Tie Outage or DC Tie derate is due to a Resource Outage.

[NOGRR084: Insert Section 10.2, Daily Grid Operations Report, below upon system implementation:] - 10.2 Daily Grid Operations Report For each Operating Day, ERCOT shall post to the Market Information System (MIS) Public Area on the following Business Day, a summary level report of the prior day’s operational information that shall include the following data elements: (a) Peak Load; (b) Peak hour; (c) Planned peak Load from the Day Ahead Load Forecast; (d) Planned peak hour from the Day Ahead Load Forecast; (e) Amount, duration, time deployed and time recalled for each deployment of Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources; (f) Each instance of Verbal Dispatch Instruction (VDI) deployment of Load Resources providing RRS; (g) Amount, duration, time deployed, and time recalled for each Non-Spinning Reserve (Non-Spin) deployment with designation as Off-Line if available; (h) Security-Constrained Economic Dispatch (SCED) offset (including SCED timestamp, offset timestamp and amount); (i) Summary of Reliability Unit Commitment (RUC) intervals for which a RUC commitment or decommitment occurred; (j) Summary of intervals for which Reliability Must-Run (RMR) Resources are committed; (k) List of SCED intervals which reached the Shadow Price cap and constraint associated with each; (l) Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override; (m) List of Emergency Condition Notifications; and (n) A frequency deviation event equal to or greater than .10 Hz which shall include: (i) ERCOT Load at the time of each event; (ii) Time of each event; (iii) Amount of generation and Load lost contributing to the event; and (iv) Approximate lowest frequency.