Attachment to March 27, 2-13 PLWG Meeting Agenda

PGRRS currently under consideration at PLWG

| 027PGRR | Analysis of Subsynchronous Resonance Studies in Transmission Studies. This Planning Guide Revision Request (PGRR) describes how ERCOT will act to protect the ERCOT Transmission Grid from Subsynchronous Resonance (SSR) oscillations since installation of multiple series compensated transmission lines has increased ERCOT’s vulnerability to such oscillations. [ERCOT] | IA Review |
| --- | --- | --- |
| 028PGRR | Evaluation of Compliance with Reactive Requirements. This Planning Guide Revision Request (PGRR) defines ERCOT’s process for evaluation proposed Generation Resources’ ability to provide reactive power. Protocol Section 3.15, Voltage Support, defines reactive capability requirements for Generation Resources. Paragraph (3) of Protocol Section 16.5, Registration of a Resource Entity requires ERCOT to opine upon the capability of the proposed Generation Resource’s ability to meet these requirements. [ERCOT] | Language Review |