ERCOT Planning Working Group

February 27, 2013

Attendees:

John Moore, Stratus Energy, Chair

Yvette Landin, ERCOT

Greg Thurnher, ERCOT

Christopher Azeredo, ERCOT

Don Le, Lone Star

John Adams, ERCOT

Wayne Kemper, CenterPoint Energy

Michael Juricek, Oncor

Ed Sihlva, Luminant

Shirley Mathew, Texas RE

Ken Chui, LCRA

Biju Mathew, Austin Energy

Ken Bowen, CPS Energy

Jay Texiera, ERCOT (phone)

Walter Reed, Wind Coalition (phone)

Mack Gomes, Lone Star (phone)

Christine Hawk, Garland Power & Light (phone)

Charles Dewitt, LCRA (phone)

Mike Grimes

Mina Turner, AEP

Dwight Beckman

Huang

Summary of meeting discussion:

- Antitrust Admonition reviewed

- Proposed Agenda reviewed and no additions indicated

- Update on PLWG matters at ROS and TAC:

  - Report delivered to ROS on PGRR025; good discussion and approved; schedule for future consideration: TAC-March, Board-May, effective June 1, 2013

  - New Assignments from ROS: Create PGRR establishing Dec 31 as deadline for annual submission of Regional Transmission Plan (OPTSF item 3(a)); ERCOT requested to draft PGRR for consideration at March PLWG meeting

  - OPSTF Items: see attachment for Feb OPSTF Meeting re: “Best Practices” discussion item:

    - Issue 2: Ensure the Real-Time Operations, Outage Planning and Transmission Planning processes are aligned in the use of operating generic transmission limits – ERCOT asked to present discuss current conditions and any suggested changes at March PLWG meeting.

    - Issue 5(b): Establish a basis for load variations, including are seasonal variations –Issue will be considered at March PLWG meeting to assess what if anything PLWG will pursue re: issue.

    - Issue 9: Consideration of transmission maintenance outages in planning studies – Issue will be considered at March PLWG meeting to assess what if anything PLWG will pursue re: issue.

- PGRR027 Review:

  - John Adams presented latest version; considerable discussion on proposed language including consideration of suggested edits from LCRA and CenterPoint;

  - The ERCOT Impact Analyses will be reviewed at the March PLWG meeting;

  - PLWG Chair will send a courtesy copy of updated PGRR027 to Dynamics Working Group to inform them on ongoing activity within PLWG;

  - Key clarification identified in meeting were:

    - No SSR data required for ERCOT Screening Study phase; ERCOT Screening Study work will assess if SSR Study is required during Full Interconnection Study (FIS) phase.

    - No SSR data required for FIS if ERCOT Screening Study work indicates that a detail SSR Study is not required.

    - SSR data will be required for submission to ERCOT before Commercial Operation

- PGRR028 Review:

  - Tabled until the March meeting to allow for additional consideration by PLWG members

- Potential development of PGRR to address OPTSF Issue 3(f): Consider LTSA results in determination of Regional Transmission Plan projects

  - Greg Thurnher reported that issue was undergoing consideration with ERCOT and that additional information of how this will be addressed will be presented at March PLWG meeting.

- OPSTF Issue 12(a): Develop future year seasonal cases in DSB

  - Julius Horvath will be requested to draft request to ROS that responds to NERC requirements;

  - Draft request will be considered at March PLWG meeting;

  - Key issue to be considered is what level of off-peak cases are required to adequately perform off-peak planning in ERCOT;  currently only one is developed – high wind, low load; should Spring/Fall cases be considered?

  - Future discussion will consider benefit/need for any off-peak cases and identify which ones should be developed; new NERC (TPL) requires that one off-peak case developed for one of years studied.

- PLWG PGRR Status Bar reviewed with updated status of active PGRRs; copy attached

Open action items:

| Action Items | Responsible Party |
| --- | --- |
| Create PGRR establishing Dec 31 as deadline for annual submission of Regional Transmission Plan (OPTSF item 3(a)) | ERCOT Planning Staff |
| PLWG discussion on OPSTF “Best Practices” | J Moore |
| PGRR027 finalization; submission for ERCOT Impact Analyses and approval at March PLWG Meeting | Y Landin |
| PGRR028 presentation for consideration at March PLWG meeting | J Adams |
| Report on ERCOT position at PLWG March meeting re: OPTSF Issue 3(f): Consider LTSA results in determination of Regional Transmission Plan projects | G Thurnher |
| Present draft plan at March PLWG meeting for requirements to develop off-peak planning base cases re: OPSTF Issue 12(a): Develop future year seasonal cases in DSB | J Horvath |

Next Meeting: March 27, 2013

Attachments:

PLWG PGRR Status Bar 022713

OPSTF Feb 19 Meeting Docs

Submitted by John Moore, PLWG Chair