Threshold Values for Competitive Constraint Test

Effective ______

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| 3/11/2013 | 0.1 | Initial draft | ERCOT |

1.	Revision Process

Revisions to this document shall be made according to the approval process prescribed in paragraph (5) of Protocol Section 3.19.1, Constraint Competitiveness Test.

2.	Threshold Values for Competitive Constraint Test

Protocol Section 3.19.1 requires ERCOT to develop thresholds to be used in determining the competitive designation of a constraint and the Resources for which mitigation will be applied in SCED Step 2. The definitions and thresholds are as follows:

| Threshold | Definition | Value |
| --- | --- | --- |
| SFP1 | Minimum shift factor threshold for determining which Managed Capacity to include in the ECI calculation | 2% |
| ECIT1 | Maximum competitive threshold for ECI on the import side of a constraint for the Long-Term CCT process | 2000 |
| SFP2 | Minimum shift factor threshold for a constraint to be eligible to be a Competitive Constraint as part of the Long-term CCT Process | 2% |
| ECIT2 | Maximum competitive threshold for ECI on the import side of a constraint for the SCED CCT process | 2500 |
| SFP3 | Minimum shift factor threshold for a constraint to be eligible to be a Competitive Constraint as part of the SCED CCT Process | 2% |
| DMEECP | Threshold for the ECI Effective Capacity for an Entity or its Affiliates to determine if their Managed Capacity is eligible to be mitigated as part of SCED Step 2 | This variable doesn’t currently exist. CMWG is analyzing 10%, 5% & 2% |
| SFP4 | Minimum shift factor threshold below which a Resource will not have mitigation applied in SCED Step 2 | 2% |