ERCOT Nodal Operating Guide

- Table of Contents

- April 1, 2013

1	Overview	1

1.1	Document Purpose	1

1.2	Document Relationship	2

1.3	Process for Nodal Operating Guide Revision	2

1.3.1 Introduction	2

1.3.2 Submission of a Nodal Operating Guide Revision Request	3

1.3.3 Operations Working Group	3

1.3.4 Nodal Operating Guide Revision Procedure	4

1.3.5 Urgent Requests	13

1.3.6 Nodal Operating Guide Revision Implementation	14

1.4	Definitions	14

A	15

B	15

C	15

D	17

E	17

F	17

G	17

H	17

I	18

J	18

K	18

L	18

M	18

N	18

O	18

P	18

Q	19

R	19

S	19

T	19

U	19

V	20

W	20

X	20

Y	20

Z	20

1.5	Operational Training	21

1.5.1 System Operator Training Objectives	21

1.5.2 System Operator Training Requirements	21

1.5.3 ERCOT Operations Training Seminar	22

1.5.4 ERCOT Severe Weather Drill	22

1.5.5 Training Practices	22

2	System Operations and Control Requirements	1

2.1	Operational Duties	1

2.2	System Monitoring and Control	2

2.2.1 Overview	2

2.2.2 Security Criteria	4

2.2.3 Response to Transient Voltage Disturbance	4

2.2.4 Load Frequency Control	4

2.2.5 Automatic Voltage Regulators	5

2.2.6 Power System Stabilizers	6

2.2.7 Turbine Speed Governors	7

2.2.8 Performance/Disturbance/Compliance Analysis	8

2.2.9 Time Error and Time Synchronization	8

2.2.10 Generation Resource Response Time Requirements………………………………….....….9

2.3	Ancillary Services	10

2.3.1 Responsive Reserve	13

2.3.2 Non-Spinning Reserve Service	15

2.4	Outage Coordination	16

2.5	Reliability Unit Commitment	16

2.5.1 Criteria for Removing Contingencies from the RUC Analyses	16

2.6	Requirements for Under-Frequency Relaying	16

2.6.1 Automatic Firm Load Shedding	16

2.6.2 Generators	17

2.7	System Voltage Profile	18

2.7.1 Introduction	18

2.7.2 Maintaining Voltage Profile	18

2.7.3 Special Consideration for Nuclear Power Plants	20

2.7.4 Reactive Considerations for Generation Resources	20

2.8	Operation of Direct Current Ties	22

2.8.1 Inadvertent Energy Management	22

2.9	Voltage Ride-Through Requirements For Generation Resources	22

2.9.1 Additional Voltage Ride-Through Requirements for Wind-Powered Generation

Resources	23

3 	Resource Testing and Qualification Procedures 	1

3.1	System Control Interfaces with ERCOT	1

3.1.1 Introduction	1

3.1.2 Compliance with Dispatch Instructions	1

3.2	Qualified Scheduling Entities	1

3.2.1 Operating Obligations	1

3.2.2 Changes in Resource Status	2

3.2.3 Regulatory Required Incident and Disturbance Reports	2

3.2.4 Ancillary Service Qualification and Testing Program	3

3.3	Resource Entities	3

3.3.1 Unit Capability Requirements	5

3.3.2 Unit Reactive Capability Requirements	5

3.4	Load Resource Testing Requirement	9

3.5	ERCOT Implementation	9

3.6	Transmission Service Providers	10

3.7  	Transmission Operators	10

3.7.1 Transmission Owner Responsibility for a Vegetation Management Program	12

3.7.3 Responsbility for Equipment Ratings	12

3.8  	Requirements for Reporting Sabotage Information	13

4	Emergency Operation	1

4.1	Introduction	1

4.2	Communication Under Emergency Conditions	1

4.2.1 Operating Condition Notice	1

4.2.2 Advisory	2

4.2.3 Watch	2

4.2.4 Emergency Notice	3

4.3	Operation to Maintain Transmission System Security	3

4.3.1 Remedial Action Plans	4

4.3.2 Real-Time and Short Term Planning	5

4.4	Block Load Transfers between ERCOT and Non-ERCOT System	5

4.5	Energy Emergency Alert (EEA)	5

4.5.1 General	5

4.5.2 Operating Procedures	6

4.5.3 Implementation	7

4.6	Black Start Service	13

4.6.1 Principles	13

4.6.2 Strategies	14

4.6.3 Priorities	14

4.6.4 Responsibilities	15

4.6.5 Black Start Emergency Back Up Communication Facilities Criteria	17

5	Network Operations Modeling Requirements	1

5.1	System Modeling Information	1

6	Disturbance Monitoring and System Protection	1

6.1	Disturbance Monitoring Requirements	1

6.1.1 Introduction	1

6.1.2 Fault Recording Equipment	1

6.1.3 Dynamic Disturbance Recording Equipment	4

6.1.4 Equipment Reporting Requirements	4

6.1.5 Review Process	5

6.2	System Protective Relaying	5

6.2.1 Introduction	5

6.2.2 Design and Operating Requirements for ERCOT System Facilities	6

6.2.3 Performance Analysis Requirements for ERCOT System Facilities	10

6.2.4 Protective Relay System Failure Response	12

6.2.5 Maintenance and Testing Requirements for ERCOT System Facilities	13

6.2.6 Requirements and Recommendations for ERCOT System Facilities	13

7	Telemetry and Communication	1

7.1  	ERCOT Wide Area Network	1

7.1.1 ERCOT Responsibilities	1

7.1.2 QSE and TSP Responsibilities	2

7.1.3 Joint Responsibilities (Maintenance and Restoration)	6

7.2	ERCOT ICCP Interface	7

7.2.1 Quality Codes	7

7.2.2 Metric of Availability	7

7.3	Telemetry	7

7.3.1 Data from ERCOT to QSEs	8

7.3.2 Data from ERCOT to TSP	8

7.3.3 Data from QSEs and TSPs to ERCOT	8

7.3.4 TSP and QSE Telemetry Restoration	9

7.3.5 General Telemetry Performance Criterion	9

7.4	Calibration and Testing of Telemetry Responsibilities	9

8	Attachments

8A Black Start Info

8B Protection System Misoperation Report

8C Turbine Governor Speed Tests

8D Seasonal Unit Net Real Power Capability Verification

8E Black Start Plan Template

8F Seasonal Hydro Responsive Reserve Net Capability Verification

8G Load Resource Tests

8H Unit Alternative Fuel Capability

8I Black Start Resource Availabiity Test Form

9	Monitoring Programs	1

9.1	QSE and Resource Monitoring Program	1

9.1.1 Testing	1

9.1.2 Reactive Testing for Generation Resources	2

9.1.3 Real-Time Data	3

9.1.4 Compliance with Valid Dispatch Instructions	3

9.1.5 Resource Facilities Network Operations Model Update Implementation Monitor	4

9.1.6 Resource Outage Reporting	4

9.1.7 Backup Control for Resource Energy Deployment	5

9.1.8 Qualified Staffing Requirement	5

9.1.9 Automatic Voltage Regulator (AVR)	6

9.1.10 Current Operating Plan Metrics for QSEs	6

9.2	TSP Monitoring Program	6

9.2.1 Intentionally Left Blank	6

9.2.2 Real-Time Data Monitor	7

9.2.3 Transmission Outage Reporting	7

9.2.4  Transmission Service Provider (TSP) Network Operations Model Update Implementation Monitor	8

9.2.5  Backup Control for TSPs	9

9.3	ERCOT Monitoring Program	9

9.3.1 Transmission Control	10

9.3.2 System and Resource Control	12

9.3.3 Forecasting	13

9.3.4 System Operating Constraints	14

9.3.5 Network Operations Model Update Implementation Statistics	15

9.3.6 Back-up Control Plan	15

9.3.7 ERCOT Black Start Plan	15

9.3.8 Computer and Communication Systems Real-Time Availability and Systems Security	16

9.3.9 Voltage and Reactive Control Performance Monitoring	16

9.4	Ancillary Services Monitoring Program	17

9.4.1 Hydro Responsive Testing	17

9.4.2 Black Start Service Requirements for TSPs, QSEs, and Generation Resources	17

9.4.3 Resource-Specific Responsive Reserve Performance	17

9.4.4  Constant Frequency Control	18

9.4.5 Resource-specific Non-Spinning Reserve	18

10	Market Data Transparency	1

10.1	Direct Current Tie Outage Information	1

10.2	Daily Grid Operations Report	2