## SCED Historical Long-Term CCT
[10 empty] | NPRR 469 | [9 empty] | EC1T1 | [6 empty] | EC1T1 |  |  |  |  | Total Number of Mitigated Resources
[20 empty] | 1000 | 1500 | 2000 | 2500 | 3000 |  |  | 1000 | 1500 | 2000 | 2500 | 3000 | ECIT1=1000 |  |  | ECIT1=1500 |  |  | ECIT1=2000 |  |  | ECIT1=2500 |  |  | ECIT1=3000
str | contingency | constraint | linelimit | devicecnt | cktcnt | frombus | tobus | direction | sys_total_load | mingensf | maxgensf | minbussf | maxbussf | worst_flow | pivotal_flow | under_gen_mw | ecim23_p | ecim23_n | cur_cct_flag | Imp ECI<Threshold | Imp ECI<Threshold | Imp ECI<Threshold | Imp ECI<Threshold | Imp ECI<Threshold | No pivotal player | SF<= -2% | NEW_CCT_FLAG | NEW_CCT_FLAG | NEW_CCT_FLAG | NEW_CCT_FLAG | NEW_CCT_FLAG | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2%
Base Case CTRPHR97_A FROM_TO | Base Case | CTRPHR97_A | 1435 | 0 | 0 | CENTER__345A | P_H_R___345E | FROM_TO | 73521.13 | -0.16904 | 0.45048 | -0.22459 | 0.45048 | 1952.28 | -521.747 | 0 | 5979.726 | 2427.415 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 29 | 56 | 68 | 29 | 56 | 68 | 29 | 56 | 68 | 0 | 0 | 0 | 0 | 0 | 0
Base Case CTRPHR97_A TO_FROM | Base Case | CTRPHR97_A | 1435 | 0 | 0 | CENTER__345A | P_H_R___345E | TO_FROM | 73521.13 | -0.45048 | 0.16904 | -0.45048 | 0.22459 | 796.4239 | -703.71 | 0 | 2287.031 | 5983.869 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 45 | 45 | 57 | 45 | 45 | 57 | 45 | 45 | 57 | 45 | 45 | 57 | 45 | 45 | 57
Base Case WDWRDT_WOODWR1_1 FROM_TO | Base Case | WDWRDT_WOODWR1_1 | 140 | 0 | 0 | WDWRDTP4A | WOODWRD1_1_8 | FROM_TO | 73521.13 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base Case WDWRDT_WOODWR1_1 TO_FROM | Base Case | WDWRDT_WOODWR1_1 | 140 | 0 | 0 | WDWRDTP4A | WOODWRD1_1_8 | TO_FROM | 73521.13 | 0 | 1 | 0 | 1 | 80.85 | 0 | 0 | 10000 | 0 | Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DAUSDES8 MCN_MCN_1 FROM_TO | DAUSDES8 | MCN_MCN_1 | 480 | 2 | 2 | L_MCNEIL8_1Y | MCNEILN | FROM_TO | 73521.13 | -0.30041 | 0.10452 | -0.47863 | 0.51004 | 1028.21 | 202.5023 | 0 | 933.922 | 8919.504 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 16 | 16 | 24 | 16 | 16 | 24 | 16 | 16 | 24 | 16 | 16 | 24 | 16 | 16 | 24
DAUSDES8 MCN_MCN_1 TO_FROM | DAUSDES8 | MCN_MCN_1 | 480 | 2 | 2 | L_MCNEIL8_1Y | MCNEILN | TO_FROM | 73521.13 | -0.10452 | 0.30041 | -0.51004 | 0.47863 | 376.2873 | -364.865 | 0 | 8863.739 | 1353.435 | Competitive | 0 | 1 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Competitive | Competitive | Competitive | Competitive | 58 | 122 | 134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DAUSSND5 MCN_MCN_1 FROM_TO | DAUSSND5 | MCN_MCN_1 | 480 | 5 | 5 | L_MCNEIL8_1Y | MCNEILN | FROM_TO | 73521.13 | -0.305 | 0.10068 | -0.47009 | 0.51848 | 1749.85 | -124.931 | 0 | 1439.473 | 4915.776 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 33 | 33 | 74 | 33 | 33 | 74 | 33 | 33 | 74 | 33 | 33 | 74 | 33 | 33 | 74
DAUSSND5 MCN_MCN_1 TO_FROM | DAUSSND5 | MCN_MCN_1 | 480 | 5 | 5 | L_MCNEIL8_1Y | MCNEILN | TO_FROM | 73521.13 | -0.10068 | 0.305 | -0.51848 | 0.47009 | 917.0089 | -40.2059 | 0 | 4673.706 | 1922.185 | Competitive | 0 | 0 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Competitive | Competitive | Competitive | 43 | 126 | 160 | 43 | 126 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DBBSVEN5 20__A FROM_TO | DBBSVEN5 | 20__A | 1052 | 4 | 4 | RICHLND2_5 | BIGBRN__5 | FROM_TO | 73521.13 | -0.19986 | 0.69743 | -0.19986 | 0.69743 | 1489.641 | -1005.59 | 0 | 3886.844 | 1811.702 | Non-Competi | 0 | 0 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Competitive | Competitive | Competitive | 96 | 96 | 153 | 96 | 96 | 153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DBBSVEN5 20__A TO_FROM | DBBSVEN5 | 20__A | 1052 | 4 | 4 | RICHLND2_5 | BIGBRN__5 | TO_FROM | 73521.13 | -0.69743 | 0.19986 | -0.69743 | 0.19986 | 2321.388 | 527.3141 | 0 | 1725.785 | 4189.555 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 40 | 40 | 108 | 40 | 40 | 108 | 40 | 40 | 108 | 40 | 40 | 108 | 40 | 40 | 108
DBWNTWI5 TWINBU_T1H FROM_TO | DBWNTWI5 | TWINBU_T1H | 308 | 2 | 2 | L_TWINBU5_1Y | L_TWINBU1_1 | FROM_TO | 73521.13 | -0.06832 | 0.18196 | -0.46169 | 0.23052 | 718.3069 | -79.4447 | 0 | 2656.416 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
DBWNTWI5 TWINBU_T1H TO_FROM | DBWNTWI5 | TWINBU_T1H | 308 | 2 | 2 | L_TWINBU5_1Y | L_TWINBU1_1 | TO_FROM | 73521.13 | -0.06458 | 0.19311 | -0.23052 | 0.46169 | 223.6265 | -218.005 | 0 | 6400.32 | 3036.316 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33
DCBYCHB5 GBY_AT2 FROM_TO | DCBYCHB5 | GBY_AT2 | 504 | 2 | 2 | GRNBYU__345A | 49128_STAR | FROM_TO | 73521.13 | -0.22859 | 0.11166 | -0.40215 | 0.11166 | 1448.406 | -22.3778 | 0 | 1432.728 | 2292.352 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 45 | 66 | 87 | 45 | 66 | 87 | 45 | 66 | 87 | 0 | 0 | 0 | 0 | 0 | 0
DCBYCHB5 GBY_AT2 TO_FROM | DCBYCHB5 | GBY_AT2 | 504 | 2 | 2 | GRNBYU__345A | 49128_STAR | TO_FROM | 73521.13 | -0.11166 | 0.22859 | -0.11166 | 0.40215 | 583.566 | 1.7804 | 0 | 2289.087 | 1639.47 | Competitive | 0 | 0 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Competitive | Competitive | Competitive | 56 | 75 | 143 | 56 | 75 | 143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DCBYCHB5 GBY_AT2L FROM_TO | DCBYCHB5 | GBY_AT2L | 504 | 2 | 2 | GRNBYU__138C | 49128_STAR | FROM_TO | 73521.13 | -0.11166 | 0.22859 | -0.65293 | 0.40215 | 583.566 | 1.7804 | 0 | 2289.087 | 1639.47 | Competitive | 0 | 0 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Competitive | Competitive | Competitive | 56 | 75 | 143 | 56 | 75 | 143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DCBYCHB5 GBY_AT2L TO_FROM | DCBYCHB5 | GBY_AT2L | 504 | 2 | 2 | GRNBYU__138C | 49128_STAR | TO_FROM | 73521.13 | -0.22859 | 0.11166 | -0.40215 | 0.65293 | 1448.406 | -22.3778 | 0 | 1432.728 | 2292.352 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 45 | 66 | 87 | 45 | 66 | 87 | 45 | 66 | 87 | 0 | 0 | 0 | 0 | 0 | 0
DCRLLSW5 588_B_1 FROM_TO | DCRLLSW5 | 588_B_1 | 190 | 0 | 0 | TNHIGHLNDS1 | TNWEST____1 | FROM_TO | 73521.13 | -0.00651 | 0.067829 | -0.63244 | 0.23658 | 241.3702 | 34.2536 | 0 | 3749.055 | 2890.894 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DCRLLSW5 588_B_1 TO_FROM | DCRLLSW5 | 588_B_1 | 190 | 0 | 0 | TNHIGHLNDS1 | TNWEST____1 | TO_FROM | 73521.13 | -0.06783 | 0.006511 | -0.23658 | 0.63244 | 19.891 | -109.464 | 0 | 2847.777 | 5050.703 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
DENTSCS5 1350__A FROM_TO | DENTSCS5 | 1350__A | 191 | 2 | 2 | NACOGST_8 | LUFKIN_8 | FROM_TO | 73521.13 | -0.03325 | 0.062314 | -0.22643 | 0.29825 | 200.1189 | -48.1792 | 0 | 5020.469 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
DENTSCS5 1350__A TO_FROM | DENTSCS5 | 1350__A | 191 | 2 | 2 | NACOGST_8 | LUFKIN_8 | TO_FROM | 73521.13 | -0.06231 | 0.19001 | -0.29825 | 0.22643 | 104.0541 | -46.6351 | 0 | 5862.48 | 5020.469 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
DGRSPKR5 GRSES_MR1H FROM_TO | DGRSPKR5 | GRSES_MR1H | 382 | 2 | 2 | GRHAMSES1_5 | GRSES1_1 | FROM_TO | 73521.13 | -0.55063 | 0.093752 | -0.7471 | 0.093752 | 492.7581 | 97.8234 | 0 | 2127.517 | 8419.902 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 9 | 9 | 1 | 9 | 9 | 1 | 9 | 9 | 1 | 9 | 9 | 1 | 9 | 9
DGRSPKR5 GRSES_MR1H TO_FROM | DGRSPKR5 | GRSES_MR1H | 382 | 2 | 2 | GRHAMSES1_5 | GRSES1_1 | TO_FROM | 73521.13 | -0.09375 | 0.55063 | -0.09375 | 0.7471 | 106.4775 | -289.444 | 0 | 6964.254 | 4675.704 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 14 | 20 | 29 | 14 | 20 | 29 | 14 | 20 | 29 | 14 | 20 | 29 | 14 | 20 | 29
DMARSKY5 293T304_1 FROM_TO | DMARSKY5 | 293T304_1 | 287 | 2 | 2 | L_CIBOLO8_1Y | L_SCHERT8_1Y | FROM_TO | 73521.13 | -0.11627 | 0.022502 | -0.51025 | 0.34103 | 825.7035 | 356.091 | 0 | 994.887 | 8724.904 | Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 22 | 22 | 31 | 22 | 22 | 31 | 22 | 22 | 31 | 22 | 22 | 31 | 22 | 22 | 31
DMARSKY5 293T304_1 TO_FROM | DMARSKY5 | 293T304_1 | 287 | 2 | 2 | L_CIBOLO8_1Y | L_SCHERT8_1Y | TO_FROM | 73521.13 | -0.0225 | 0.11627 | -0.34103 | 0.51025 | 137.3525 | -304.773 | 0 | 8380.813 | 1127.705 | Competitive | 0 | 1 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Competitive | Competitive | Competitive | Competitive | 0 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DMGSLNG5 6470__D FROM_TO | DMGSLNG5 | 6470__D | 179 | 3 | 3 | MCDONALD_8 | FORSANTA_8 | FROM_TO | 73521.13 | -0.10614 | 0.23057 | -0.69899 | 0.23057 | 288.8256 | -0.0412 | 0 | 4121.215 | 4064.814 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
DMGSLNG5 6470__D TO_FROM | DMGSLNG5 | 6470__D | 179 | 3 | 3 | MCDONALD_8 | FORSANTA_8 | TO_FROM | 73521.13 | -0.06861 | 0.69899 | -0.23057 | 0.69899 | 363.9289 | -105.832 | 0 | 2162.576 | 7936.667 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
DPRSVLY5 PRSSW_MR1H FROM_TO | DPRSVLY5 | PRSSW_MR1H | 515 | 2 | 2 | PARIS_SW1_5 | PRSSW1_1 | FROM_TO | 73521.13 | -0.4984 | 0.25799 | -0.64061 | 0.25799 | 585.3545 | 124.4726 | 0 | 8099.073 | 9945.554 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
DPRSVLY5 PRSSW_MR1H TO_FROM | DPRSVLY5 | PRSSW_MR1H | 515 | 2 | 2 | PARIS_SW1_5 | PRSSW1_1 | TO_FROM | 73521.13 | -0.25799 | 0.4984 | -0.25799 | 0.6406 | 4.1137 | -265.531 | 0 | 9945.554 | 8537.953 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 6 | 9 | 9 | 6 | 9 | 9 | 6 | 9 | 9 | 6 | 9 | 9 | 6 | 9 | 9
DPRSVLY5 PRSSW_MR1L FROM_TO | DPRSVLY5 | PRSSW_MR1L | 515 | 2 | 2 | PARIS_SW1_8 | PRSSW1_1 | FROM_TO | 73521.13 | -0.25799 | 0.4984 | -0.35939 | 0.51971 | 4.1137 | -265.531 | 0 | 9945.554 | 8537.953 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 6 | 9 | 9 | 6 | 9 | 9 | 6 | 9 | 9 | 6 | 9 | 9 | 6 | 9 | 9
DPRSVLY5 PRSSW_MR1L TO_FROM | DPRSVLY5 | PRSSW_MR1L | 515 | 2 | 2 | PARIS_SW1_8 | PRSSW1_1 | TO_FROM | 73521.13 | -0.4984 | 0.25799 | -0.51971 | 0.3594 | 585.3545 | 124.4726 | 0 | 8099.073 | 9945.554 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
DSWECCR5 6027_A_1 FROM_TO | DSWECCR5 | 6027_A_1 | 1065 | 0 | 0 | MRGNCRK_5 | L_BITTCR5_1Y | FROM_TO | 73521.13 | -0.02216 | 0.19765 | -0.22042 | 0.21909 | 1012.467 | -350.91 | 0 | 1264.694 | 1781.975 | Competitive | 0 | 0 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Competitive | Competitive | Competitive | 1 | 3 | 3 | 1 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSWECCR5 6027_A_1 TO_FROM | DSWECCR5 | 6027_A_1 | 1065 | 0 | 0 | MRGNCRK_5 | L_BITTCR5_1Y | TO_FROM | 73521.13 | -0.19614 | 0.22042 | -0.21909 | 0.22042 | 646.9335 | -48.6033 | 0 | 3678.338 | 3121.043 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 29 | 32 | 32 | 29 | 32 | 32 | 29 | 32 | 32 | 29 | 32 | 32 | 29 | 32 | 32
DTRCELK5 1255__B FROM_TO | DTRCELK5 | 1255__B | 212 | 2 | 2 | STRYKER_8 | STRYKERTA_8 | FROM_TO | 73521.13 | -0.00496 | 0.10226 | -0.87469 | 0.10226 | 292.6799 | 11.1815 | 0 | 7023.729 | 1713.039 | Competitive | 0 | 0 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DTRCELK5 1255__B TO_FROM | DTRCELK5 | 1255__B | 212 | 2 | 2 | STRYKER_8 | STRYKERTA_8 | TO_FROM | 73521.13 | -0.10226 | 0.004962 | -0.10226 | 0.87469 | 58.1874 | -32.7801 | 0 | 1624.318 | 8244.892 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 9 | 9 | 5 | 9 | 9 | 5 | 9 | 9 | 5 | 9 | 9 | 5 | 9 | 9
DWTRLEG5 20__A FROM_TO | DWTRLEG5 | 20__A | 1052 | 6 | 6 | RICHLND2_5 | BIGBRN__5 | FROM_TO | 73521.13 | -0.14079 | 0.75212 | -0.14079 | 0.75212 | 1543.942 | -1211.93 | 0 | 3695.567 | 1411.595 | Non-Competi | 0 | 1 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Competitive | Competitive | Competitive | Competitive | 96 | 125 | 198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DWTRLEG5 20__A TO_FROM | DWTRLEG5 | 20__A | 1052 | 6 | 6 | RICHLND2_5 | BIGBRN__5 | TO_FROM | 73521.13 | -0.75212 | 0.14079 | -0.75212 | 0.14079 | 2605.43 | 693.3938 | 0 | 1326.905 | 3951.137 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 40 | 40 | 97 | 40 | 40 | 97 | 40 | 40 | 97 | 40 | 40 | 97 | 40 | 40 | 97
SBOMJCK5 35020__B FROM_TO | SBOMJCK5 | 35020__B | 717 | 1 | 1 | GRHAMSES1_5 | GARVEYRD_5 | FROM_TO | 73521.13 | -0.50969 | 0.064887 | -0.74658 | 0.064887 | 598.1845 | -85.5022 | 0 | 3592.429 | 2880.224 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | 6 | 10 | 10 | 6 | 10 | 10 | 6 | 10 | 10 | 6 | 10 | 10 | 0 | 0 | 0
SBOMJCK5 35020__B TO_FROM | SBOMJCK5 | 35020__B | 717 | 1 | 1 | GRHAMSES1_5 | GARVEYRD_5 | TO_FROM | 73521.13 | -0.06489 | 0.74658 | -0.06489 | 0.74658 | 863.774 | -480.94 | 0 | 2634.433 | 3592.429 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
SBRAHA28 HAMILT_MAVERI1_1 FROM_TO | SBRAHA28 | HAMILT_MAVERI1_1 | 122 | 2 | 2 | HAMILTN4 | MAVERICK4A | FROM_TO | 73521.13 | -0.04624 | 0.34107 | -0.45637 | 0.34107 | 449.6877 | -100.901 | 0 | 2933.578 | 3022.995 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 30 | 32 | 32 | 30 | 32 | 32 | 30 | 32 | 32 | 30 | 32 | 32 | 30 | 32 | 32
SBRAHA28 HAMILT_MAVERI1_1 TO_FROM | SBRAHA28 | HAMILT_MAVERI1_1 | 122 | 2 | 2 | HAMILTN4 | MAVERICK4A | TO_FROM | 73521.13 | -0.34107 | 0.39482 | -0.34107 | 0.45637 | 262.5486 | -147.732 | 0 | 7073.859 | 6675.769 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 23 | 29 | 2 | 23 | 29 | 2 | 23 | 29 | 2 | 23 | 29 | 2 | 23 | 29
SCHIWHT8 LKW_WHT_1 FROM_TO | SCHIWHT8 | LKW_WHT_1 | 172 | 13 | 13 | WHITNEY__8 | TNLKWHITNY1 | FROM_TO | 73521.13 | -0.22141 | 0.60933 | -0.25221 | 0.73912 | 306.6536 | -476.538 | 0 | 7678.617 | 9120.112 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6
SCHIWHT8 LKW_WHT_1 TO_FROM | SCHIWHT8 | LKW_WHT_1 | 172 | 13 | 13 | WHITNEY__8 | TNLKWHITNY1 | TO_FROM | 73521.13 | -0.60933 | 0.22142 | -0.73912 | 0.25221 | 716.3411 | 97.8471 | 0 | 9120.112 | 8332.882 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 10 | 16 | 18 | 10 | 16 | 18 | 10 | 16 | 18 | 10 | 16 | 18 | 10 | 16 | 18
SCHIWHT8 OLKW_BOS_1 FROM_TO | SCHIWHT8 | OLKW_BOS_1 | 190 | 13 | 13 | BOSQUESW8 | TNLKWHITNY1 | FROM_TO | 73521.13 | -0.59798 | 0.2287 | -0.73372 | 0.2287 | 749.9632 | 135.4559 | 0 | 9113.339 | 8448.521 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 10 | 15 | 17 | 10 | 15 | 17 | 10 | 15 | 17 | 10 | 15 | 17 | 10 | 15 | 17
SCHIWHT8 OLKW_BOS_1 TO_FROM | SCHIWHT8 | OLKW_BOS_1 | 190 | 13 | 13 | BOSQUESW8 | TNLKWHITNY1 | TO_FROM | 73521.13 | -0.2287 | 0.59798 | -0.2287 | 0.73372 | 271.3706 | -507.474 | 0 | 7747.194 | 9113.339 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6
SCRNODE8 WW2_RIO_1 FROM_TO | SCRNODE8 | WW2_RIO_1 | 154 | 7 | 7 | RIOP4A | TNWDWRDTAP1 | FROM_TO | 73521.13 | -0.04957 | 0.12408 | -0.84789 | 0.12408 | 172.2162 | 0.28744 | 0 | 3381.421 | 10000 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
SCRNODE8 WW2_RIO_1 TO_FROM | SCRNODE8 | WW2_RIO_1 | 154 | 7 | 7 | RIOP4A | TNWDWRDTAP1 | TO_FROM | 73521.13 | -0.03576 | 0.84789 | -0.12408 | 0.84789 | 164.7314 | -39.0265 | 0 | 9503.471 | 10000 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
SFORRYS5 210__A FROM_TO | SFORRYS5 | 210__A | 956 | 5 | 5 | FRNY1_5 | ROYSE_S5 | FROM_TO | 73521.13 | -0.18808 | 0.25103 | -0.2516 | 0.25103 | 1725.498 | 274.4677 | 0 | 8506.947 | 3113.099 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 16 | 19 | 19 | 16 | 19 | 19 | 16 | 19 | 19 | 16 | 19 | 19 | 16 | 19 | 19
SFORRYS5 210__A TO_FROM | SFORRYS5 | 210__A | 956 | 5 | 5 | FRNY1_5 | ROYSE_S5 | TO_FROM | 73521.13 | -0.25103 | 0.18808 | -0.25103 | 0.2516 | 549.2978 | -1158.02 | 0 | 2518.023 | 8528.082 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 8 | 8 | 20 | 8 | 8 | 20 | 8 | 8 | 20 | 8 | 8 | 20 | 8 | 8 | 20
SHSAPBS8 6550__A FROM_TO | SHSAPBS8 | 6550__A | 143 | 6 | 6 | PERMIANB_8 | WINKSS_8 | FROM_TO | 73521.13 | -0.0083 | 0.065443 | -0.60791 | 0.065443 | 145.1351 | 79.6809 | 0 | 10000 | 6813.931 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SHSAPBS8 6550__A TO_FROM | SHSAPBS8 | 6550__A | 143 | 6 | 6 | PERMIANB_8 | WINKSS_8 | TO_FROM | 73521.13 | -0.06544 | 0.60791 | -0.06544 | 0.60791 | 53.7936 | -96.1838 | 0 | 5150.653 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
SILLFTL8 OZNA_OZNR1_1 FROM_TO | SILLFTL8 | OZNA_OZNR1_1 | 38 | 1 | 1 | OZNR2A | OZNA2A | FROM_TO | 73521.13 | -0.0128 | 0.11592 | -0.16808 | 0.78823 | 93.5544 | 0.34177 | 0 | 7288.37 | 2987.712 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SILLFTL8 OZNA_OZNR1_1 TO_FROM | SILLFTL8 | OZNA_OZNR1_1 | 38 | 1 | 1 | OZNR2A | OZNA2A | TO_FROM | 73521.13 | -0.11592 | 0.03245 | -0.78823 | 0.16808 | 179.1324 | -47.8611 | 0 | 2006.095 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
SMDFHLT8 6101__B FROM_TO | SMDFHLT8 | 6101__B | 165 | 5 | 5 | WINKSS_8 | CHEYENTA_8 | FROM_TO | 73521.13 | -0.02391 | 0.12052 | -0.77017 | 0.12052 | 148.9414 | 40.7061 | 0 | 5119.876 | 7195.343 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
SMDFHLT8 6101__B TO_FROM | SMDFHLT8 | 6101__B | 165 | 5 | 5 | WINKSS_8 | CHEYENTA_8 | TO_FROM | 73521.13 | -0.0729 | 0.7669 | -0.12052 | 0.77018 | 125.1518 | -77.7044 | 0 | 9514.669 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
SMGSLNG5 6051__A FROM_TO | SMGSLNG5 | 6051__A | 1031 | 1 | 1 | ODEHVC_5 | QUAILSW_5 | FROM_TO | 73521.13 | -0.51868 | 0.4695 | -0.51868 | 0.46979 | 1061.967 | -612.081 | 0 | 2580.711 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
SMGSLNG5 6051__A TO_FROM | SMGSLNG5 | 6051__A | 1031 | 1 | 1 | ODEHVC_5 | QUAILSW_5 | TO_FROM | 73521.13 | -0.4695 | 0.51868 | -0.46979 | 0.51868 | 988.7503 | 285.681 | 0 | 9889.329 | 6589.155 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
SOAKNIC8 ABNW_CALLAH1_1 FROM_TO | SOAKNIC8 | ABNW_CALLAH1_1 | 135 | 1 | 1 | ABNW4A | CALLAHAN4A | FROM_TO | 73521.13 | -0.01155 | 0.026745 | -0.72632 | 0.071495 | 81.5418 | -12.8555 | 0 | 2690.106 | 4424.138 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOAKNIC8 ABNW_CALLAH1_1 TO_FROM | SOAKNIC8 | ABNW_CALLAH1_1 | 135 | 1 | 1 | ABNW4A | CALLAHAN4A | TO_FROM | 73521.13 | -0.00858 | 0.034871 | -0.0715 | 0.72632 | 48.5568 | -2.3251 | 0 | 5665.118 | 2333.438 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
SOGSTOK5 263__A FROM_TO | SOGSTOK5 | 263__A | 1673 | 1 | 1 | TWIN_OAK__5 | TWIN_OAK__5 | FROM_TO | 73521.13 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
SOGSTOK5 263__A TO_FROM | SOGSTOK5 | 263__A | 1673 | 1 | 1 | TWIN_OAK__5 | TWIN_OAK__5 | TO_FROM | 73521.13 | 0 | 1 | 0 | 1 | 1724.8 | 0 | 0 | 10000 | 0 | Non-Competi | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SSCUSUN8 6780_B_1 FROM_TO | SSCUSUN8 | 6780_B_1 | 38 | 1 | 1 | ROBY2A | LONGWRTH2A | FROM_TO | 73521.13 | -0.00693 | 0.13242 | -0.36252 | 0.50802 | 28.8456 | -23.9845 | 0 | 4223.485 | 3805.466 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
SSCUSUN8 6780_B_1 TO_FROM | SSCUSUN8 | 6780_B_1 | 38 | 1 | 1 | ROBY2A | LONGWRTH2A | TO_FROM | 73521.13 | -0.00307 | 0.052473 | -0.50802 | 0.36252 | 64.6686 | 12.1797 | 0 | 5207.624 | 3070.765 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SSNYCGR8 SNYDR_FMR1 FROM_TO | SSNYCGR8 | SNYDR_FMR1 | 60 | 1 | 1 | SNYDER_9 | SNYDER_8 | FROM_TO | 73521.13 | -0.00039 | 0.55691 | -0.22546 | 0.55691 | 70.662 | 24.1945 | 0 | 10000 | 5386.994 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
SSNYCGR8 SNYDR_FMR1 TO_FROM | SSNYCGR8 | SNYDR_FMR1 | 60 | 1 | 1 | SNYDER_9 | SNYDER_8 | TO_FROM | 73521.13 | -0.01292 | 0.12343 | -0.55691 | 0.22546 | 51.5796 | -28.5985 | 0 | 3913.804 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SSPUASP8 ROTN_WOLFGA1_1 FROM_TO | SSPUASP8 | ROTN_WOLFGA1_1 | 38 | 1 | 1 | 6162 | ROTN2A | FROM_TO | 73521.13 | -0.00075 | 0.10218 | -0.23215 | 0.6356 | 37.9953 | -11.819 | 0 | 5436.946 | 5037.587 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SSPUASP8 ROTN_WOLFGA1_1 TO_FROM | SSPUASP8 | ROTN_WOLFGA1_1 | 38 | 1 | 1 | 6162 | ROTN2A | TO_FROM | 73521.13 | -0.00318 | 0.015716 | -0.6356 | 0.23215 | 16.8236 | 6.8736 | 0 | 5207.624 | 4218.974 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
STNA16T8 RIOP_WDWRDT1_1 FROM_TO | STNA16T8 | RIOP_WDWRDT1_1 | 170 | 1 | 1 | RIOP4A | WDWRDTP4A | FROM_TO | 73521.13 | -0.08105 | 0.13903 | -0.84312 | 0.13903 | 229.0643 | 37.6677 | 0 | 3373.552 | 10000 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
STNA16T8 RIOP_WDWRDT1_1 TO_FROM | STNA16T8 | RIOP_WDWRDT1_1 | 170 | 1 | 1 | RIOP4A | WDWRDTP4A | TO_FROM | 73521.13 | -0.03847 | 0.84312 | -0.13903 | 0.84312 | 150.1571 | -83.6408 | 0 | 8840.211 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
STNA16T8 WW2_RIO_1 FROM_TO | STNA16T8 | WW2_RIO_1 | 154 | 1 | 1 | RIOP4A | TNWDWRDTAP1 | FROM_TO | 73521.13 | 0 | 0.000308 | -0.99969 | 0.000308 | 22.6209 | 22.618 | 0 | 696.593 | 0 | Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STNA16T8 WW2_RIO_1 TO_FROM | STNA16T8 | WW2_RIO_1 | 154 | 1 | 1 | RIOP4A | TNWDWRDTAP1 | TO_FROM | 73521.13 | -0.00031 | 0.99969 | -0.00031 | 0.99969 | 53.0001 | -22.618 | 0 | 10000 | 795.756 | Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SWOORI38 WW2_RIO_1 FROM_TO | SWOORI38 | WW2_RIO_1 | 154 | 5 | 5 | RIOP4A | TNWDWRDTAP1 | FROM_TO | 73521.13 | -0.08116 | 0.13857 | -0.84684 | 0.13857 | 200.4647 | 23.1689 | 0 | 3091.787 | 10000 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
SWOORI38 WW2_RIO_1 TO_FROM | SWOORI38 | WW2_RIO_1 | 154 | 5 | 5 | RIOP4A | TNWDWRDTAP1 | TO_FROM | 73521.13 | -0.03817 | 0.84684 | -0.13857 | 0.84684 | 163.8938 | -65.6819 | 0 | 8776.811 | 10000 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
XGRS58 6377__A FROM_TO | XGRS58 | 6377__A | 185 | 3 | 3 | ORAN1_8 | BARTON_8 | FROM_TO | 73521.13 | -0.18081 | 0.087072 | -0.64269 | 0.19264 | 152.1915 | -37.1668 | 0 | 10000 | 8796.331 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 4 | 4 | 6 | 4 | 4 | 6 | 4 | 4 | 6 | 4 | 4 | 6 | 4 | 4 | 6
XGRS58 6377__A TO_FROM | XGRS58 | 6377__A | 185 | 3 | 3 | ORAN1_8 | BARTON_8 | TO_FROM | 73521.13 | -0.08707 | 0.64269 | -0.19264 | 0.64269 | 338.5873 | -53.2233 | 0 | 7162.947 | 10000 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
[31 empty] | sum | 1041 | 1398 | 1994 | 887 | 1147 | 1658 | 635 | 772 | 1056 | 516 | 584 | 814 | 510 | 574 | 804

## Long-Term CCT SUMMARY
Summary
| ECIT1 | 1000 | 1500 | 2000 | 2500 | 3000 |  | ECIT1=1000 |  |  | ECIT1=1500 |  |  | ECIT1=2000 |  |  | ECIT1=2500 |  |  | ECIT1=3000
| Competitive | 0 | 3 | 8 | 11 | 12 |  | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2%
| Pct of Competitive Constraints | 0% | 4.054% | 10.81% | 14.86% | 16.22% | Total # of Mitigated Resources | 1041 | 1398 | 1994 | 887 | 1147 | 1658 | 635 | 772 | 1056 | 516 | 584 | 814 | 510 | 574 | 804
| Non-Competitive | 74 | 71 | 66 | 63 | 62 | Percentage of Mitigated Resources | 2.306% | 3.097% | 4.417% | 1.965% | 2.541% | 3.673% | 1.407% | 1.71% | 2.339% | 1.143% | 1.294% | 1.803% | 1.13% | 1.272% | 1.781%
| Pct of Non-Competitive Constraints | 100% | 95.95% | 89.19% | 85.14% | 83.78%
| Total | 74 | 74 | 74 | 74 | 74
Percentage of Mitigated Resources | DMEECP=10% | 2.306% | 1.965% | 1.407% | 1.143% | 1.13%
| DMEECP=5% | 3.097% | 2.541% | 1.71% | 1.294% | 1.272%
| DMEECP=2% | 4.417% | 3.673% | 2.339% | 1.803% | 1.781%

## SCED Historical SCED CCT
[10 empty] | NPRR 469 | [9 empty] | EC1T1 | [6 empty] | EC1T1 |  |  |  |  | Total Number of Mitigated Resources
[20 empty] | 1000 | 1500 | 2000 | 2500 | 3000 |  |  | 1000 | 1500 | 2000 | 2500 | 3000 | ECIT1=1000 |  |  | ECIT1=1500 |  |  | ECIT1=2000 |  |  | ECIT1=2500 |  |  | ECIT1=3000
str | contingency | constraint | linelimit | devicecnt | cktcnt | frombus | tobus | direction | sys_total_load | mingensf | maxgensf | minbussf | maxbussf | worst_flow | pivotal_flow | under_gen_mw | ecim23_p | ecim23_n | cur_cct_flag | Imp ECI<Threshold | Imp ECI<Threshold | Imp ECI<Threshold | Imp ECI<Threshold | Imp ECI<Threshold | No pivotal player | SF<= -2% | NEW_CCT_FLAG | NEW_CCT_FLAG | NEW_CCT_FLAG | NEW_CCT_FLAG | NEW_CCT_FLAG | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2%
Base Case CTRPHR97_A FROM_TO | Base Case | CTRPHR97_A | 1435 | 0 | 0 | CENTER__345A | P_H_R___345E | FROM_TO | 73521.13 | -0.16904 | 0.45048 | -0.22459 | 0.45048 | 1964.953 | -651.676 | 0 | 5979.726 | 2287.031 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 29 | 56 | 73 | 29 | 56 | 73 | 29 | 56 | 73 | 0 | 0 | 0 | 0 | 0 | 0
Base Case CTRPHR97_A TO_FROM | Base Case | CTRPHR97_A | 1435 | 0 | 0 | CENTER__345A | P_H_R___345E | TO_FROM | 73521.13 | -0.45048 | 0.16904 | -0.45048 | 0.22459 | 847.6684 | -980.395 | 0 | 2287.031 | 5979.726 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 45 | 45 | 57 | 45 | 45 | 57 | 45 | 45 | 57 | 45 | 45 | 57 | 45 | 45 | 57
Base Case WDWRDT_WOODWR1_1 FROM_TO | Base Case | WDWRDT_WOODWR1_1 | 140 | 0 | 0 | WDWRDTP4A | WOODWRD1_1_8 | FROM_TO | 73521.13 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Base Case WDWRDT_WOODWR1_1 TO_FROM | Base Case | WDWRDT_WOODWR1_1 | 140 | 0 | 0 | WDWRDTP4A | WOODWRD1_1_8 | TO_FROM | 73521.13 | 0 | 1 | 0 | 1 | 80.85 | 0 | 0 | 10000 | 0 | Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DAUSDES8 MCN_MCN_1 FROM_TO | DAUSDES8 | MCN_MCN_1 | 480 | 2 | 2 | L_MCNEIL8_1Y | MCNEILN | FROM_TO | 73521.13 | -0.30041 | 0.10452 | -0.47863 | 0.51004 | 1032.655 | 107.5744 | 0 | 933.922 | 8863.739 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 16 | 16 | 24 | 16 | 16 | 24 | 16 | 16 | 24 | 16 | 16 | 24 | 16 | 16 | 24
DAUSDES8 MCN_MCN_1 TO_FROM | DAUSDES8 | MCN_MCN_1 | 480 | 2 | 2 | L_MCNEIL8_1Y | MCNEILN | TO_FROM | 73521.13 | -0.10452 | 0.30041 | -0.51004 | 0.47863 | 375.9415 | -655.667 | 0 | 8863.739 | 933.922 | Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Competitive | Competitive | Competitive | Competitive | Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DAUSSND5 MCN_MCN_1 FROM_TO | DAUSSND5 | MCN_MCN_1 | 480 | 5 | 5 | L_MCNEIL8_1Y | MCNEILN | FROM_TO | 73521.13 | -0.305 | 0.10068 | -0.47009 | 0.51848 | 1742.214 | -369.066 | 0 | 1439.473 | 4673.706 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 33 | 62 | 68 | 33 | 62 | 68 | 33 | 62 | 68 | 33 | 62 | 68 | 33 | 62 | 68
DAUSSND5 MCN_MCN_1 TO_FROM | DAUSSND5 | MCN_MCN_1 | 480 | 5 | 5 | L_MCNEIL8_1Y | MCNEILN | TO_FROM | 73521.13 | -0.10068 | 0.305 | -0.51848 | 0.47009 | 936.5251 | -714.273 | 0 | 4673.706 | 1439.473 | Competitive | 0 | 1 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Competitive | Competitive | Competitive | Competitive | 43 | 116 | 171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DBBSVEN5 20__A FROM_TO | DBBSVEN5 | 20__A | 1052 | 4 | 4 | RICHLND2_5 | BIGBRN__5 | FROM_TO | 73521.13 | -0.19986 | 0.69743 | -0.19986 | 0.69743 | 1542.122 | -1361.42 | 0 | 3886.844 | 1725.785 | Non-Competi | 0 | 0 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Competitive | Competitive | Competitive | 96 | 96 | 153 | 96 | 96 | 153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DBBSVEN5 20__A TO_FROM | DBBSVEN5 | 20__A | 1052 | 4 | 4 | RICHLND2_5 | BIGBRN__5 | TO_FROM | 73521.13 | -0.69743 | 0.19986 | -0.69743 | 0.19986 | 2458.816 | -245.446 | 0 | 1725.785 | 3886.844 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 40 | 40 | 108 | 40 | 40 | 108 | 40 | 40 | 108 | 40 | 40 | 108 | 40 | 40 | 108
DBWNTWI5 TWINBU_T1H FROM_TO | DBWNTWI5 | TWINBU_T1H | 308 | 2 | 2 | L_TWINBU5_1Y | L_TWINBU1_1 | FROM_TO | 73521.13 | -0.19311 | 0.18196 | -0.46169 | 0.23052 | 720.1221 | -112.378 | 0 | 2656.416 | 6400.32 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 12 | 14 | 1 | 12 | 14 | 1 | 12 | 14 | 1 | 12 | 14 | 1 | 12 | 14
DBWNTWI5 TWINBU_T1H TO_FROM | DBWNTWI5 | TWINBU_T1H | 308 | 2 | 2 | L_TWINBU5_1Y | L_TWINBU1_1 | TO_FROM | 73521.13 | -0.18197 | 0.19311 | -0.23052 | 0.46169 | 225.083 | -546.544 | 0 | 6400.32 | 2656.416 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | 26 | 39 | 52 | 26 | 39 | 52 | 26 | 39 | 52 | 26 | 39 | 52 | 0 | 0 | 0
DCBYCHB5 GBY_AT2 FROM_TO | DCBYCHB5 | GBY_AT2 | 504 | 2 | 2 | GRNBYU__345A | 49128_STAR | FROM_TO | 73521.13 | -0.22859 | 0.11166 | -0.40215 | 0.11166 | 1448.406 | -52.5598 | 0 | 1432.728 | 2289.087 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 45 | 66 | 87 | 45 | 66 | 87 | 45 | 66 | 87 | 0 | 0 | 0 | 0 | 0 | 0
DCBYCHB5 GBY_AT2 TO_FROM | DCBYCHB5 | GBY_AT2 | 504 | 2 | 2 | GRNBYU__345A | 49128_STAR | TO_FROM | 73521.13 | -0.11166 | 0.22859 | -0.11166 | 0.40215 | 652.4752 | -998.703 | 0 | 2289.087 | 1432.728 | Competitive | 0 | 1 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Competitive | Competitive | Competitive | Competitive | 56 | 75 | 143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DCBYCHB5 GBY_AT2L FROM_TO | DCBYCHB5 | GBY_AT2L | 504 | 2 | 2 | GRNBYU__138C | 49128_STAR | FROM_TO | 73521.13 | -0.11166 | 0.22859 | -0.65293 | 0.40215 | 652.4752 | -998.703 | 0 | 2289.087 | 1432.728 | Competitive | 0 | 1 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Competitive | Competitive | Competitive | Competitive | 56 | 75 | 143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DCBYCHB5 GBY_AT2L TO_FROM | DCBYCHB5 | GBY_AT2L | 504 | 2 | 2 | GRNBYU__138C | 49128_STAR | TO_FROM | 73521.13 | -0.22859 | 0.11166 | -0.40215 | 0.65293 | 1448.406 | -52.5598 | 0 | 1432.728 | 2289.087 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 45 | 66 | 87 | 45 | 66 | 87 | 45 | 66 | 87 | 0 | 0 | 0 | 0 | 0 | 0
DCRLLSW5 588_B_1 FROM_TO | DCRLLSW5 | 588_B_1 | 190 | 0 | 0 | TNHIGHLNDS1 | TNWEST____1 | FROM_TO | 73521.13 | -0.00651 | 0.067829 | -0.63244 | 0.23658 | 241.3702 | 27.9675 | 0 | 3749.055 | 2847.777 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DCRLLSW5 588_B_1 TO_FROM | DCRLLSW5 | 588_B_1 | 190 | 0 | 0 | TNHIGHLNDS1 | TNWEST____1 | TO_FROM | 73521.13 | -0.06783 | 0.006511 | -0.23658 | 0.63244 | 20.5217 | -196.491 | 0 | 2847.777 | 3749.055 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
DENTSCS5 1350__A FROM_TO | DENTSCS5 | 1350__A | 191 | 2 | 2 | NACOGST_8 | LUFKIN_8 | FROM_TO | 73521.13 | -0.19001 | 0.062314 | -0.22643 | 0.29825 | 201.0278 | -66.1648 | 0 | 5020.469 | 5862.48 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
DENTSCS5 1350__A TO_FROM | DENTSCS5 | 1350__A | 191 | 2 | 2 | NACOGST_8 | LUFKIN_8 | TO_FROM | 73521.13 | -0.06231 | 0.19001 | -0.29825 | 0.22643 | 106.2282 | -70.151 | 0 | 5862.48 | 5020.469 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
DGRSPKR5 GRSES_MR1H FROM_TO | DGRSPKR5 | GRSES_MR1H | 382 | 2 | 2 | GRHAMSES1_5 | GRSES1_1 | FROM_TO | 73521.13 | -0.55063 | 0.093752 | -0.7471 | 0.093752 | 492.7581 | 42.5427 | 0 | 2127.517 | 6964.254 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 10 | 10 | 1 | 10 | 10 | 1 | 10 | 10 | 1 | 10 | 10 | 1 | 10 | 10
DGRSPKR5 GRSES_MR1H TO_FROM | DGRSPKR5 | GRSES_MR1H | 382 | 2 | 2 | GRHAMSES1_5 | GRSES1_1 | TO_FROM | 73521.13 | -0.09375 | 0.55063 | -0.09375 | 0.7471 | 108.5225 | -430.847 | 0 | 6964.254 | 2127.517 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 8 | 28 | 43 | 8 | 28 | 43 | 8 | 28 | 43 | 0 | 0 | 0 | 0 | 0 | 0
DMARSKY5 293T304_1 FROM_TO | DMARSKY5 | 293T304_1 | 287 | 2 | 2 | L_CIBOLO8_1Y | L_SCHERT8_1Y | FROM_TO | 73521.13 | -0.11627 | 0.022502 | -0.51025 | 0.34103 | 825.7035 | 287.5569 | 0 | 994.887 | 8380.813 | Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 22 | 22 | 31 | 22 | 22 | 31 | 22 | 22 | 31 | 22 | 22 | 31 | 22 | 22 | 31
DMARSKY5 293T304_1 TO_FROM | DMARSKY5 | 293T304_1 | 287 | 2 | 2 | L_CIBOLO8_1Y | L_SCHERT8_1Y | TO_FROM | 73521.13 | -0.0225 | 0.11627 | -0.34103 | 0.51025 | 159.56 | -613.774 | 0 | 8380.813 | 994.887 | Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Competitive | Competitive | Competitive | Competitive | Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DMGSLNG5 6470__D FROM_TO | DMGSLNG5 | 6470__D | 179 | 3 | 3 | MCDONALD_8 | FORSANTA_8 | FROM_TO | 73521.13 | -0.69899 | 0.23057 | -0.69899 | 0.23057 | 288.8256 | -234.602 | 0 | 4121.215 | 2162.576 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 7 | 32 | 34 | 7 | 32 | 34 | 7 | 32 | 34 | 0 | 0 | 0 | 0 | 0 | 0
DMGSLNG5 6470__D TO_FROM | DMGSLNG5 | 6470__D | 179 | 3 | 3 | MCDONALD_8 | FORSANTA_8 | TO_FROM | 73521.13 | -0.23057 | 0.69899 | -0.23057 | 0.69899 | 371.3042 | -207.885 | 0 | 2162.576 | 4121.215 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
DPRSVLY5 PRSSW_MR1H FROM_TO | DPRSVLY5 | PRSSW_MR1H | 515 | 2 | 2 | PARIS_SW1_5 | PRSSW1_1 | FROM_TO | 73521.13 | -0.4984 | 0.25799 | -0.64061 | 0.25799 | 585.3545 | 123.6722 | 0 | 8099.073 | 9945.554 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
DPRSVLY5 PRSSW_MR1H TO_FROM | DPRSVLY5 | PRSSW_MR1H | 515 | 2 | 2 | PARIS_SW1_5 | PRSSW1_1 | TO_FROM | 73521.13 | -0.25799 | 0.4984 | -0.25799 | 0.6406 | 7.7059 | -302.524 | 0 | 9945.554 | 8099.073 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 6 | 9 | 10 | 6 | 9 | 10 | 6 | 9 | 10 | 6 | 9 | 10 | 6 | 9 | 10
DPRSVLY5 PRSSW_MR1L FROM_TO | DPRSVLY5 | PRSSW_MR1L | 515 | 2 | 2 | PARIS_SW1_8 | PRSSW1_1 | FROM_TO | 73521.13 | -0.25799 | 0.4984 | -0.35939 | 0.51971 | 7.7059 | -302.524 | 0 | 9945.554 | 8099.073 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 6 | 9 | 10 | 6 | 9 | 10 | 6 | 9 | 10 | 6 | 9 | 10 | 6 | 9 | 10
DPRSVLY5 PRSSW_MR1L TO_FROM | DPRSVLY5 | PRSSW_MR1L | 515 | 2 | 2 | PARIS_SW1_8 | PRSSW1_1 | TO_FROM | 73521.13 | -0.4984 | 0.25799 | -0.51971 | 0.3594 | 585.3545 | 123.6722 | 0 | 8099.073 | 9945.554 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
DSWECCR5 6027_A_1 FROM_TO | DSWECCR5 | 6027_A_1 | 1065 | 0 | 0 | MRGNCRK_5 | L_BITTCR5_1Y | FROM_TO | 73521.13 | -0.22042 | 0.19765 | -0.22042 | 0.21909 | 1035.011 | -573.405 | 0 | 1264.694 | 3678.338 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 8 | 9 | 14 | 8 | 9 | 14 | 8 | 9 | 14 | 8 | 9 | 14 | 8 | 9 | 14
DSWECCR5 6027_A_1 TO_FROM | DSWECCR5 | 6027_A_1 | 1065 | 0 | 0 | MRGNCRK_5 | L_BITTCR5_1Y | TO_FROM | 73521.13 | -0.19765 | 0.22042 | -0.21909 | 0.22042 | 646.9335 | -760.532 | 0 | 3678.338 | 1264.694 | Competitive | 0 | 1 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Competitive | Competitive | Competitive | Competitive | 40 | 55 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DTRCELK5 1255__B FROM_TO | DTRCELK5 | 1255__B | 212 | 2 | 2 | STRYKER_8 | STRYKERTA_8 | FROM_TO | 73521.13 | -0.00496 | 0.10226 | -0.87469 | 0.10226 | 295.2084 | -10.9899 | 0 | 7023.729 | 1624.318 | Competitive | 0 | 0 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DTRCELK5 1255__B TO_FROM | DTRCELK5 | 1255__B | 212 | 2 | 2 | STRYKER_8 | STRYKERTA_8 | TO_FROM | 73521.13 | -0.10226 | 0.004962 | -0.10226 | 0.87469 | 67.9842 | -84.6163 | 0 | 1624.318 | 7023.729 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 10 | 10 | 5 | 10 | 10 | 5 | 10 | 10 | 5 | 10 | 10 | 5 | 10 | 10
DWTRLEG5 20__A FROM_TO | DWTRLEG5 | 20__A | 1052 | 6 | 6 | RICHLND2_5 | BIGBRN__5 | FROM_TO | 73521.13 | -0.14079 | 0.75212 | -0.14079 | 0.75212 | 1593.738 | -1625.1 | 0 | 3695.567 | 1326.905 | Non-Competi | 0 | 1 | 1 | 1 | 1 | 1 | 1 | Non-Competitive | Competitive | Competitive | Competitive | Competitive | 96 | 125 | 198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DWTRLEG5 20__A TO_FROM | DWTRLEG5 | 20__A | 1052 | 6 | 6 | RICHLND2_5 | BIGBRN__5 | TO_FROM | 73521.13 | -0.75212 | 0.14079 | -0.75212 | 0.14079 | 2732.79 | -103.826 | 0 | 1326.905 | 3695.567 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 40 | 40 | 97 | 40 | 40 | 97 | 40 | 40 | 97 | 40 | 40 | 97 | 40 | 40 | 97
SBOMJCK5 35020__B FROM_TO | SBOMJCK5 | 35020__B | 717 | 1 | 1 | GRHAMSES1_5 | GARVEYRD_5 | FROM_TO | 73521.13 | -0.74658 | 0.064887 | -0.74658 | 0.064887 | 598.1845 | -609.383 | 0 | 3592.429 | 2634.433 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | 4 | 8 | 12 | 4 | 8 | 12 | 4 | 8 | 12 | 4 | 8 | 12 | 0 | 0 | 0
SBOMJCK5 35020__B TO_FROM | SBOMJCK5 | 35020__B | 717 | 1 | 1 | GRHAMSES1_5 | GARVEYRD_5 | TO_FROM | 73521.13 | -0.06489 | 0.74658 | -0.06489 | 0.74658 | 891.0143 | -492.523 | 0 | 2634.433 | 3592.429 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
SBRAHA28 HAMILT_MAVERI1_1 FROM_TO | SBRAHA28 | HAMILT_MAVERI1_1 | 122 | 2 | 2 | HAMILTN4 | MAVERICK4A | FROM_TO | 73521.13 | -0.39482 | 0.34107 | -0.45637 | 0.34107 | 449.5735 | -239.399 | 0 | 2933.578 | 7073.859 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 32 | 32 | 34 | 32 | 32 | 34 | 32 | 32 | 34 | 32 | 32 | 34 | 32 | 32 | 34
SBRAHA28 HAMILT_MAVERI1_1 TO_FROM | SBRAHA28 | HAMILT_MAVERI1_1 | 122 | 2 | 2 | HAMILTN4 | MAVERICK4A | TO_FROM | 73521.13 | -0.34107 | 0.39482 | -0.34107 | 0.45637 | 265.4873 | -348.801 | 0 | 7073.859 | 2933.578 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | 19 | 27 | 52 | 19 | 27 | 52 | 19 | 27 | 52 | 19 | 27 | 52 | 0 | 0 | 0
SCHIWHT8 LKW_WHT_1 FROM_TO | SCHIWHT8 | LKW_WHT_1 | 172 | 13 | 13 | WHITNEY__8 | TNLKWHITNY1 | FROM_TO | 73521.13 | -0.22141 | 0.60933 | -0.25221 | 0.73912 | 309.0611 | -569.311 | 0 | 7678.617 | 9120.112 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6
SCHIWHT8 LKW_WHT_1 TO_FROM | SCHIWHT8 | LKW_WHT_1 | 172 | 13 | 13 | WHITNEY__8 | TNLKWHITNY1 | TO_FROM | 73521.13 | -0.60933 | 0.22142 | -0.73912 | 0.25221 | 723.5219 | -159.928 | 0 | 9120.112 | 7678.617 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 10 | 16 | 19 | 10 | 16 | 19 | 10 | 16 | 19 | 10 | 16 | 19 | 10 | 16 | 19
SCHIWHT8 OLKW_BOS_1 FROM_TO | SCHIWHT8 | OLKW_BOS_1 | 190 | 13 | 13 | BOSQUESW8 | TNLKWHITNY1 | FROM_TO | 73521.13 | -0.59798 | 0.2287 | -0.73372 | 0.2287 | 752.8039 | -123.924 | 0 | 9113.339 | 7747.194 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 10 | 15 | 18 | 10 | 15 | 18 | 10 | 15 | 18 | 10 | 15 | 18 | 10 | 15 | 18
SCHIWHT8 OLKW_BOS_1 TO_FROM | SCHIWHT8 | OLKW_BOS_1 | 190 | 13 | 13 | BOSQUESW8 | TNLKWHITNY1 | TO_FROM | 73521.13 | -0.2287 | 0.59798 | -0.2287 | 0.73372 | 273.0043 | -599.203 | 0 | 7747.194 | 9113.339 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6
SCRNODE8 WW2_RIO_1 FROM_TO | SCRNODE8 | WW2_RIO_1 | 154 | 7 | 7 | RIOP4A | TNWDWRDTAP1 | FROM_TO | 73521.13 | -0.84789 | 0.12408 | -0.84789 | 0.12408 | 171.9572 | -87.7052 | 0 | 3381.421 | 9503.471 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 4 | 4 | 9 | 4 | 4 | 9 | 4 | 4 | 9 | 4 | 4 | 9 | 4 | 4 | 9
SCRNODE8 WW2_RIO_1 TO_FROM | SCRNODE8 | WW2_RIO_1 | 154 | 7 | 7 | RIOP4A | TNWDWRDTAP1 | TO_FROM | 73521.13 | -0.12408 | 0.84789 | -0.12408 | 0.84789 | 164.8041 | -109.055 | 0 | 9503.471 | 3381.421 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
SFORRYS5 210__A FROM_TO | SFORRYS5 | 210__A | 956 | 5 | 5 | FRNY1_5 | ROYSE_S5 | FROM_TO | 73521.13 | -0.18808 | 0.25103 | -0.2516 | 0.25103 | 1725.809 | -74.2876 | 0 | 8506.947 | 2518.023 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | 17 | 17 | 20 | 17 | 17 | 20 | 17 | 17 | 20 | 17 | 17 | 20 | 0 | 0 | 0
SFORRYS5 210__A TO_FROM | SFORRYS5 | 210__A | 956 | 5 | 5 | FRNY1_5 | ROYSE_S5 | TO_FROM | 73521.13 | -0.25103 | 0.18808 | -0.25103 | 0.2516 | 568.8446 | -1197.9 | 0 | 2518.023 | 8506.947 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 8 | 8 | 20 | 8 | 8 | 20 | 8 | 8 | 20 | 8 | 8 | 20 | 8 | 8 | 20
SHSAPBS8 6550__A FROM_TO | SHSAPBS8 | 6550__A | 143 | 6 | 6 | PERMIANB_8 | WINKSS_8 | FROM_TO | 73521.13 | -0.60791 | 0.065443 | -0.60791 | 0.065443 | 145.1351 | 18.7046 | 0 | 10000 | 5150.653 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
SHSAPBS8 6550__A TO_FROM | SHSAPBS8 | 6550__A | 143 | 6 | 6 | PERMIANB_8 | WINKSS_8 | TO_FROM | 73521.13 | -0.06544 | 0.60791 | -0.06544 | 0.60791 | 55.6931 | -114.264 | 0 | 5150.653 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
SILLFTL8 OZNA_OZNR1_1 FROM_TO | SILLFTL8 | OZNA_OZNR1_1 | 38 | 1 | 1 | OZNR2A | OZNA2A | FROM_TO | 73521.13 | -0.03245 | 0.11592 | -0.16808 | 0.78823 | 93.189 | -139.32 | 0 | 7288.37 | 2006.095 | Competitive | 0 | 0 | 0 | 1 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | Competitive | 11 | 13 | 13 | 11 | 13 | 13 | 11 | 13 | 13 | 0 | 0 | 0 | 0 | 0 | 0
SILLFTL8 OZNA_OZNR1_1 TO_FROM | SILLFTL8 | OZNA_OZNR1_1 | 38 | 1 | 1 | OZNR2A | OZNA2A | TO_FROM | 73521.13 | -0.11592 | 0.03245 | -0.78823 | 0.16808 | 179.5237 | -72.0832 | 0 | 2006.095 | 7288.37 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
SMDFHLT8 6101__B FROM_TO | SMDFHLT8 | 6101__B | 165 | 5 | 5 | WINKSS_8 | CHEYENTA_8 | FROM_TO | 73521.13 | -0.7669 | 0.12052 | -0.77017 | 0.12052 | 148.9414 | -11.7999 | 0 | 5119.876 | 9514.669 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
SMDFHLT8 6101__B TO_FROM | SMDFHLT8 | 6101__B | 165 | 5 | 5 | WINKSS_8 | CHEYENTA_8 | TO_FROM | 73521.13 | -0.12052 | 0.7669 | -0.12052 | 0.77018 | 126.6789 | -114.008 | 0 | 9514.669 | 5119.876 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17
SMGSLNG5 6051__A FROM_TO | SMGSLNG5 | 6051__A | 1031 | 1 | 1 | ODEHVC_5 | QUAILSW_5 | FROM_TO | 73521.13 | -0.51868 | 0.4695 | -0.51868 | 0.46979 | 1084.726 | -682.824 | 0 | 2580.711 | 9889.329 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
SMGSLNG5 6051__A TO_FROM | SMGSLNG5 | 6051__A | 1031 | 1 | 1 | ODEHVC_5 | QUAILSW_5 | TO_FROM | 73521.13 | -0.4695 | 0.51868 | -0.46979 | 0.51868 | 988.7503 | -480.012 | 0 | 9889.329 | 2580.711 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | 29 | 29 | 35 | 29 | 29 | 35 | 29 | 29 | 35 | 29 | 29 | 35 | 0 | 0 | 0
SOAKNIC8 ABNW_CALLAH1_1 FROM_TO | SOAKNIC8 | ABNW_CALLAH1_1 | 135 | 1 | 1 | ABNW4A | CALLAHAN4A | FROM_TO | 73521.13 | -0.03487 | 0.026745 | -0.72632 | 0.071495 | 81.9225 | -27.8509 | 0 | 2690.106 | 5665.118 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
SOAKNIC8 ABNW_CALLAH1_1 TO_FROM | SOAKNIC8 | ABNW_CALLAH1_1 | 135 | 1 | 1 | ABNW4A | CALLAHAN4A | TO_FROM | 73521.13 | -0.02675 | 0.034871 | -0.0715 | 0.72632 | 49.6973 | -41.7665 | 0 | 5665.118 | 2690.106 | Competitive | 0 | 0 | 0 | 0 | 1 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 0
SOGSTOK5 263__A FROM_TO | SOGSTOK5 | 263__A | 1673 | 1 | 1 | TWIN_OAK__5 | TWIN_OAK__5 | FROM_TO | 73521.13 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
SOGSTOK5 263__A TO_FROM | SOGSTOK5 | 263__A | 1673 | 1 | 1 | TWIN_OAK__5 | TWIN_OAK__5 | TO_FROM | 73521.13 | 0 | 1 | 0 | 1 | 1724.8 | 0 | 0 | 10000 | 0 | Non-Competi | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SSCUSUN8 6780_B_1 FROM_TO | SSCUSUN8 | 6780_B_1 | 38 | 1 | 1 | ROBY2A | LONGWRTH2A | FROM_TO | 73521.13 | -0.05247 | 0.13242 | -0.36252 | 0.50802 | 29.0271 | -48.0974 | 0 | 4223.485 | 5207.624 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
SSCUSUN8 6780_B_1 TO_FROM | SSCUSUN8 | 6780_B_1 | 38 | 1 | 1 | ROBY2A | LONGWRTH2A | TO_FROM | 73521.13 | -0.13242 | 0.052473 | -0.50802 | 0.36252 | 64.6686 | -9.5194 | 0 | 5207.624 | 4223.485 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
SSNYCGR8 SNYDR_FMR1 FROM_TO | SSNYCGR8 | SNYDR_FMR1 | 60 | 1 | 1 | SNYDER_9 | SNYDER_8 | FROM_TO | 73521.13 | -0.12343 | 0.55691 | -0.22546 | 0.55691 | 70.662 | -12.3759 | 0 | 10000 | 3913.804 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
SSNYCGR8 SNYDR_FMR1 TO_FROM | SSNYCGR8 | SNYDR_FMR1 | 60 | 1 | 1 | SNYDER_9 | SNYDER_8 | TO_FROM | 73521.13 | -0.55691 | 0.12343 | -0.55691 | 0.22546 | 51.7589 | -36.0657 | 0 | 3913.804 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
SSPUASP8 ROTN_WOLFGA1_1 FROM_TO | SSPUASP8 | ROTN_WOLFGA1_1 | 38 | 1 | 1 | 6162 | ROTN2A | FROM_TO | 73521.13 | -0.01572 | 0.10218 | -0.23215 | 0.6356 | 38.3078 | -13.6264 | 0 | 5436.946 | 5207.624 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SSPUASP8 ROTN_WOLFGA1_1 TO_FROM | SSPUASP8 | ROTN_WOLFGA1_1 | 38 | 1 | 1 | 6162 | ROTN2A | TO_FROM | 73521.13 | -0.10218 | 0.015716 | -0.6356 | 0.23215 | 16.8236 | -17.1662 | 0 | 5207.624 | 5436.946 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 4 | 5 | 7 | 4 | 5 | 7 | 4 | 5 | 7 | 4 | 5 | 7 | 4 | 5 | 7
STNA16T8 RIOP_WDWRDT1_1 FROM_TO | STNA16T8 | RIOP_WDWRDT1_1 | 170 | 1 | 1 | RIOP4A | WDWRDTP4A | FROM_TO | 73521.13 | -0.84312 | 0.13903 | -0.84312 | 0.13903 | 229.0352 | -66.5152 | 0 | 3373.552 | 8840.211 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 4 | 4 | 9 | 4 | 4 | 9 | 4 | 4 | 9 | 4 | 4 | 9 | 4 | 4 | 9
STNA16T8 RIOP_WDWRDT1_1 TO_FROM | STNA16T8 | RIOP_WDWRDT1_1 | 170 | 1 | 1 | RIOP4A | WDWRDTP4A | TO_FROM | 73521.13 | -0.13903 | 0.84312 | -0.13903 | 0.84312 | 150.2928 | -159.847 | 0 | 8840.211 | 3373.552 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
STNA16T8 WW2_RIO_1 FROM_TO | STNA16T8 | WW2_RIO_1 | 154 | 1 | 1 | RIOP4A | TNWDWRDTAP1 | FROM_TO | 73521.13 | -0.99969 | 0.000308 | -0.99969 | 0.000308 | 22.6209 | 22.618 | 0 | 696.593 | 10000 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
STNA16T8 WW2_RIO_1 TO_FROM | STNA16T8 | WW2_RIO_1 | 154 | 1 | 1 | RIOP4A | TNWDWRDTAP1 | TO_FROM | 73521.13 | -0.00031 | 0.99969 | -0.00031 | 0.99969 | 53.0313 | -22.618 | 0 | 10000 | 696.593 | Competitive | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SWOORI38 WW2_RIO_1 FROM_TO | SWOORI38 | WW2_RIO_1 | 154 | 5 | 5 | RIOP4A | TNWDWRDTAP1 | FROM_TO | 73521.13 | -0.84684 | 0.13857 | -0.84684 | 0.13857 | 200.3953 | -84.2577 | 0 | 3091.787 | 8776.811 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 4 | 9 | 9 | 4 | 9 | 9 | 4 | 9 | 9 | 4 | 9 | 9 | 4 | 9 | 9
SWOORI38 WW2_RIO_1 TO_FROM | SWOORI38 | WW2_RIO_1 | 154 | 5 | 5 | RIOP4A | TNWDWRDTAP1 | TO_FROM | 73521.13 | -0.13857 | 0.84684 | -0.13857 | 0.84684 | 163.9037 | -141.748 | 0 | 8776.811 | 3091.787 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
XGRS58 6377__A FROM_TO | XGRS58 | 6377__A | 185 | 3 | 3 | ORAN1_8 | BARTON_8 | FROM_TO | 73521.13 | -0.64269 | 0.087072 | -0.64269 | 0.19264 | 152.7871 | -262.884 | 0 | 10000 | 7162.947 | Competitive | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
XGRS58 6377__A TO_FROM | XGRS58 | 6377__A | 185 | 3 | 3 | ORAN1_8 | BARTON_8 | TO_FROM | 73521.13 | -0.08707 | 0.64269 | -0.19264 | 0.64269 | 338.5505 | -56.8873 | 0 | 7162.947 | 10000 | Non-Competi | 0 | 0 | 0 | 0 | 0 | 1 | 1 | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | Non-Competitive | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
[31 empty] | sum | 1085 | 1459 | 2119 | 794 | 1013 | 1400 | 698 | 917 | 1247 | 553 | 656 | 910 | 455 | 533 | 736

## SCED CCT SUMMARY
Summary
| ECIT1 | 1000 | 1500 | 2000 | 2500 | 3000 |  | ECIT1=1000 |  |  | ECIT1=1500 |  |  | ECIT1=2000 |  |  | ECIT1=2500 |  |  | ECIT1=3000
| Competitive | 2 | 7 | 8 | 14 | 20 |  | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2% | DMEECP=10% | DMEECP=5% | DMEECP=2%
| Pct of Competitive Constraints | 2.703% | 9.459% | 10.81% | 18.92% | 27.03% | Total # of Mitigated Resources | 1085 | 1459 | 2119 | 794 | 1013 | 1400 | 698 | 917 | 1247 | 553 | 656 | 910 | 455 | 533 | 736
| Non-Competitive | 72 | 67 | 66 | 60 | 54 | Percentage of Mitigated Resources | 2.404% | 3.232% | 4.694% | 1.759% | 2.244% | 3.101% | 1.546% | 2.031% | 2.763% | 1.225% | 1.453% | 2.016% | 1.008% | 1.181% | 1.63%
| Pct of Non-Competitive Constraints | 97.3% | 90.54% | 89.19% | 81.08% | 72.97%
| Total | 74 | 74 | 74 | 74 | 74
Percentage of Mitigated Resources | DMEECP=10% | 2.404% | 1.759% | 1.546% | 1.225% | 1.008%
| DMEECP=5% | 3.232% | 2.244% | 2.031% | 1.453% | 1.181%
| DMEECP=2% | 4.694% | 3.101% | 2.763% | 2.016% | 1.63%