| NOGRR Number | 111 | NOGRR Title | Synchronization with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis |
| --- | --- | --- | --- |
| Date Posted |  | April 2, 2013 |  |

| Requested Resolution | Normal. |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 2.2.8, Performance/Disturbance/Compliance Analysis Operating Guide |
| Protocol Section Requiring Revision | 6.5.5.2, Operational Data Requirements |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guide with NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis, requires Combined Cycle Generation Resources to telemeter individual High Sustainable Limits (HSLs) for gas and steam turbines. The HSLs for combustion and steam turbines were previously submitted in zonal and ERCOT requests this practice be resumed in the nodal. |
| Reason for Revision | Removes the requirement for the submission of limits due to the additional telemetry which will be provided by Combined Cycle Generation Resources via NPRR527. |

| Business Case |  |
| --- | --- |
| 1 | - Alignment of Protocols. |

| Sponsor |  |
| --- | --- |
| Name | Brandon McElfresh |
| E-mail Address | bmcelfresh@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6514 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

Proposed Guide Language Revision

- 2.2.8	Performance/Disturbance/Compliance Analysis

(1)	Performance/Disturbance/Compliance analysis shall be performed by ERCOT for the purpose of ensuring conformance with the Protocols.  All Resources, except nuclear-powered Resources and WGRs, must respond to frequency disturbances with a Governor droop of 5% or less unless limited by a High Sustained Limit (HSL).

(2)	ERCOT shall make a regular report on selected system disturbances, documenting the response of individual QSEs, together with a summary.  In addition, Resource Entities, QSEs, and individual members of the Performance Disturbance Compliance Working Group (PDCWG) are encouraged to work within their respective companies to enhance the performance of individual Generation Resource control systems through application of the results of the PDCWG studies.

(3)	To ensure compliance and improved performance, the Texas Reliability Entity (Texas RE) shall communicate with the Market Participants that are not meeting the current performance requirements.