BLACK START WORKING GROUP MEETING

March 11, 2013

TAYLOR, TEXAS

The Black Start Working Group (BSWG) met on March 11, 2013.  The following were the main topics of discussion:

Antitrust Admonition:

The Antitrust Admonition was delivered.

ROS Update:

No new action items.  BSWG will continue to report status of topics concerning system restoration to ROS.

Approval of Meeting Minutes for February 11, 2013:

BSWG members approved the minutes.

NERC EOP-005-2 R6 Discussion:

- The small group presented Transmission Operator “intended function” for the Black Start Plan to the BSWG.

- Kelly Blackmer provided feedback and the BSWG recommended changes.

- All changes were included and the BSWG adopted the Transmission Operator intended function.

- BSWG recommends consulting Stephen Solis with ERCOT regarding high frequency limit (62Hz?).

- Group discussion continued regarding the use of the ERCOT Black Start Training Simulator to meet EOP-005-2, R6:

  - Can data be captured from the simulator to provide evidence to Transmission Operators?

  - Screen shots?  Simulator logs?

  - Data captured from Black Start Training Special Session?

- Kelly can print logs of simulation, same logs for everyone.

- Transmission Operators would need to keep their simulator log sheets to compare with simulator logs.

- Log data may not always provide voltage/frequency.

- Kelly posed the question - does the hurricane drill allow you to fully exercise your plan?

- Kelly reiterated that training should be separate from compliance verification.

- Liz Jones suggested that ERCOT develop a requirement for all market participants to participate in a market wide verification.

- Kelly will archive available simulator logs and capture data from the Special Session.

- Kelly will send sample log to the BSWG.

- Seek ROS approval for “Transmission Operator - Intended Function” as it relates to EOP-005-2, R6.

Black Start Template Proposed Changes - CenterPoint Energy

- Add Transmission Operator intended function to the Scope template section.  The intended function defines the scope of the Black Start Plan.

- The group discussed whether or not to include non-contracted generation resources in our plans.  Will NERC require generation resources referenced in our plans to be critical assets even if not contracted with ERCOT?  Kelly recommended leaving the decision to start-up non-contracted generation resources to ERCOT, not as part of our plans.  Kelly recommends building our Black Start Plans using only ERCOT contracted Black Start Resources.

- Item pending.  Please review the proposed template changes.  The proposed changes are available here.  Send comments to Kevin Tanzi, kevin.tanzi@centerpointenergy.com.

ERCOT Items:

- None.

Other Items:

- None.

Next BSWG Meeting:  April 8, 2013