BSWG - EOP-005-2, R6

Intended Function Definition

- The intended function for each ERCOT Transmission Operator restoration plan is to, as applicable

    - Prepare transmission to allow Black Start Resource(s) to come online;

    - Energize the Cranking Path(s), as available, to the next start Resource(s);

    - Provide offsite power to additional generation and/or provide stabilizing load to control voltages and frequency within acceptable operating limits;

    - Energize the Synchronization Corridor(s) to the synchronization points between Islands, as available;

    - Coordinate with ERCOT on synchronizing Islands at the synchronization points; and

    - Continue to follow ERCOT Reliability Coordinator directives as the restoration continues.