3.10.7.2.1	Reporting of Distributed Generation and Demand Response

(1)	For each Non-Modeled Generation Resource Registered with ERCOT, ERCOT shall post the Name, registered MW, Load Zone in which the MW are located, and metered MWh of production on a Settlement Interval basis on the MIS Certified Area. This information shall be published 60 days after the applicable Operating Day.

The information being requested is currently available to the Market, though it requires a market participant to access both the Public Reference Data Extracts and the 60-day SCED Disclosures postings to obtain the information.

If the desire of this language is to have a single report with the information, this is a new requirement.

If the existing reports meet the needs of the market, the information is currently available and Market Participants could be processing and evaluating this information today.

(2)	For Demand Response, ERCOT shall post on the MIS Public Area by the 10th Business Day prior to the start of a calendar month, the MW of Demand Response that is participating in an ERCOT Service or Pilot Project by Load Zone.  On an annual basis, ERCOT shall work with Market Participants to produce a report summarizing Demand Response programs, and MW enrolled in Demand Response in the region. This report shall be published no later than March 31st of each calendar year.

As we understand this language it would require ERCOT to make a projection of what Load Resources will be participating in the A/S market for the upcoming month.  Can this NPRR provide the criteria for ERCOT to make this projection? Should it be based on the previous 30 days of actual participation?

Reporting ERS by the 10th Business Day prior to the start of the a calendar month will be a problem for the first month in a Standard Contract Term because the procurement for a new Standard Contract Term occurs in the last two weeks before the start of a new Standard Contract Term. At the very least ERCOT recommends changing the language to “by the 5th Business Day…” Also since ERS loads can participate by aggregating loads ERCOT will be providing an “estimate” of the MW of Demand Response by Load Zone. If an estimate is not satisfactory then this NPRR will need to describe how to report ERS Resources that are made up of aggregations that may span more than one Load Zone. Since Section 3.14.3.4 already exist that states the reporting requirements for ERS is it possible to make 3.10.7.2.1 reporting for DR other than ERS and move any additional ERS reporting to 3.14.3.4? And finally in 3.10.7.2.1 reporting is by Load Zone and in 3.14.3.4 the reporting requirement is by Weather Zone. Can both of these be consistent and changed to Load Zone?

3)	For Distributed Generation, ERCOT shall post on the MIS Secure Area, ERCOT’s estimated MW of Distributed Generation by Load Zone.  This report shall be updated twice annually, by March 31st and September 30th. As part of this posting, ERCOT shall post the aggregate MWh of production by Load Zone by month for DG settled through ERCOT, that occurred for the six months ending 180 days prior to the posting date.

If this request is for an aggregate of all distributed generation, this is a new requirement and asks for information ERCOT does not currently have available.

- The language requires ERCOT to post an estimated MW of Distributed Generation by Load Zone.

  - The Protocol definition for Distributed Generation (DG) is “An electrical generating facility located at a Customer’s point of delivery (point of common coupling) ten megawatts (MW) or less and connected at a voltage less than or equal to 60 kilovolts (kV) which may be connected in parallel operation to the utility system.”

- ERCOT has information for distributed generation that is registered with ERCOT as a Non-Modeled Generation Resource (included ERS DG)

  - ERCOT does not track distributed generation in the data aggregation system by the distributed generation designation

  - ERCOT tracks DG that has registered for settlements as a Non-Modeled  Generation Resource

- ERCOT has and currently posts information for non-registered distributed generation that is below the DG registration threshold and greater than 50kW

  - TDSP’s report information to ERCOT to support this public posting

  - The un-registered distributed generation report is required by the Protocols section 16.5(5) and detailed in the COPS Market Guides.  The posting can be located at the following link:

    - http://www.ercot.com/mktinfo/data_agg/

    - Non-Registered DG Installed Capacity and Current DG Registration Threshold Quarterly Report 
This report shows the total unregistered installed capacity of DG greater than 50 kW and below the current DG registration threshold as required by protocol 16.5(5).

- ERCOT does not have information on DG not reported in the two bullets above

If the goal of this language is to have information available for Non-Modeled Generation Resources being settled as generation or negative Load, then the information is currently available to the Market through:

- the Public Reference Data Extracts for individual units

  - aggregate information would require some data mining on the part of the Market participant

- the Non-Registered DG installed capacity and current DG registration threshold quarterly report

  - historical information is currently available for all of 2012

  - new postings are added quarterly

Summary of DG reporting:

Information being requested in the NPRR for Non-modeled Generation Resources registered with ERCOT is currently available in the:

- Public Reference Data Extracts, and

  - non-modeled indicator

  - resource name

  - load zone

  - registered MW capacity

- 60-day SCED Disclosures

  - 15 minute interval data MWH production data, where data confidentiality has expired

Information for non-registered distributed generation that is below the DG registration threshold and greater than 50kW is currently available in the public posting for this information.

Section 3.10.7.2.1(3) in the proposed NPRR introduces a new requirement and ERCOT does not have the relevant information to post information in compliance with the proposed language.

ERCOT currently posts information for Non-Modeled Generation Resources and non-registered Distributed Generation; and the information is available for market consumption and evaluation.