## Avg Loss Factors
| Actual |  |  |  | Forecast
SAVERECORDER | yr | mean | min | max |  | mean | min | max
Transmission | 2011 | 0.01832 | 0.012847 | 0.02581 |  | 0.01826 | 0.012634 | 0.02521
| 2012 | 0.01639 | 0.013201 | 0.02194 |  | 0.01633 | 0.013118 | 0.02138
Sharyland_A | 2011 | 0.02212 | 0.020508 | 0.02745 |  | 0.02216 | 0.020508 | 0.02815
| 2012 | 0.02254 | 0.020508 | 0.02813 |  | 0.02261 | 0.020508 | 0.0285
Neueces_A | 2011 | 0.04161 | 0.026336 | 0.06298 |  | 0.04187 | 0.026591 | 0.06523
| 2012 | 0.04399 | 0.027393 | 0.06518 |  | 0.04428 | 0.027552 | 0.06633
Neueces_B | 2011 | 0.06581 | 0.041656 | 0.0996 |  | 0.06622 | 0.042059 | 0.10315
| 2012 | 0.06957 | 0.043326 | 0.10307 |  | 0.07003 | 0.043578 | 0.1049
Centerpoint_D | 2011 | 0.03765 | 0.036395 | 0.0426 |  | 0.03764 | 0.036395 | 0.04347
| 2012 | 0.03774 | 0.036593 | 0.0425 |  | 0.03779 | 0.036593 | 0.04292
Centerpoint_E | 2011 | 0.01315 | 0.009567 | 0.02123 |  | 0.01305 | 0.009435 | 0.02088
| 2012 | 0.013 | 0.009864 | 0.0208 |  | 0.01295 | 0.0098 | 0.02062
Oncor_A | 2011 | 0.03881 | 0.037617 | 0.04504 |  | 0.03878 | 0.037617 | 0.04459
| 2012 | 0.03872 | 0.037617 | 0.04337 |  | 0.03876 | 0.037617 | 0.04359
Oncor_B | 2011 | 0.01465 | 0.011179 | 0.02302 |  | 0.01456 | 0.011074 | 0.02265
| 2012 | 0.01393 | 0.011077 | 0.02161 |  | 0.01388 | 0.01103 | 0.02142
TNMP_A | 2011 | 0.10338 | 0.05455 | 0.16944 |  | 0.1042 | 0.055427 | 0.17631
| 2012 | 0.11083 | 0.058152 | 0.17616 |  | 0.11172 | 0.058689 | 0.17969
TNMP_B | 2011 | 0.0541 | 0.029725 | 0.08757 |  | 0.05451 | 0.030149 | 0.09107
| 2012 | 0.05785 | 0.031473 | 0.09099 |  | 0.0583 | 0.031734 | 0.09279
TNMP_C | 2011 | 0.10338 | 0.05455 | 0.16944 |  | 0.1042 | 0.055427 | 0.17631
| 2012 | 0.11083 | 0.058152 | 0.17616 |  | 0.11172 | 0.058689 | 0.17969
TNMP_D | 2011 | 0.0541 | 0.029725 | 0.08757 |  | 0.05451 | 0.030149 | 0.09107
| 2012 | 0.05785 | 0.031473 | 0.09099 |  | 0.0583 | 0.031734 | 0.09279
TNMP_E | 2011 | 0.10338 | 0.05455 | 0.16944 |  | 0.1042 | 0.055427 | 0.17631
| 2012 | 0.11083 | 0.058152 | 0.17616 |  | 0.11172 | 0.058689 | 0.17969
AEP_Central_A | 2011 | 0.06683 | 0.064626 | 0.07543 |  | 0.06681 | 0.064626 | 0.07694
| 2012 | 0.06701 | 0.064626 | 0.07691 |  | 0.06711 | 0.064626 | 0.07771
AEP_Central_B | 2011 | 0.03413 | 0.031123 | 0.04687 |  | 0.03401 | 0.031123 | 0.04624
| 2012 | 0.03323 | 0.031123 | 0.04447 |  | 0.03319 | 0.031123 | 0.04415
AEP_North_A | 2011 | 0.07341 | 0.069936 | 0.08726 |  | 0.07347 | 0.069936 | 0.08929
| 2012 | 0.07423 | 0.069936 | 0.08924 |  | 0.07441 | 0.069936 | 0.0903
AEP_North_B | 2011 | 0.03151 | 0.027809 | 0.04114 |  | 0.0316 | 0.027809 | 0.04231
| 2012 | 0.03238 | 0.027809 | 0.04228 |  | 0.03251 | 0.027809 | 0.04289

## Site Distributions
ERS-10 and -30 Procurement Summary
Participating Sites
| ERS-10 | ERS-30 | Total
Sites | 740 | 315 | 1055
MW Awarded | 441 | 59 | 500
| Zip codes |  |  |  | Loss codes
| Competitive | NOIE |  |  | Competitive
Total Zipcodes in ERS | 411 | 48 |  | Secondary | 844
Zipcodes w/ 1 Site | 197 | 19 |  | Primary | 124
Zipcodes w/ 5 or fewer Sites | 376 | 29 |  | Transmission | 35
Zipcodes w/ 6 or more Sites | 35 | 0 |  | Total | 1003
Largest Zipcode has 16 sites
17 TDSPs including 12 NOIEs
Substations
Competitive
Total Substations in ERS | 449
Substations w/ 1 Site | 200
Substations w/ 5 or fewer Sites | 424
Substations w/ 6 or more Sites | 25
Largest Substation has 14 sites