## Slide 1: QMWG Update to WMS
S. Looney
April 12, 2013

## Slide 2: NPRR’s and Assignments
NPRR491, Updated Distributed Generation and Demand Response Information for ERCOT
  Submitter is working with ERCOT to identify existing reports to use in lieu of Protocol Revision.
  No action required until additional comments are filed.
NPRR515, Day-Ahead Market Self-Commitment of Generation Resources
  No QSEs actively supported the NPRR.
  Project cost estimate is $260k - $285k.
  Recommendation: Approve language changes in Section 4.5.1 (true-up), reject language changes in Section 4.4.9.1 at this time.
  Consider changes in Section 4.4.9.1 in the future if another project is proposed affecting the DAM clearing engine.

## Slide 3: NPRR’s and Assignments
NPRR524, Resource Limits in Providing Ancillary Service and NPRR527, Required Combined Cycle Telemetry
  Provision of RRS from additional capacity supplied by Power Augmentation (PA) technologies
  Agreement that this additional capacity is needed in the market
  Compromise position:
    Telemeter the HSL which includes the PA capacity
    Determine the maximum quantity of RRS from 24% of HSL without PA
    Telemeter quantity of RRS supplied from PA capacity
    Requirement to telemeter HSL of each turbine in a combined cycle resource configuration is not needed
    HASL is HSL (including PA capacity) minus AS
  NPRR submitters will file comments reflecting this concept

## Slide 4: NPRR’s and Assignments
SCR773, Addition of Regulation Feedback to Generation to be Dispatched Calculation
  Discussed the following data needed from ERCOT monthly to measure the effectiveness of the SCR:
    MWH of regulation deployed per hour each month
    Percentage of 15 minute clock intervals when both URS and DRS are deployed by hour each month to support concept of SCE crossing zero every 15 minutes
  Requested ERCOT to provide this data to QMWG and PDCWG

## Slide 5: General Update
ERCOT’s compilation of QSE questions regarding Generation Resource reactive testing is posted on the meeting webpage: http://www.ercot.com/calendar/2013/04/20130403-QMWG
ERCOT’s answers to reactive testing FAQs posted
QMWG discussed FAQs
May require NPRR or NOGRR for clarification
  Will look closely at appropriate Protocol or Operating Guide sections next meeting
  ERCOT Workshop in June, date is TBD

## Slide 6: General Update
Deferred discussion of Guide to the Interconnection Process v1.2 for next meeting April 22, 2013