## Slide 1: Generation Adequacy Task Force Update to WMS
April 12, 2013

## Slide 2: Update on Recent GATF Activities
GATF Meetings Held on March 22nd and April 5th, 2013:
  Both meetings focused on an overview of the 2012 LOLP study results. Also discussed GATF deliverables and dates.
  The completed LOLP study report and a supporting document containing the LOLP’s Assumptions and Methodology can be found at the GATF meeting page of March 22, 2013.
  GATF (non-voting body) came to a consensus agreement on several items and began a deep dive of the CDR inputs at its April 5th meeting.
Commission workshop on CDR inputs held on March 14, 2013

## Slide 3: GATF and Market Participant Deliverables
The following schedule was provided to the ERCOT Board of Directors by the ERCOT CEO at their March 19, 2013 Board meeting:
Loss of Load Probability Study
  Study results will inform setting the Target Reserve Margin, to be discussed at:
    GATF on Jan 17
    WMS on Feb 13 and Mar 13
    PUCT on Mar 14
    GATF on Mar 22
    ROS on Apr 11
    WMS on Apr 12
    TAC on May 2
    Board of Directors on May 14

## Slide 4: GATF Discussion of Schedule
Based on the preceding Board schedule, the GATF reviewed the following deliverables and associated timelines.
  Due to timing issues, the May 2013 CDR will use the existing methodology and CDR inputs approved in NPRR489, Planning Reserve Margin (13.75% target reserve margin, 8.7% ELCC of wind).
  The GATF will have a new target reserve margin and ELCC of wind recommendation ready by the April WMS meeting (done).
  WMS will vote on the recommendation and have it ready for the May TAC meeting. (TBD today)
  TAC will vote and send a recommendation to the Board’s May meeting.
  A draft NPRR with any suggested modifications to the CDR inputs will be ready for WMS in May.

## Slide 5: GATF Consensus Recommendation #1
At the April 5th meeting, the GATF developed the following recommendation:
  “The GATF reviewed the 2012 LOLP study results in detail at its March 22nd and April 5th, 2013 meeting. The GATF members reached a consensus opinion that the LOLP study results are reasonable. GATF recommends using the LOLP results for the 2014 study year, resulting in a 16.1% planning reserve margin and an ELCC of non-coastal Texas wind of 14.2% and coastal wind of 32.9%. GATF also points out the recommendation is not based on any type of economic analyses, but rather on the loss-of-load probability methodology that has been used historically. This recommendation is not intended to establish the value of any resource type in any future market structure.”

## Slide 6: GATF Consensus Recommendation #2
The GATF suggests the “green curve” from ERCOT’s earlier presentation, which shows a loss-of-load expectation ignoring the effects of 2011, be excluded from further consideration.

## Slide 7: Commission Workshop
On March 14th, the Commission conducted a workshop in Project 41060, Proceeding to Examine the Inputs Included in the ERCOT Capacity, Demand and Reserves Report.
An overview of the current CDR input assumptions was provided.
No changes were recommended, but Comm. Anderson hinted he may file a memo concerning the CDR prior to the next open meeting.

## Slide 8: CDR Inputs Being Reviewed
CDR assumptions discussed so far by GATF; to be continued at next meeting - not yet consensus items:
  Escalate ERS based on previous 3 years average growth instead of escalating 10% per year.
  Hydro Unit Capacity – The average hydro unit capacity available, as determined from the COP, during the highest 20 peak load hours for each preceding 3 year period
  Solar Unit Capacity – 100% of the nameplate capacity for operational solar units until a threshold value of 200 MWs of installed solar capacity is reached.
  DC tie Capacity – language similar to hydro information, i.e., the average capacity available from the DC ties during the highest 20 peak load hours for each preceding 3 year period.
  Mothball capacity – still discussing, but may change to 100% of a unit’s capacity if return probability is greater than or equal to 50%; show zero capacity if probability is less than 50%.
  New units: maintain existing SGIA and TCEQ air permit requirement, but add a new requirement to have a federal Greenhouse Gas permit before including in the CDR. If a new unit developer has met all of these requirements, language should also be added that allows ERCOT to remove a unit from the CDR if they have received documentation from the developer the new unit will not be proceeding with construction.

## Slide 9: Summary – Next Steps?
All market participants should understand the May 2013 CDR will utilize the existing reserve margin of 13.75% and ELCC of wind of 8.7%.
To have a recommendation on the planning reserve margin to the Board by May, WMS will need to have a recommendation to TAC voted on today.
GATF recommended a 16.1% planning reserve margin and an ELCC of non-coastal Texas wind of 14.2% and coastal wind of 32.9%.
  WMS vote?

## Slide 10: Summary – Next Steps?
WMS recommendation on the 2nd GATF consensus item? “…the “green curve” be excluded from further consideration.”

## Slide 11: Summary – Next Steps?
ELCC is tied to the LOLE Results

## Slide 12: Questions/Comments???