| NPRR Number |  | NPRR Title | Amend Wholesale Storage Load Definition |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) |  | Normal |  |
| Nodal Protocol Section(s) Requiring Revision (Include Section No. and Title) |  | 2.1, Definitions |  |
| Market Guide Section Requiring Revision (If applicable) |  | None. |  |
| Revision Description |  | This NPRR adds thermal energy storage associated with turbine inlet chilling to the list of technologies eligible for Wholesale Storage Load (WSL) settlement treatment. |  |
| Reason for Revision |  | Only the specific energy storage technologies listed in the WSL definition are eligible to receive WSL settlement treatment. In order for thermal energy storage associated with turbine inlet chilling to receive WSL settlement treatment, it must be added to the list. |  |
| Credit Implications (Yes or No, and summary of impact) |  |  |  |

Business Case

| Business Case | 1 | Describe qualitative benefits - Affords an energy storage technology the settlement treatment for which it is eligible under PUCT Rule and ERCOT Protocol. - Provides additional clarity regarding WSL treatment eligibility. |
| --- | --- | --- |

| Sponsor |  |
| --- | --- |
| Name | Mark Bruce on behalf of Emerging Technologies Working Group |
| E-mail Address | mark.bruce@stratusenergy.com |
| Company | Stratus Energy Group |
| Phone Number |  |
| Cell Number | 512-810-1516 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Protocol Language Revision

2.1 	DEFINITIONS

- Load

...

Wholesale Storage Load (WSL)

Energy that is separately metered from all other Facilities to charge a technology that is capable of storing energy and releasing that energy at a later time to generate electric energy.  WSL includes losses for the energy conversion process that are captured by the WSL EPS Meter.  WSL is limited to the following technologies: batteries, flywheels, compressed air energy storage, pumped hydro-electric power, electro chemical capacitors, and thermal energy storage associated with turbine inlet chilling.