## Slide 1: NPRR514, Seasonal Generation Resource
Wholesale Market Subcommittee
April 12, 2013
Amanda Frazier

## Slide 2: Existing Process for Suspension of Operation
  Resource Entity must notify ERCOT in writing no less than 90 days prior to suspending operation for a period of greater than 180 days [3.14.1.1]
  Mothballed Generation Resource is removed from the ERCOT model [3.14.1.9(2)]
  ERCOT shall make an initial determination within 24 days of whether the Resource is required to support ERCOT transmission system reliability [3.14.1.2(3)]
  Within 60 days after receiving the Part 1 Notification, ERCOT shall make a final assessment of whether the Generation Resource is required to support ERCOT system reliability [3.14.1.2(5)]
  ERCOT to issue Market Notices related to notifications, initial and final determinations [3.14.1.2(1), (3)(d) and (5)]

## Slide 3: Existing Process for Return to Service
  Resource Entity must notify ERCOT by April 1 and October 1 every year the estimated lead time required for each Mothballed Resource to be returned to service and probability of return to service for the next ten years [3.14.1.9(1)]
  For modeling purposes, ERCOT and TSPs shall rely on most recent submittal of Section 22, Attachment E and Section 22, Attachment H [3.14.1.9]
  A Resource Entity with a Mothballed Generation Resource that has been in mothballed status for 90 days or more shall notify ERCOT in writing no less than 30 days prior to the date on which the Resource Entity intends to return a Mothballed Generation Resource to service by completing a Notification of Change of Resource Designation, Section 22, Attachment H [3.14.1.9(3)]

## Slide 4: Existing Process for Planned Outage
  Resource Entity provides ERCOT a Planned Outage Schedule, and for resources other than reliability Resources, ERCOT must accept requests submitted to ERCOT more than 45 days before the proposed start date of the outage [3.1.6(1)]
  Resource may return from outage at any time, with as little as 2 hours notice to ERCOT [3.1.6.11]
  No market notice of Resource’s start of or return from Planned Outage status

## Slide 5: NPRR514 Process for Seasonal Generation Operation
  Resource Entity notifies ERCOT 90 days prior to initial change to Seasonal Operation status [3.14.1.1(1)] through completion of a Notification of Suspension of Operations, Parts I and II with a new designation available in Part II, suspend operation on a year-round basis and begin operation on a seasonal basis with a starting date and ending date specified (same as current process for Notification of Suspension of Operations).
  A Generation Resource requesting seasonal operation must be available June 1 through September 30.
  New Section 3.14.1.2.1, ERCOT Evaluation of Seasonal Mothball Status says:
    Within 30 days after receiving the Notification of Suspension of Operations ERCOT shall make an assessment of whether the Resource is required to support ERCOT system reliability during the portion of the year the Resource would be unavailable.
    Within 60 days after receiving the Notification of Suspension of Operations ERCOT shall make a final assessment of whether the Resource is required to support ERCOT system reliability during the portion of the year the Resource would be unavailable.

## Slide 6: NPRR514 Process for Seasonal Generation Operation (cont.)
  A Mothballed Generation Resource operating under a Seasonal Operation Period shall:
    Remain modeled in ERCOT systems at all times and when it is not available shall be shown on outage in the Outage Scheduler
    Not need to annually notify ERCOT of such status
    Notify ERCOT in writing at least 15 days prior if the date of initial annual operation is prior to June 1
    Notify ERCOT in writing at least 15 days prior if the date it intends to suspend operation is later than September 30
    Notify ERCOT in writing at least 15 days prior to the date it intends to return the Generation Resource to year-round operation
    Notify ERCOT in writing at least 90 days prior to the date it intends to be suspended indefinitely
  ERCOT may request a Generation Resource operating under a Seasonal Operation Period be available earlier than June 1 or later than September 30 and must issue a Notice as soon as practicable.

## Slide 7: NPRR514 Process for Seasonal Generation Operation (cont.)
  ERCOT may evaluate, on an annual basis, Generation Resources operating under a Seasonal Operation Period for RMR Service during the portion of the year that the Resource is unavailable.
  The existing requirement for ERCOT to issue a Market Notice prior to entering RMR Agreement negotiations with the Generation Resource will continue to apply [3.14.1.2(5)].
  ERCOT retains its authority to “prevent an anticipated Emergency Condition relating to serving Load in the current or next Season by procuring existing capacity that may be used to maintain ERCOT System reliability in a manner not otherwise delineated in these Protocols and the Operating Guides,” [6.5.1.1(2)], and must follow the process outlined.

## Slide 8: Benefits of NPRR514
  Eliminates the necessity of using the existing cumbersome process of “mothballing” and “un-mothballing” Generation Resources that want to operate on a seasonal basis.
  Provides greater transparency of a Generation Resource’s operational plans to the whole market.
  Reduces time and resources necessary for both ERCOT and the Generation Resource owner to allow seasonal operation.
  Provides ERCOT with additional flexibility to bring a Generation Resource back prior to June 1 or keep it available past September 30 if needed to provide adequate system reliability.

## Slide 9: Seasonal Operation Timeline (Example)
Resource decides to operate seasonally and submits a Notification of Suspension of Operations form to ERCOT
90 days notice to ERCOT
Oct. 1
On Jan. 1, Resource is unavailable to market
Jan. 1
Resource
unavailable to Market
Within 30 days, ERCOT makes its initial determination
Within 60 days, ERCOT makes its final determination
If ERCOT approves seasonal operation, the unit is NOT removed from the ERCOT models during the mothballed period.
ERCOT may ask the Resource at anytime during the seasonal operation period to stay in the market after Sept. 30 for reliability purposes, Market Notice of ERCOT request
ERCOT may ask the Resource at anytime during the mothballed period to come back earlier than June 1 for reliability purposes, Market Notice of negotiations
Sept. 30
Resource exits the market
With 15 day notice, Resource may return to the market earlier than June 1, notice posted on MIS
Resource available to the market
June 1
Resource returns to the market
With 15 day notice, Resource may return to the market later than September 30 or have the Resource return to the market year round, notice posted on MIS
ERCOT may evaluate, on an annual basis, Generation Resources operating under a Seasonal Operation Period for RMR Service during the portion of the year that the Resource is unavailable. Regular RMR notification requirements apply
Resource available to the market
Resource
unavailable
Resource
unavailable to Market
Sept. 30
June 1
Year 0 |  |  | Year 1 |  |  |  |  |  |  |  |  |  |  |  | Year 2 |  |  |  |  |  |  |  |  |  |  | 
O | N | D | J | F | M | A | M | J | J | A | S | O | N | D | J | F | M | A | M | J | J | A | S | O | N | D
Operational |  |  | Mothball |  |  |  |  | Seasonal |  |  |  | Mothball |  |  |  |  |  |  |  | Seasonal |  |  |  | Mothball |  | 

## Slide 10: Seasonal Operation Timeline Resource Entity and Market Notifications
90 days notice to ERCOT
Resource
unavailable to Market
Resource available to the market
Resource
unavailable to Market
Resource available to the market
Resource
unavailable
If a Resource intends to return to service later than September 30, the Resource shall notify ERCOT in writing by September 15. ERCOT posts notification on MIS Secure site as soon as practicable.
Resource not required to notify
ERCOT annually of seasonal
Operation.
Resource must notify ERCOT at least 15 days
prior to the date it intends to return
to year-round operation. ERCOT posts
notification on the MIS Secure site
as soon as practicable.
Resource must notify ERCOT at least
90 days prior to the date on which it intends
to suspend operation indefinitely.
ERCOT to post on MIS Secure Site.
Section 3.14.1.2 applies.
ERCOT may request
a Resource operating under
Seasonal Operation to
be available earlier
than June 1 or later
than September 30. Market
Notice of any negotiation and
ERCOT shall post
notification on the MIS Secure
site if Resource is returning.
Upon receipt of
Notification of
Suspension of
Operations indicating
Seasonal Operation,
ERCOT shall
Post notification on
MIS Secure site.
Section 3.14.1.2 applies.