| Potential Benefits | Potential Impacts |
| --- | --- |
| - Consistent base cases will be used to assess the voltage stability needs and potential mitigation plans - Having future low load and multiple wind scenario cases will provide adequate time for TSPs to plan and implement projects to meet system needs. - Over time it will produce a more reliable transmission grid. - Minimal TSP impact since only one load profile is required for both cases; however, two reactive device profiles are needed. - Provides a SSWG generated case that can be used as a consistent, cross-working group starting point for DWG to perform dynamic stability analysis in a high-wind dispatch scenario. | - SSWG needs to build seven DSB cases instead of six cases - ERCOT needs to provide high wind & low wind generation dispatches - Reduces (by 1) the number of DSB cases currently being updated during the TPIT case update windows. |