| NPRR Number | 541 | NPRR Title | SPS and RAP Modeling Clarification |
| --- | --- | --- | --- |
| Date Posted |  | April 29, 2013 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Section Requiring Revision |  | 3.10.7.4, Definition of Special Protection Systems and Remedial Action Plans |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies that ERCOT models all new Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) and all changes to SPSs and RAPs via the Network Operations Model Change Request (NOMCR) process. |  |
| Reason for Revision |  | To provide clarity regarding actions ERCOT will take upon approval of SPSs or RAPs. |  |
| Credit Implications |  | No. |  |

Business Case

| 1 | This NPRR provides clarity to the Protocols regarding ERCOT’s responsibilities related to SPSs and RAPs. |
| --- | --- |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6531 |
| Cell Number | 512-565-9117 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

Comments

Please note that NPRR529, Congestion Management Plan, also proposes revisions to Section 3.10.7.4.

Proposed Protocol Language Revision

3.10.7.4	Definition of Special Protection Systems and Remedial Action Plans

(1)	All Special Protection Systems (SPSs) and Remedial Action Plans (RAPs) used by ERCOT and facility owners to maintain a secure system must be defined in the Network Operations Model.

(2)	Proposed new SPSs and RAPs and proposed changes to SPSs and RAPs must be submitted to ERCOT for review and approval. Affected facility owners shall approve proposed new SPSs and RAPs and proposed changes to SPSs and RAPs in accordance with the process outlined in the Operating Guides.  ERCOT shall post all SPSs and RAPs under consideration on the MIS Secure Area within five Business Days of receipt.

(3)	Once a new or changed SPS or RAP is approved by ERCOT and by all directly affected facility owners the facility owner shall ensure that equipment impacted by an SPS or RAP is modeled correctly.

(4)	ERCOT shall model approved SPSs and RAPs using a NOMCR and include them in the security analysis.  The NOMCR must include a detailed description of the system conditions required to implement the SPS or RAP.  Execution of an SPS or RAP must be included or assumed in the calculation of LMPs as well as the Network Operations Model.  ERCOT shall post on the MIS Secure Area all approved SPSs and RAPs at least two Business Days before implementation, identifying the date of implementation.