| NOGRR Number | 107 | NOGRR Title | Disturbance Monitoring Requirements Clarification |
| --- | --- | --- | --- |
| Date |  | April 23, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Harry Holloway on behalf of the Reliability and Operations Subcommittee (ROS) |  |
| E-mail Address |  | harry.holloway@gdfsuezna.com |  |
| Company |  | GDF Suez Energy Marketing NA |  |
| Phone Number |  | (713) 636-1410 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ROS submits these comments in response to the March 7, 2013 TAC request for ROS to provide information regarding whether the revisions proposed by Nodal Operating Guide Revision Request (NOGRR) 107 would have retrospective application and require existing stations to retrofit with disturbance monitoring equipment.

At its April 11, 2013 meeting, ROS unanimously voted to endorse the 4/4/13 System Protection Working Group (SPWG) comments.  All Market Segments were present for the vote.

Revised Proposed Protocol Language

None.