| NPRR Number | 529 | NPRR Title | Congestion Management Plan |
| --- | --- | --- | --- |
| Date |  | April 30, 2013 |  |
| Submitter’s Information |  |  |  |
| Name |  | Michael Juricek |  |
| E-mail Address |  | michael.juricek@oncor.com |  |
| Company |  | Oncor Electric Delivery |  |
| Phone Number |  | 214.743.6671 |  |
| Cell Number |  | 214.490.0748 |  |
| Market Segment |  | Investor Owned Utility |  |

Comments

Oncor appreciates the opportunity to provide comments and participate in a workshop on this important topic.  Oncor will submit comments on the language in the NPRR after the workshop.

The term Congestion Management Plan (CMP) is a misnomer in that these plans are used for both congestion management and management of post-contingency system reliability situations that do not involve congestion.  Oncor recommends the name be changed to capture to full extent of these plans.  CMP could be changed to Contingency Management Plan (CMP), or another name such as Contingency Response Plan (CRP) could be developed.

These plans are used to manage both overloads and unacceptable voltage.  The NPRR should be revised to include management of unacceptable voltage.

In Section 3.1.6.5, Evaluation of Proposed Resource Outage, paragraph (1)(b) discusses other types of plans.  What are these other acceptable plans?

Why are Mitigation Plans not defined in the Network Operations Model and used by NSA?  Will other acceptable Plans (3.1.6.5 (1)(b)) be defined in the Network Operations Model and be used by NSA?

In Section 6.5.7.1.10 (3), why is the use of shunt and series capacitors, shunt and series reactors, phase shifting transformers, SVCs and other controllable devices not included in the list actions ERCOT can use to relieve a violation?

Revised Cover Page Language

Oncor will submit comments on the language in the NPRR after the workshop.

Revised Proposed Protocol Language

Oncor will submit comments on the language in the NPRR after the workshop.