## Slide 1: Wholesale Market Subcommittee Update
May 2nd, 2013 Technical Advisory Committee

## Slide 2: Business Practice Manual Change
Notice of WMS approval of high system-wide offer cap changes
  June 1, 2013, $5,000/MWh
  June 1, 2014, $7,000/MWh
  June 1, 2015, $9,000/MWh

## Slide 3: Verifiable Costs Manual Change Control Process
WMS endorsed NPRR 516 Change to Verifiable Cost Manual Revision Process and Section 12 of the Verifiable Cost Manual
  Extends the ERCOT Protocol change control process to Verifiable Cost Manual revisions

## Slide 4: Resource Adequacy Task Force Update
WMS endorsed the following RATF objectives:
  Provide a central discussion forum to help inform stakeholders on market design principles, issues and proposals as discussed under PUCT Project 40000 and monitor and track their progress
  Perform tasks and evaluations as requested by the PUCT or the ERCOT Board of Directors and as directed in writing by TAC as related to resource adequacy

## Slide 5: Voting Items Reserve Margin Target and wind generation ELCC
Competitive Constraint Test

## Slide 6: Planning Reserve Margin and Effective Load Carrying Capability of Wind
The WMS recommended a target reserve margin of 16.1% and an Effective Load Carrying Capability of 32.9% for Coastal wind generation and 14.2% for Non-Coastal wind generation.
Changes would start with the Winter 2013 CDR

## Slide 7: WMS Recommendation
-WMS recommendation 16.1% for target reserve margin-

## Slide 8: Interaction of ELCC and LOLE

## Slide 9: WMS recommendation for threshold values for Competitive Constraint Test
Threshold | Definition | Value
SFP1 | Minimum shift factor threshold for determining which Managed Capacity to include in the ECI calculation | 2%
ECIT1 | Maximum competitive threshold for ECI on the import side of a constraint for the Long-Term CCT process | 2000
SFP2 | Minimum shift factor threshold for a constraint to be eligible to be a Competitive Constraint as part of the Long-term CCT Process | 2%
ECIT2 | Maximum competitive threshold for ECI on the import side of a constraint for the SCED CCT process | 2000
SFP3 | Minimum shift factor threshold for a constraint to be eligible to be a Competitive Constraint as part of the SCED CCT Process | 2%
DMEECP | Threshold for the ECI Effective Capacity for an Entity or its Affiliates to determine if their Managed Capacity is eligible to be mitigated as part of SCED Step 2 | 10%
SFP4 | Minimum shift factor threshold below which a Resource will not have mitigation applied in SCED Step 2 | 2%