APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, February 14, 2013 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| Armke, James | Austin Energy |  |
| DeTullio, David | Air Liquide |  |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Garrett, Mark | Direct Energy |  |
| Green, Bob | Garland Power and Light |  |
| Hatfield, Bill | LCRA |  |
| Helyer, Scott | Tenaska Power Services |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Jones, Randy | Calpine |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marsh, Tony | MAMO Enterprises |  |
| Moore, John | South Texas Electric Cooperative |  |
| Nashawati, Eithar | Oncor | Alt. Rep. for K. Donohoo (afternoon) |
| Reed, Cyrus | Sierra Club |  |
| Rocha, Paul | CenterPoint Energy |  |
| Ryno, Randy | Brazos Electric Cooperative |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Wagner, Marguerite | Edison Mission |  |
| Williams, Blake | CPS Energy |  |

Guests:

| Bern, Alan | Oncor |  |
| --- | --- | --- |
| Bevill, Jennifer | AEP | Via Teleconference |
| Byuiyan, Frank | LCRA |  |
| Blackburn, Don | Luminant | Via Teleconference |
| Bruce, Mark | Stratus Energy Group |  |
| Burke, Tom | ACES |  |
| Collins, Bob | Texas Reliability Entity | Via Teleconference |
| DeWitt, Charles | LCRA | Via Teleconference |
| Durrwachter, Henry | Luminant | Via Teleconference |
| Ee, Danny | Austin Energy |  |
| Evans, Doug | STEC | Via Teleconference |
| Ebrahimian, Reza | Austin Energy |  |
| Garza, Sergio | LCRA |  |
| Gomes, Matt | Lone Star Transmission | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Hassink, Paul | AEPSC |  |
| Hastings, David | DHastCo |  |
| Henry, Jack | Siemens Industry |  |
| Henry, Mark | Texas Reliability Entity |  |
| John, Ebby | CenterPoint Energy | Via Teleconference |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Kolodziej, Eddie | Customized Energy Solutions |  |
| Kremling, Barry | GVEC |  |
| Kroskey, Tony | Brazos Electric |  |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Mattei, Andrew | Brazos Electric | Via Teleconference |
| Moore, John A. | Stratus Energy |  |
| Myers, Brad | AEP |  |
| Penney, David | Texas Reliability Entity |  |
| Preas, Dylan | LCRA |  |
| Reid, Walter | Wind Coalition |  |
| Schwarz, Brad | Hunt |  |
| Sills, Kevin | Oncor | Via Teleconference |
| Stephenson, Randa | Lone Star Transmission |  |
| Turner, David | Lone Star Transmission |  |
| Vo, Trieu | CPS Energy | Via Teleconference |
| Warren, John | LCRA |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Garcia, Freddy |  | Via Teleconference |
| Landin, Yvette |  |  |
| Potluri, Tejaswi |  | Via Teleconference |
| Stout, Matt |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Villanueva, Leo |  |  |
| Wise, Joan |  | Via Teleconference |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

2013 ROS Chair Harry Holloway called the February 14, 2013 ROS meeting to order at 9:32 a.m.

Antitrust Admonition

Mr. Holloway directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the Agenda.

Draft January 10, 2013 ROS Meeting Minutes

Brittney Albracht noted typographical corrections to the draft January 10, 2013 ROS meeting minutes.

Randy Ryno moved to approve the January 10, 2013 ROS meeting minutes as amended by ROS.  Scott Helyer seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update (see Key Documents)

Emerging Technologies Working Group (ETWG) Update re Review Alternatives to Definition of Wholesale Storage Load Created by NPRR461

Mark Bruce reviewed recent activities of the ETWG and presented the ETWG recommendations regarding the Wholesale Storage Load (WSL) definition.  Mr. R. Jones expressed support for the ETWG recommendation and reiterated concerns that an inclusive technology list in the WLS definition, rather than a definition based on criteria, would present an undue hurdle for new market entrants.  Market Participants discussed the Wholesale Market Subcommittee (WMS) action regarding the ETWG recommendation.

Cyrus Reed moved to endorse the WMS  recommendation that the WSL definition remain in the Protocols and that it retain the eligible technologies clarity requested by ERCOT, and to request that ETWG proceed with redefining WSL-eligible technologies by criteria, with a list for illustrative purposes.  Randy Jones seconded the motion.  The motion carried unanimously.

Mr. Holloway noted that ROS would appreciate an update when ETWG drafts the WSL definition.

Confirmation of  2013 WG/TF Leadership

Mr. R. Jones moved to endorse the 2013 Working Group and Task Force Leadership as posted.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents)

Brad Myers reviewed recent SSWG activities and proposed revisions to the SSWG Procedure Manual.

Revised SSWG Procedure Manual

Paul Rocha moved to approve the revised SSWG Procedure Manual as posted.  Mr. Kunkel seconded the motion.  The motion carried with three abstentions from the Independent Generator Market Segment.

Black Start Working Group (BSWG) (see Key Documents)

Dylan Preas reviewed recent BSWG activities.  Market Participants discussed that North American Electric Reliability Corporation (NERC) Standard EOP-005-2 – System Restoration from Blackstart Resources becomes enforceable in July 2013.

Critical Infrastructure Protection Working Group (CIPWG)

There was no CIPWG update.

Dynamics Working Group (DWG) (see Key Documents)

There were no questions regarding the posted DWG report.

Network Data Support Working Group (NDSWG) (see Key Documents)

Tony Kroskey reported on recent NDSWG activities.

NERC Reliability Working Group (NRWG) (see Key Documents)

Matt Stout reviewed recent NRWG activities and presented proposed revisions to the NRWG Scope.

Revised NRWG Scope

Mr. R. Jones moved to approve the revised NRWG Scope as presented.  Mr. Ryno seconded the motion.  The motion carried unanimously.

Operations Working Group (OWG) (see Key Documents)

John Warren reviewed recent OWG activities and presented Revision Requests for ROS consideration.

Nodal Operating Guide Revision Request (NOGRR) 107, Disturbance Monitoring Requirements Clarification

Market Participants discussed that NOGRR107 does not impose new requirements on Facilities, but rather clarifies existing requirements, and discussed additional language clarifications.

Mr. Rocha moved to recommend approval of NOGRR107 as recommended by OWG in the 1/28/13 OWG Report and as revised by ROS.  Ken Donohoo seconded the motion.  The motion carried unanimously.

NOGRR108, QSE and TSP Hotline Responsibilities

Market Participants discussed that touchtone keypads on Hotline phones are required in order to provide numeric responses to ERCOT inquiries and instructions.  Some Market Participants expressed reservations for retroactive requirements and costs.

Mr. Ryno moved to recommend approval of NOGRR108 as recommended by OWG in the 1/28/13 OWG Report.  Mr. Rocha seconded the motion.  The motion carried with three abstentions from the Independent Generator Market Segment.

Operations and Planning Synchronization Task Force (OPSTF) (see Key Documents)

James Armke presented OPSTF recommendations for ROS consideration.

Best Practices – Issue 2

Market Participants discussed the differences between Generic Transmission Limits (GTLs) and equipment ratings.  Marguerite Wagner questioned what defined a “market based limit” and suggested that additional discussion be taken up at the PLWG.  Mr. R. Jones expressed concern for a very conservative planning future in addition to a conservative approach to congestion. Market Participants discussed whether any eventual recommendation would need to reside in an Other Binding Document, or study scope, or a guide; Blake Williams suggested that any recommendation reside in the ROS minutes.

Mr. Williams moved to recommend that ERCOT include GTL limits in its planning congestions studies, and that Issue 2 be now closed for OPSTF.  Mr. Kunkel seconded the motion.  Mr. Williams and Mr. Kunkel accepted Ms. Wagner’s amendment that when GTLs are included in studies, they are called out individually and made clear as to which limit is applied.  The motion carried with three abstentions from the Independent Generator Market Segment.

Best Practices – Issue 5(b)

Mr. Donohoo suggested that the word “may” be substituted for the word “should” in the recommended best practice.

Mr. Rocha moved to recommend to transmission planners that for small local areas and load pockets transmission planners may model the undiversified load level as a reasonable load variation. For regional or weather zone load variations, planners should model a reasonable high load forecast, such as a 90th percentile load forecast.  Mr. Ryno seconded the motion.  The motion carried with two abstentions from the Independent Generator Market Segment.

Best Practices - Issue 9

Mr. Rocha moved to endorse the OPSTF-recommended best practice wherein transmission planners should use input from operators and planning software such as the new N-1-1 Power System Simulator for Engineering (PSS/E) scanning feature to indentify difficult planned Outages that require study before Outage requests are submitted.  Mr. Donohoo seconded the motion.  The motion carried unanimously.

Action Items – Issue 6

Mr. Kunkel moved to direct OWG to modify the Operating Guide language to better reflect actual practice.  Mr. Rocha seconded the motion.  The motion carried with three abstentions from the Independent Generator Market Segments.

Action Items – Issue 12(a)

Mr. Rocha moved to direct DWG to look into the issue described in Issue 12(a) with respect to operations and planning and make recommendations to ROS.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Action Items – Issue 12(c)

Mr. Rocha moved to direct the SSWG to clarify the need to consider transformer losses when modeling loads on the high side of the transformer of 60kV or above, which should result in clarifying Section 4.2, Load Data, of the SSWG Procedural Manual.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

ERCOT 5-Year Plan Process Changes – Issue 3(a)

Mr. Rocha moved to direct the PLWG to create a PGRR that establishes a December 31 deadline for the 5-year Regional Transmission Plan.  Mr. Ryno seconded the motion.  The motion carried with one abstention from the Investor Owned Utility (IOU) Market Segment.

ERCOT 5-Year Plan Process Changes – Issue 3(b)

ROS took no action on Issue 3(b).

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

David Kee reported on recent PDCWG activities, reviewed recent Disturbance Control Standards (DCS) events, and presented voting items for ROS consideration.

Revised PDCWG Scope

Mr. R. Jones moved to approve the revised PDCWG Scope as posted.  Rick Keetch seconded the motion.  The motion carried unanimously.

System Change Request (SCR) 773, Addition of Regulation Feedback to Generation to be Dispatched Calculation

Ms. Wagner moved to endorse SCR773 as submitted.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

NPRR486, Calculation of Generation to be Dispatched

Mr. R. Jones moved to recommend that the Protocol Revision Subcommittee (PRS) continue to table NPRR486.  Ms. Wagner seconded the motion.  The motion carried unanimously.

Planning Working Group (PLWG) (see Key Documents)

Planning Guide Revision Request (PGRR) 025, Addition of Criteria for Autotransformer Unavailability

Sergio Garza presented the PLWG recommendation on PGRR025 and reviewed potential impacts associated with PGRR025.  Market Participants discussed the potential for minimizing planned Load shed, reduced transmission congestion, increased flexibility to utilize Generation Resource capacity, and increased Transmission Cost of Service (TCOS) charges should PGRR025 be implemented.   It was noted that ERCOT’s 2017 power flow case analysis showed 69 instances where the unavailability of an autotransformer resulted in a system deficiency during 2017 summer peak, although the analysis did not factor in known spare autotransformers.  Market Participants expressed concern regarding the uncertainty of the overall cost to implement PGRR025.

Mr. Rocha moved to recommend approval of PGRR025 as recommended by PLWG in the 1/23/13 PLWG Report.  Mr. Kunkel seconded the motion.  ERCOT Staff noted that the impacts associated with the changes to the planning criteria are difficult to quantify, but expressed support for PGRR025 from the perspective of reliability and societal benefit.  The motion carried with three objections from the Independent Generator Market Segment, and two abstentions from the Independent Retail Electric Provider (IREP) Market Segment.

Data Change Process Task Force (DCPTF) (see Key Documents)

DCPTF Scope

Brenda Hampton presented proposed  modifications to the DCPTF Scope document to remove “RARF” from the task force name.  Market Participants discussed clarifications to the document.

Mr. R. Jones moved to approve the DCPTF Scope as revised by ROS.  Mr. Helyer seconded the motion.  The motion carried unanimously.

System Protection Working Group (SPWG)

Kris Koellner reported on recent SPWG activities.

Special Protection System (SPS) Type 2 Task Force (SPS2TF)

Mr. R. Jones reported on recent SPS2TF activities.

Voltage Reduction Task Force Scope (VRTF)

Eithar Nashawati presented proposed revisions to the VRTF Scope.

Mr. Rocha moved to approve the revised VRTF Scope as posted.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

ERCOT Updates (see Key Documents)

2013 Ancillary Services Methodology

Mr. R. Jones moved to reaffirm the 2012 Ancillary Services Methodology for 2013 and to endorse the ERCOT-recommended administrative revisions to the related document.  Mr. Ryno seconded the motion.  The motion carried unanimously.

January 2013 System Planning Report

January 2013 Operations Report

ERCOT Staff presented the January 2013 System Planning and Operations Reports.

Other Business

Walter Reid expressed support for ROS’ continued focus on transmission planning issues as well as the recent return to full reporting by working groups and task forces at each ROS meeting, rather than by exception or a questions-only basis.  In both instances, Mr. Reid offered that ROS is the best forum for thorough vetting of the issues.

Market Participants discussed the possibility of cancelling the March 2013 ROS meeting due to interest in topics posted for the March 14, 2013 Public Utility Commission of Texas (PUCT) Open Meeting.

Adjournment

Mr. Holloway adjourned the February 14, 2013 ROS meeting at 2:30 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2013/02/20130214-ROS