| NPRR Number | 544 | NPRR Title | Energy Offer Curve Requirements for Generation Resources Assigned Non-Spin Responsibility |
| --- | --- | --- | --- |
| Date Posted |  | May 14, 2013 |  |
| Requested Resolution |  | Urgent. Currently the ERCOT market is a binary market, whereas, the Resource stack becomes scarce, energy prices do not steadily increase in relation to increased reliability risk. Rather, they remain relatively low due to competitive forces, right up to the point of market exhaustion, and then rise sharply to the cap. Cushioning the binary nature of the market will facilitate trading in the ERCOT markets, better supports passive Demand response, and can dampen price reversals that can be caused by emergency Load curtailment. |  |
| Nodal Protocol Section Requiring Revision |  | 6.4.3.2, Energy Offer Curve for Non-Spinning Reserve Capacity |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds a requirement for the Energy Offer Curve to be offered above a linear curve that starts at $120 and ends at $3,000. If the Ancillary Service Resource Responsibility for Non-Spinning Reserve (Non-Spin) is reassigned to a Generation Resource during the Adjustment Period in accordance with Section 6.4.6, QSE-Requested Decommitment of Resources and Changes to Ancillary Service Resource Responsibility of Resources, the Qualified Scheduling Entity (QSE) shall submit an Energy Offer Curve that meets the requirements of Section 6.4.3.2 for the Generation Resource’s newly assigned Ancillary Service Resource Responsibility for Non-Spin prior to the end of the Adjustment Period. If the Ancillary Service Resource Responsibility for Non-Spin is reassigned in accordance with Section 6.4.6 from a Generation Resource that experiences a Forced Outage, Derate, or Startup Loading Failure during the Operating Period, the QSE shall submit an Energy Offer Curve that meets the requirements of Section 6.4.3.2 as soon as reasonably practicable after the event. QSE updates to an Energy Offer Curve entered at the end of the Adjustment Period become effective in ERCOT systems at the next Operating Period. Therefore, if Non-Spin is moved from one Generation Resource to another in the QSE's portfolio during an Operating Hour, any change to the Energy Offer Curve will be effective in the next Operating Period. There will not be any validation rules to verify the requirements added by this NPRR. The onus is on all QSEs to make the submission/telemetry changes needed to implement these new requirements. |  |
| Reason for Revision |  | Currently when the Resource stack becomes scarce, energy prices do not steadily increase in relation to increased reliability risk. Rather, they remain relatively low due to competitive forces, right up to the point of market exhaustion, and then rise sharply to the cap. Cushioning the binary nature of the market will facilitate trading in the ERCOT markets, better supports passive Demand response, and can dampen price reversals that can be caused by emergency Load curtailment. |  |
| Credit Implications |  | Yes, there could be a slight increase for some participants whereas the Locational Marginal Prices (LMPs) for Non-Spin would be on a slope rather than a floor. Therefore, the last MWs of Non-Spin used would likely be priced higher than with today’s floors. |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Provides a slope rather than a flat floor that will allow a more gradual rise in pricing during scarcity conditions, thus providing additional stability in the ERCOT market. |

| Sponsor |  |
| --- | --- |
| Name | Robert Helton |
| E-mail Address | Robert.helton@gdfsuezna.com |
| Company | GDF Suez NA |
| Phone Number | 713-636-1814 |
| Cell Number | 832-435-7815 |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

Comments

Please note that NPRR538, Clarification of the Non-Spin Energy Offer Curve Requirements for QSGRs, also proposes revisions to Section 6.4.3.2.

Proposed Protocol Language Revision

- 6.4.3.2	Energy Offer Curve for Non-Spinning Reserve Capacity

The following applies to Generation Resources that a QSE assigns Non-Spinning Reserve (Non-Spin) Ancillary Service Resource Responsibility in its Current Operating Plan (COP) to meet the QSE’s Ancillary Service Supply Responsibility for Non-Spin and includes both On-Line and Off-Line Non-Spin assignments arising as the result of Day-Ahead Market (DAM) or Supplemental Ancillary Services Market (SASM) Ancillary Service awards, or Self-Arranged Ancillary Service Quantity.

(a)	Prior to the end of the Adjustment Period for an Operating Hour during which a Generation Resource is assigned Non-Spin Ancillary Service Resource Responsibility, the QSE shall ensure that a valid Output Schedule or Energy Offer Curve for the Operating Hour has been submitted and accepted by ERCOT.  The Energy Offer Curves submitted by the QSE for these Generation Resources must be offered along a linear curve above the following requirements:

(i)	The first MWh of energy from this capacity may not be offered at less than $120 per MWh; and

(ii)	The last MWh of energy from this capacity may not be offered at less than $3,000 per MWh.

(b)	Paragraph (a) above shall not restrict the ability of the QSE to update the Energy Offer Curves for its Generation Resources in accordance with these Protocols provided that in those Operating Hours in which a Generation Resource is assigned Non-Spin Ancillary Service Resource Responsibility, the portion of the Energy Offer Curve reserved for this Ancillary Service meets those requirements.

(c)	If, in accordance with an ERCOT Dispatch Instruction or in accordance with Section 6.4.6, QSE-Requested Decommitment of Resources and Changes to Ancillary Service Resource Responsibility of Resources, the QSE moves Non-Spin Ancillary Service Resource Responsibility from a Generation Resource that experiences a Forced Outage, Derate or Startup Loading Failure during the Operating Period described in paragraph (a) above, the QSE shall ensure that a valid Output Schedule or Energy Offer Curve that meets the requirements of this Section has been submitted as soon as reasonably practicable after the event.

(d)	For the portion of the Non-Spin Ancillary Service Resource Responsibility provided from power augmentation participating as Off-Line, the criteria described in paragraph (a) above applies.

(e) 	To ensure that the Energy Offer Curves submitted in accordance with this section meets the requirement for a monotonically increasing Energy Offer Curve, the energy offer for capacity reserved for Responsive Reserve (RRS) and Regulation Up (Reg-Up) must also be offered by the QSE at no less than the minimums set forth in paragraph (a) above.