| NPRR Number | 515 | NPRR Title | Day-Ahead Market Self-Commitment of Generation Resources |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | May 16, 2013 |  |  |
| Proposed Effective Date |  | Upon system implementation for Section 4.4.9.1; August 1, 2013 for Section 4.5.1. |  |  |
| Priority and Rank Assigned |  | Priority – 2015; Rank – 1200 |  |  |
| Nodal Protocol Sections Requiring Revision |  | 4.4.9.1, Three-Part Supply Offers 4.5.1, DAM Clearing Process |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds a Day-Ahead Market (DAM) mechanism for self-committing Generation Resources on an hourly basis; and makes a minor clarification to the description of the timing of the Simultaneous Feasibility Test (SFT) process. |  |  |
| Reason for Revision |  | There currently exists a mechanism for Generation Resources to self-commit and allow the DAM to optimize their energy and Ancillary Service offers. The effect of the self-commitment is to nullify the temporal constraints as well as the requirement to award a block at Low Sustained Limit (LSL). However, the implementation of this is such that it is restricted to a daily decision (self-committed or not for the entire set of hours for that day). Implementation of this NPRR would essentially create an hour-by-hour self-commitment flag. This self-commitment mechanism is not currently described in Protocols. It was the position of the Transition Plan Task Force (TPTF) prior to the Texas Nodal Market Implementation Date that the existing Protocols were sufficient. However, ERCOT sees value in having this detail described in the Protocols, and submits this NPRR to add it as part of the effort to revamp the current implementation. Similarly, ERCOT clarifies that SFT execution is not necessary “prior to” DAM execution and is captured within the DAM solution and Settlement processes. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR515 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 2/5/13, NPRR515 and an Impact Analysis were posted. - On 2/21/13, PRS considered NPRR515. - On 3/14/13, WMS comments were posted. - On 4/4/13, ERCOT comments were posted. - On 4/15/13, a second set of WMS comments were posted. - On 4/18/13, PRS again considered NPRR515. - On 5/16/13, PRS considered the 4/18/13 PRS Report and Impact Analysis for NPRR515. |  |  |
| PRS Decision |  | On 2/21/13, PRS unanimously voted to table NPRR515 and refer the issue to WMS. All Market Segments were present for the vote. On 4/18/13, PRS unanimously voted to recommend approval of NPRR515 as submitted. All Market Segments were present for the vote. On 5/16/13, PRS voted to endorse and forward the 4/18/13 PRS Report and Impact Analysis for NPRR515 to TAC with a recommended priority of 2015 and rank of 1200, and to request that EROCT suggest reprioritization should it find another suitable project with which NPRR515 could be combined. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/21/13, ERCOT Staff explained that it submitted NPRR515 due to concerns expressed by Market Participants over the current lack of flexibility in the self-commitment process, and that NPRR515 would increase market efficiency but that this benefit would be difficult to quantify. Some participants requested that Market Participants who would benefit from NPRR515 provide examples that help explain the nature and magnitude of such benefit. On 4/18/13, PRS discussed the 4/15/13 WMS comments and the possibility of assigning NPRR515 a low priority and rank. On 5/16/13, PRS discussed the process by which NPRR515 might be reprioritized if ERCOT identifies another project with which NPRR515 could be combined. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Positive impact to the Qualified Scheduling Entities (QSEs) scheduling Generation Resources by providing more flexibility in the DAM commitment solution. |
|  | 2 | May result in more liquidity on the offer side due to the increased flexibility afforded by the hourly self-commitment approach. |
|  | 3 | Reduction in complexity for self-commitment submissions reduces rate of errors or unintended results. |
|  | 4 | Aligns DAM with the same logic used currently for Reliability Unit Commitment (RUC). |

| Sponsor |  |
| --- | --- |
| Name | Carrie Bivens |
| E-mail Address | cbivens@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6678 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 031413 | Requested that PRS continue to table NPRR515 and directed QSE Managers Working Group (QMWG) to make a recommendation to WMS at the April 2013 WMS meeting. |
| ERCOT 040413 | Provided comments to clarify the mechanism proposed NPRR515 in response to stakeholder questions. |
| WMS 041513 | Endorsed NPRR515 as submitted and recommended that implementation of NPRR515 be combined with another similar project(s) to the extent practicable in order to reduce implementation costs. |

Comments

Please note that the baseline Protocol language in Section 4.5.1 has been updated to reflect the incorporation of the following NPRRs into the Protocols:

- NPRR322, Real-Time PTP Option Modeling (unboxed February 14, 2013)

- NPRR492, Addition of System Lambda Information (incorporated April 1, 2013)

Proposed Protocol Language Revision

- 4.4.9.1	Three-Part Supply Offers

(1)	A Three-Part Supply Offer consists of a Startup Offer, a Minimum-Energy Offer, and an Energy Offer Curve.  ERCOT must validate each Startup Offer, Minimum-Energy Offer, and Energy Offer Curve before it can be used in any ERCOT process.

(2)	The DAM uses all three parts of the Three-Part Supply Offer and also uses Energy Offer Curves submitted without a Startup Offer and without a Minimum-Energy Offer.  The RUC only uses the Startup Offer and the Minimum-Energy Offer components for determining RUC commitments, but the Energy Offer Curve may be used in Settlement to claw back some or all of a RUC-committed Resource’s energy payments.  The Energy Offer Curve may also be used by SCED in Real-Time Operations.

(3)	A QSE may submit an Energy Offer Curve without also submitting a Startup Offer and a Minimum-Energy Offer for the DAM and during the Adjustment Period, but only Three-Part Supply Offers are used in the RUC process.  A QSE that submits an Energy Offer Curve without also submitting a Startup Offer and a Minimum-Energy Offer is considered not to be offering the Resource into the RUC, but that does not prevent the Resource from being committed in the RUC process like any other Resource that does not submit an offer in the RUC.

(a)	A QSE that submits an Energy Offer Curve without a Startup Offer and a Minimum-Energy Offer for the DAM for any given hour will be considered by the DAM to be self-committed for that hour, as long as an Ancillary Service Offer for Off-Line Non-Spin Service was not also submitted for that hour.

(b)	A Combined Cycle Generation Resource will be considered by the DAM to be self-committed if:

(i)	Its QSE submits an Energy Offer Curve without a Startup Offer and a Minimum-Energy Offer for the DAM for that Combined Cycle Generation Resource and no other Combined Cycle Generation Resource within the Combined Cycle Train; and

(ii)	Its QSE submits no Ancillary Service Offer for Off-Line Non-Spin for any Combined Cycle Generation Resource within the Combined Cycle Train.

(c)	When the DAM considers a self-committed offer for clearing, the Resource constraints identified in paragraph (4)(c)(ii) of Section 4.5.1, DAM Clearing Process, other than HSL, are ignored.

(4)	For any hours in which the Resource is not RUC-committed, ERCOT shall consider all Three-Part Supply Offers in the RUC process until:

(a) 	The QSE withdraws the offer; or

(b) 	The offer expires by its terms.

- 4.5.1	DAM Clearing Process

(1)	At 1000 in the Day-Ahead, ERCOT shall start the Day-Ahead Market (DAM) clearing process.  If the processing of DAM bids and offers after 0900 is significantly delayed or impacted by a failure of ERCOT software or systems that directly impacts the DAM, ERCOT shall post a Notice as soon as practicable on the Market Information System (MIS) Public Area, in accordance with paragraph (1) of Section 4.1.2, Day-Ahead Process and Timing Deviations, extending the start time of the execution of the DAM clearing process by an amount of time at least as long as the duration of the processing delay plus ten minutes.  In no event shall the extension exceed more than one hour from when the processing delay is resolved.

(2)	ERCOT shall complete a Day-Ahead Simultaneous Feasibility Test (SFT).  This test uses the Day-Ahead Updated Network Model topology and evaluates all Congestion Revenue Rights (CRRs) for feasibility to determine hourly oversold quantities.

(3)	The purpose of the DAM is to economically and simultaneously clear offers and bids described in Section 4.4, Inputs into DAM and Other Trades.

(4)	The DAM uses a multi-hour mixed integer programming algorithm to maximize bid-based revenues minus the offer-based costs over the Operating Day, subject to security and other constraints, and ERCOT Ancillary Service procurement requirements.

- The bid-based revenues include revenues from DAM Energy Bids and Point-to-Point (PTP) Obligation bids.

(b)	The offer-based costs include costs from the Startup Offer, Minimum Energy Offer, and Energy Offer Curve of any Resource that submitted a Three-Part Supply Offer, DAM Energy-Only Offers and Ancillary Service Offers.

(c)	Security constraints specified to prevent DAM solutions that would overload the elements of the ERCOT Transmission Grid include the following:

(i)	Transmission constraints – transfer limits on energy flows through the ERCOT Transmission Grid, e.g., thermal or stability limits.  These limits must be satisfied by the intact network and for certain specified contingencies.

These constraints may represent:

(A)	Thermal constraints – protect Transmission Facilities against thermal overload.

(B)	Generic constraints – protect the ERCOT Transmission Grid against transient instability, dynamic stability or voltage collapse.

(C)	Power flow constraints – the energy balance at required Electrical Buses in the ERCOT Transmission Grid must be maintained.

(ii)	Resource constraints – the physical and security limits on Resources that submit Three-Part Supply Offers:

(A)	Resource output constraints – the Low Sustained Limit (LSL) and High Sustained Limit (HSL) of each Resource; and

(B)	Resource operational constraints – includes minimum run time, minimum down time, and configuration constraints.

(iii)	Other constraints –

(A)	Linked offers – the DAM may not select any one part of that Resource capacity to provide more than one Ancillary Service or to provide both energy and an Ancillary Service in the same Operating Hour.  The DAM may, however, select part of that Resource capacity to provide one Ancillary Service and another part of that capacity to provide a different Ancillary Service or energy in the same Operating Hour, provided that a Generation Resource may not offer, and the DAM may not select, linked Energy and Off-Line Non-Spinning Reserve (Non-Spin) Ancillary Service offers in the same Operating Hour.

(B)	The sum of the awarded Ancillary Service capacities for each Resource must be within the Resource limits specified in the Current Operating Plan (COP) and Section 3.18, Resource Limits in Providing Ancillary Service, and the Resource parameters as described in Section 3.7, Resource Parameters.

(C)	Block Ancillary Service Offers for a Load Resource – blocks will not be cleared unless the entire quantity block can be awarded.

(D)	Block PTP Obligation bids – blocks will not be cleared unless the entire time block can be awarded.

(E)	Combined Cycle Generation Resources – The DAM may commit a Combined Cycle Generation Resource in a time period that includes the last hour of the Operating Day only if that Combined Cycle Generation Resource can transition to a shutdown condition in the DAM Operating Day.

(d)	Ancillary Service needs for each Ancillary Service include the needs specified in the Ancillary Service Plan that are not part of the Self-Arranged Ancillary Service Quantity and that must be met from available DAM Ancillary Service Offers while co-optimizing with DAM Energy Offers.  ERCOT may not buy more of one Ancillary Service in place of the quantity of a different service.  See Section 4.5.2, Ancillary Service Insufficiency, for what happens if insufficient Ancillary Service Offers are received in the DAM.

(5)	ERCOT shall determine the appropriate Load distributions to allocate offers, bids, and source and sink of CRRs at a Load Zone across the Electrical Buses that are modeled with Load in that Load Zone.  The default distribution is the State Estimator hourly distribution for the seven days before the Operating Day.  If ERCOT decides, in its sole discretion, to change this distribution for reasons such as anticipated weather events or holidays, ERCOT shall select a State Estimator distribution from a proxy day reasonably reflecting the anticipated distribution in the Operating Day.  ERCOT may also modify this distribution to account for predicted differences in network topology between the proxy day and Operating Day.  ERCOT shall develop a methodology, subject to Technical Advisory Committee (TAC) approval, to describe the modification of the proxy day bus-load distribution for this purpose.

(6)	ERCOT shall allocate offers, bids, and source and sink of CRRs at a Hub using the distribution factors specified in the definition of that Hub in Section 3.5.2, Hub Definitions.

(7)	A Resource that has a Three-Part Supply Offer cleared in the DAM may be eligible for Make-Whole Payment of the Startup Offer and Minimum Energy Offer submitted by the Qualified Scheduling Entity (QSE) representing the Resource under Section 4.6, DAM Settlement.

(8)	The DAM Settlement is based on hourly MW awards and on Day-Ahead hourly Settlement Point Prices.  All PTP Options settled in the DAM are settled based on the Day-Ahead Settlement Point Prices (DASPPs).  ERCOT shall assign a Locational Marginal Price (LMP) to de-energized Electrical Buses for use in the calculation of the DASPPs by using heuristic rules applied in the following order:

(a)	Use an appropriate LMP predetermined by ERCOT as applicable to a specific Electrical Bus; or if not so specified

(b)	Use the following rules in order:

(i)	Use average LMP for Electrical Buses within the same station having the same voltage level as the de-energized Electrical Bus, if any exist.

(ii)	Use average LMP for all Electrical Buses within the same station, if any exist.

(iii)	Use system lambda.

[NPRR492: Replace item (iii) above with the following upon system implementation:] (iii) Use System Lambda.

(9)	The Day-Ahead Market Clearing Price for Capacity (MCPC) for each hour for each Ancillary Service is the Shadow Price for that Ancillary Service for the hour as determined by the DAM algorithm.

(10)	If the Day-Ahead MCPC cannot be calculated by ERCOT, the Day-Ahead MCPC for the particular Ancillary Service is equal to the Day-Ahead MCPC for that Ancillary Service in the same Settlement Interval of the preceding Operating Day.

(11)	If the DASPPs cannot be calculated by ERCOT, all CRRs shall be settled based on Real-Time prices.  Settlements for all CRRs shall be reflected on the Real-Time Settlement Statement.