- Section 4:

PGRR025 – Addition of Criteria for Autotransformer Unavailability

This Planning Guide Revision Request (PGRR) adds testing and performance requirements to the ERCOT reliability criteria for the unavailability of any 345/138 kV autotransformer.

- Revised Subsection:  4.1.1.2