- Section 2:

NPRR514 – Seasonal Generation Resource

This Nodal Protocol Revision Request (NPRR) creates a new variation of ERCOT’s existing mothball process to allow Resource Entities to operate their Facilities during summer peak Load periods without having to go through the existing mothballing process each year, allows a Resource Entity to designate that its Generation Resource will operate only on a seasonal basis (i.e., at least during the period June 1st to September 30th), describes the process for ERCOT to review the request to operate seasonally, allows ERCOT to request the Generation Resource become available earlier than June 1st or remain available after September 30th if ERCOT determines that the Generation Resource is needed for reliability reasons.

- Revised Subsection:  2.1

- Section 3:

NPRR500 - Posting of Generation that is Off but Available

This NPRR adds to the Short-Term System Adequacy Report a field showing the aggregate Generation Resource capacity that is scheduled in the Current Operating Plan (COP) as “Off” and can be started in time to be available each Operating Hour.

Revised Subsection:  3.2.3 [effective upon system implementation]

NPRR511 - Correction to Emergency Energy Settlement Language

This NPRR clarifies the Settlement of Quick Start Generation Resources (QSGRs) when ERCOT Operations issues a manual override.

- Revised Subsection:  3.8.3

NPRR514 – Seasonal Generation Resource

See Section 2 above.

- Revised Subsections:  3.9.1, 3.14.1.1, 3.14.1.2.1, 3.14.1.9 [partially effective upon system implementation]

NPRR530 - Transfers of Specific NOIEs Within a NOIE Load Zone to a Competitive Load Zone

This NPRR allows a Non-Opt-In Entity (NOIE), who has provided notification of termination of its pre-1999 power supply contract, to move to a Competitive Load Zone in January 2014, removes obsolete references to the Texas Nodal Market Implementation Date, and provides additional clarification regarding NOIE Load Zones in Section 3.4.3.

- Revised Subsections:  3.4.2, 3.4.3

- Section 6:

NPRR495 - Changes to Ancillary Services Capacity Monitor

This NPRR modifies the Ancillary Service Capacity Monitor information provided by ERCOT both through Inter-Control Center Communications Protocol (ICCP) telemetry and the Market Information System (MIS) Public Area.

Revised Subsection:  6.5.7.5 [effective upon system implementation]

NPRR511 - Correction to Emergency Energy Settlement Language

See Section 3 above.

Revised Subsection:  6.6.9

- Section 16:

NPRR510 - Discretion in Operating Days in OUT Calculation, Clarification of Source of ACP and Clarification of the Definition of Financial Statements

This NPRR clarifies discretion for ERCOT to adjust Operating Days used in the calculation of Outstanding Unpaid Transactions (OUT), consistent with certain other components of Estimated Aggregate Liability (EAL), and provides clarification of the appropriate Congestion Revenue Right (CRR) Auction clearing price to be used when there have been multiple auctions for the same period and specifies required financial statements.

Revised Subsections:  16.11.4.3, 16.11.4.5, 16.11.5

NPRR534 - Clarification of QSE Responsibilities to Provide Service in NOIE Territory

This NPRR provides clarity that third party Qualified Scheduling Entities (QSEs) offering services within a NOIE service territory require NOIE authorization.

Revised Subsections:  16.2.3, 16.5.2

- Section 22:

NPRR534 - Clarification of QSE Responsibilities to Provide Service in NOIE Territory

See Section 16 above.

Revised Subsection:  22G

NPRR514 – Seasonal Generation Resource

See Section 2 above.

Revised Subsections:  22E, 22H

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting and correcting Section numbering and references.

Revised Subsections: 7.4.2, 16.5