## Slide 1: Analysis of Wind Data in 2012 LOLEv Study
GATF
April 2013
Notes: <number>

## Slide 2: Background
ERCOT has utilized 15 years (1997 to 2011) of wind data in the 2012 LOLEv Study.
This data was provided by AWS Truepower.
Using methodology approved by GATF, the resulting ELCC values for Coastal and Non-Coastal wind was 32.9% and 14.2%.
April 2013

## Slide 3: Outline
April 2013

## Slide 4: “ELCC” at different probabilities
TRM is calculated by different levels of ELCC for wind
April 2013

## Slide 5: Coastal Wind Capability under Different Exceedance Levels
April 2013

## Slide 6: Non-Coastal Wind Capability under Different Exceedance Levels
April 2013

## Slide 7: Coastal Wind Generation Duration Curve (Jun to Aug On-Peak Hours of 1600 to 1800)
April 2013

## Slide 8: Non-Coastal Wind Generation Duration Curve (Jun to Aug On-Peak Hours of 1600 to 1800)
April 2013

## Slide 9: Actual Data and Modeled Data (2007 to 2012)
Actual to Modeled data is not apples to apples
  Different level of capacity installed
  Provided as information only
April 2013

## Slide 10
QUESTIONS / COMMENTS???
April 2013
Notes: <number>