# The Issue

## The procurement and deployment of reliability services create instances where energy prices do not align with market conditions.

# Implemented Market Design Fixes

## Non-Spin Reserve Service (NSRS) Offer Floors

## Online NSRS Always Available for Security Constrained Economic Dispatch (SCED)

## Responsive Reserve Service (RRS) Offer Floors

## Reliability Unit Commitment (RUC) Offer Floors

## Reliability Must Run (RMR) Unit Offer Floors

## Changing the shape of the Power Balance Penalty Curve

## Changing Local Market Power Mitigation

## 500 MW moved out of NSRS and into RRS

# Outstanding Gaps

## Emergency Response Service

## Loads Acting as A Resource (LaaR)

## Energy Provided as a Unit Ramps to and Maintains its Low Sustainable Limit (LSL)

# Challenges

## Pricing Re-Run Required

## Mismatch between Base Points and Pricing

## Make-Whole

## Allocation

# Options

## Do Nothing

## Minimize Impact with more Granular Deployment and Recall Procedures.

## See the Impacts of NPRR 520

## Loads in SCED

## Rerun SCED and Change the Prices Only

## Rerun SCED, Change Prices, Pay Uplift and Assign Cost on a Load Ration Share

## Rerun SCED, Change Prices, Pay Uplift and Assign Costs on a Different Basis

## Change Ancillary Services Portion of Energy Offer Curve Mitigation

## Administrative Pricing Curve

## B+