| NPRR Number | 491 | NPRR Title | Updated Demand Response Information for ERCOT (formerly “Updated Distributed Generation and Demand Response Information for ERCOT”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | June 6, 2013 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Priority – 2013; Rank - 875 |  |  |
| Nodal Protocol Sections Requiring Revision |  | 1.3.1.1, Items Considered Protected Information 2.1, Definitions 3.10.7.2.1, Reporting of Demand Response (new) 3.14.3.4, Emergency Response Service Reporting and Market Communications |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) proposes to provide ERCOT and the market with needed information on demand response. |  |  |
| Reason for Revision |  | Presently, the market (and possibly ERCOT) has extremely limited information on the MW capability and location of demand response Resources. Given that existing infrastructure, ERCOT situational awareness, Resource commitment and Locational Marginal Prices (LMPs) can be affected by demand response, this is a gap that needs to be addressed through enhanced reporting. Additionally, ERCOT would benefit from more granular information reported through a standard process to use in Load forecasting and commitment algorithms as well as the Report on the Capacity, Demand, and Reserves in the ERCOT Region and other short and long term analyses. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR491 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 10/19/12, NPRR491 was posted. - On 10/31/12, ERCOT comments were posted. - On 11/7/12, TIEC comments were posted. - On 11/15/12, PRS considered NPRR491. - On 2/15/13, WMS comments were posted. - On 2/19/13, Edison Mission comments were posted. - On 4/16/13, a second set of WMS comments were posted. - On 4/17/13, a second set of Edison Mission comments were posted. - On 4/18/13, PRS again considered NPRR491. - On 5/9/13, a second set of ERCOT comments were posted. - On 5/13/13, an Impact Analysis was posted. - On 5/16/13, PRS considered the 4/18/13 PRS Report and Impact Analysis for NPRR491. - On 6/6/13, TAC considered NPRR491. |  |  |
| PRS Decision |  | On 11/15/12, PRS unanimously voted to table NPRR491 and refer the issues to COPS and WMS. All Market Segments were present for the vote. On 4/18/13, PRS voted to recommend approval of NPRR491 as amended by the 4/17/13 Edison Mission comments. There were five abstentions from the Investor Owned Utility (IOU) (2), Consumer, Cooperative, and Independent Retail Electric Provider (IREP) Market Segments. All Market Segments were present for the vote. On 5/16/13, PRS voted to endorse and forward the 4/18/13 PRS Report as amended by the 5/9/13 ERCOT comments and Impact Analysis for NPRR491 to TAC with a recommended priority of 2013 and rank of 875. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 11/15/12, concern was expressed that the intent of NPRR491 is not clear. ERCOT Staff noted that the Demand Side Working Group (DSWG) is gathering information on price-responsive loads, which will help ERCOT identify what information is of value to collect; and that the information ERCOT is requesting through NPRR491 is already required to be furnished to ERCOT upon request pursuant to P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region. It was requested that COPS review what information is reported for Distributed Generation (DG) and Non-Modeled Generators, whether improvements can be made, and the possible double-counting of solar panels; and that WMS provide information regarding the Load Serving Entity (LSE) survey and whether the survey can be improved. On 4/18/13, there was no discussion. On 5/16/13, there was no discussion. |  |  |
| TAC Decision |  | On 6/6/13, TAC unanimously voted to recommend approval of NPRR491 as recommended by PRS in the 5/16/13 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 6/6/13, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports NPRR491 as it provides transparency and improves situational awareness. |  |  |

| Business Case |  |
| --- | --- |
| 1 | - This NPRR would enhance both ERCOT and Market Participant understanding about the penetration and operation of demand response. Additionally it would provide more details on emergency operations. |
| 2 | - This NPRR will provide aggregated information to the market on items above. It potentially could save Market Participants time in trying to estimate and gather this information themselves. Further, the reporting provides ERCOT with a glimpse of the operations of demand response, which could assist it in Load forecasting, and Resource adequacy and longer-term reporting. We would propose that the time it saves to ERCOT and some Market Participants is offset by time required of other segments. (see below) |
| 3 | - This NPRR will require reporting from some Entities. |

| Sponsor |  |
| --- | --- |
| Name | M Wagner |
| E-mail Address | Mwagner@edisonmisison.com |
| Company | Edison Mission Marketing & Trading |
| Phone Number | 617-529-3127 |
| Cell Number |  |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 103112 | Requested clarification on the meaning of the phrase “receives payment through the Energy Settlement process for the provision of energy”; whether the proposed requirements should apply to Non-Modeled Generators behind a Private Use Network; and whether information provided pursuant to NPRR491 should be considered Protected Information; and questioned overall benefit of NPRR491 as written. |
| TIEC 110712 | Expressed similar concerns as those in the 10/31/12 ERCOT comments and noted that efforts are underway to better quantify and account for demand response. |
| WMS 021513 | Requested that PRS continue to table NPRR491. |
| Edison Mission 021913 | Proposed language changes to require ERCOT to post information regarding demand response and DG Resources. |
| WMS 041613 | Requested that PRS continue to table NPRR491. |
| Edison Mission 041713 | Proposed additional revisions to clarify the reporting requirements for DG Resource and demand response data. |
| ERCOT 050913 | Proposed clarifications of reporting requirements and non-substantive revisions. |

Proposed Protocol Language Revision

1.3.1.1	Items Considered Protected Information

Subject to the exclusions set out in Section 1.3.1.2, Items Not Considered Protected Information, and in Section 3.2.5, Publication of Resource and Load Information, “Protected Information” is information containing or revealing any of the following:

(a)	Base Points, as calculated by ERCOT.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(b)	Bids, offers, or pricing information identifiable to a specific Qualified Scheduling Entity (QSE) or Resource.  The Protected Information status of part of this information shall expire 60 days after the applicable Operating Day, as follows:

(i)	Ancillary Service Offers by Operating Hour for each Resource for all Ancillary Services submitted for the Day-Ahead Market (DAM) or any Supplemental Ancillary Services Market (SASM);

(ii)	The quantity of Ancillary Service offered by Operating Hour for each Resource for all Ancillary Service submitted for the DAM or any SASM; and

(iii)	Energy Offer Curve prices and quantities for each Settlement Interval by Resource.  The Protected Information status of this information shall expire within seven days after the applicable Operating Day if required to be posted as part of paragraph (5) of Section 3.2.5 and within two days after the applicable Operating Day if required to be posted as part of paragraph (6) of Section 3.2.5;

(c)	Status of Resources, including Outages, limitations, or scheduled or metered Resource data.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(d)	Current Operating Plans (COPs).  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(e)	Ancillary Service Trades, Energy Trades, and Capacity Trades identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(f)	Ancillary Service Schedules identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(g)	Dispatch Instructions identifiable to a specific QSE or Resource, except for Reliability Unit Commitment (RUC) commitments and decommitments as provided in Section 5.5.3, Communication of RUC Commitments and Decommitments.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(h)	Raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to a specific QSE, Load Serving Entity (LSE), or Customer.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(i)	Wholesale Storage Load (WSL) data identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(j)	Settlement Statements and Invoices identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(k)	Number of Electric Service Identifiers (ESI IDs) identifiable to a specific LSE.  The Protected Information status of this information shall expire 365 days after the applicable Operating Day;

(l)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available.  The Protected Information status of this information shall expire when the generation interconnection agreement is executed or a financial arrangement for transmission construction is completed with a Transmission Service Provider (TSP);

(m)	Resource-specific costs, design and engineering data;

(n)	Congestion Revenue Right (CRR) credit limits, the identity of bidders in a CRR Auction, or other bidding information identifiable to a specific CRR Account Holder.  The Protected Information status of this information shall expire as follows:

(i)	The Protected Information status of the identities of CRR bidders that become CRR Owners and the number and type of CRRs that they each own shall expire at the end of the CRR Auction in which the CRRs were first sold; and

(ii)	The Protected Information status of all other CRR information identified above in item (n) shall expire six months after the end of the year in which the CRR was effective.

(o)	Renewable Energy Credit (REC) account balances.  The Protected Information status of this information shall expire three years after the REC Settlement period ends;

(p)	Credit limits identifiable to a specific QSE;

(q)	Any information that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information that is expressly designated not to be Protected Information by Section 1.3.1.2, Items Not Considered Protected Information, or that, pursuant to Section 1.3.3, Expiration of Confidentiality, is no longer confidential;

(r)	Any information compiled by a Market Participant on a Customer that in the normal course of a Market Participant’s business that makes possible the identification of any individual Customer by matching such information with the Customer’s name, address, account number, type of classification service, historical electricity usage, expected patterns of use, types of facilities used in providing service, individual contract terms and conditions, price, current charges, billing record, or any other information that a Customer has expressly requested not be disclosed (“Proprietary Customer Information”) unless the Customer has authorized the release for public disclosure of that information in a manner approved by the Public Utility Commission of Texas (PUCT).  Information that is redacted or organized in such a way as to make it impossible to identify the Customer to whom the information relates does not constitute Proprietary Customer Information;

(s)	Any software, products of software, or other vendor information that ERCOT is required to keep confidential under its agreements;

(t)	QSE, TSP, and Distribution Service Provider (DSP) backup plans collected by ERCOT under the Protocols or Other Binding Documents;

(u)	Direct Current Tie (DC Tie) information provided to a TSP or DSP under Section 9.17.2, Direct Current Tie Schedule Information;

(v)	Any Texas Standard Electronic Transaction (TX SET) transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph does not apply to ERCOT’s compliance with:

(i)	PUCT Substantive Rules on performance measure reporting;

(ii)	These Protocols or Other Binding Documents; or

(iii)	Any Technical Advisory Committee (TAC)-approved reporting requirements;

(w)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 3.14.1.9, Generation Resource Return to Service Updates;

(x)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity;

(y)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Section 6.5.9.3.1, Operating Condition Notice, Section 6.5.9.3.2, Advisory, and Section 6.5.9.3.3, Watch, and as defined by the Operating Guides;

(z)	Non-public financial information provided by a Counter-Party to ERCOT pursuant to meeting its credit qualification requirements as well as the QSE’s form of credit support;

(aa)	ESI ID, identity of Retail Electric Provider (REP), and MWh consumption associated with transmission-level Customers that wish to have their Load excluded from the Renewable Portfolio Standard (RPS) calculation consistent with Section 14.5.3, End-Use Customers, and subsection (j) of P.U.C. Subst. R. 25.173, Goal for Renewable Energy;

(bb)	Generation Resource emergency operations plans and weatherization plans;

(cc)     Information provided by a Counter-Party under Section 16.16.3, Verification of Risk Management Framework; or

(dd)	Status of Non-Modeled Generators and Distributed Generation, including Outages, limitations, or scheduled or metered Resource data.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day.

2.1	DEFINITIONS

3.10.7.2.1	Reporting of Demand Response

(1)	For Demand Response, ERCOT shall post on the MIS Public Area by the fifth Business Day after the start of a calendar month, the MWs of Demand Response that is participating in Emergency Response Service (ERS), Ancillary Service as a Load Resource, or pilot project permitted by subsection (k) of P.U.C. Subst. R. 25.361, Electric Reliability Council of Texas (ERCOT), by Load Zone.  Data for participation in ERS shall be based on contracted amounts for each type of service for that calendar month and ERCOT will use best efforts to allocate by Load Zone.  ERCOT shall set out separately MWs contracted from both ERS Generators and generators that are participating by offsetting ERS Loads (with aggregated and non-aggregated ERS Generators set forth separately) and MWs of ERS Loads.  To the extent that a participating generator is not registered with ERCOT, information about the nameplate rating of the generator and the maximum deliverable to the ERCOT Transmission Grid or to serve native load shall be collected through the ERS contracting process.  The report shall include these values for each ERS Contract Period broken down by Time Of Use (TOU).  Data for services other than ERS shall be based on the actual procurement (both awards and self-arranged) for the month prior and shall include the average procurement by service type by hour.

(2)	On an annual basis, ERCOT shall work with Market Participants to produce a report summarizing Demand Response programs, and MWs enrolled in Demand Response in the ERCOT Region. This report shall be posted to the MIS Public Area no later than March 31st of each calendar year.

3.14.3.4	Emergency Response Service Reporting and Market Communications

(1)	ERCOT shall review the effectiveness and benefits of ERS every 12 months from the start of the program and report its findings to TAC no later than April 15 of each calendar year.

(2)	Prior to the start of the first ERS Contract Period in an ERS Standard Contract Term, and no later than the end of the third Business Day following the start of any subsequent ERS Contract Period in an ERS Standard Contract Term, ERCOT shall post on the MIS Public Area the number of MWs procured per ERS Time Period, the number and type of ERS Resources selected, and the projected total cost of ERS for that ERS Contract Period.

(3)	ERCOT shall post the following documents to the MIS Certified Area:

(a)	ERS Award Notification;

(b)	ERS Resources Submission Form – Approved;

(c)	ERS Resource Event Performance Evaluation Results;

(d)	ERS Resource Availability Summary for Contract Period;

(e)	ERS Test Portfolio Designation Notification;

(f)	ERS Resource Test Results;

(g)	ERS Pre-populated ERS Resource Identification Forms;

(h)	ERS Resource Group Assignments;

(i)	ERS Resource Submission Form – Error Reports;

(j)	ERS Preliminary Baseline Review Results;

(k)	ERS QSE Portfolio Availability Summary for a Contract Period;

(l)	ERS QSE Portfolio Event Performance Summary for a Contract Period; and

(m)	ERS Meter Data Error Report.

(4)	At least 24 hours before an ERS Contract Period begins, ERCOT shall provide each affected TDSP with:

(a)	A list of ERS Resources and members of aggregated ERS Resources located in the TDSP’s service area that will be participating in ERS during the upcoming ERS Contract Period;

(b)	The name of the QSE representing each ERS Resource;

(c)	All applicable ESI IDs associated with each ERS Resource; and

(d)	The date(s) of the interconnection agreement(s) for each generator in any ERS Generator.

(5)	TDSPs shall maintain the confidentiality of the information provided pursuant to paragraph (4) above.