DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, April 11, 2013 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| Armke, James | Austin Energy |  |
| Bartos, Brian | Bandera Electric Cooperative |  |
| Carpenter, Jeremy | Tenaska Power Services | Alt. Rep. for S. Helyer |
| DeTullio, David | Air Liquide |  |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Garrett, Mark | Direct Energy |  |
| Green, Bob | Garland Power and Light |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| John, Ebby | CenterPoint Energy | Alt. Rep. for P. Rocha |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kroskey, Tony | Brazos Electric Power Cooperative | Alt. Rep. for R. Ryno |
| Kunkel, Dennis | AEP Service Corporation |  |
| Moore, John | South Texas Electric Cooperative |  |
| Reed, Cyrus | Sierra Club |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Wagner, Marguerite | Edison Mission |  |
| Williams, Blake | CPS Energy |  |

Guests:

| Beckman, Dwight | Brazos Electric | Via Teleconference |
| --- | --- | --- |
| Bern, Alan | Oncor |  |
| Bevill, Jennifer | AEP |  |
| Burke, Tom | ACES |  |
| Burks, Spencer | LCRA |  |
| Cruz-Montes, Michael | CenterPoint Energy | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| Ebrahimian, Reza | Austin Energy |  |
| Hampton, Brenda | Luminant |  |
| Henry, Jack | Siemens Industry |  |
| Henry, Mark | Texas Reliability Entity |  |
| Horvath, Julius | WETT |  |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Kolodziej, Eddie | Customized Energy Solutions |  |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Mattei, Andrew | Brazos Electric |  |
| Miller, Jake | EDF Trading | Via Teleconference |
| Mincemoyer, Phillip | Direct Energy | Via Teleconference |
| Moore, John A. | Stratus Energy |  |
| Niemeyer, Sydney | NRG Energy | Via Teleconference |
| Pieniazek, Adrian | NRG Texas |  |
| Preas, Dylan | LCRA |  |
| Reid, Walter | Wind Coalition |  |
| Santos, Juan | Worley Parsons |  |
| Schwarz, Brad | Hunt Power | Via Teleconference |
| Stanfield, Leonard | CPS Energy | Via Teleconference |
| Stephenson, Randa | Lone Star Transmission |  |
| Turner, David | Lone Star Transmission |  |
| Zotter, Laura | Austin Energy | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Azeredo, Christopher |  |  |
| Bezzam, Joseph |  | Via Teleconference |
| Billo, Jeff |  |  |
| Flores, Isabel |  |  |
| Frosch, Colleen |  |  |
| Geer, Ed |  | Via Teleconference |
| Healy, Jeff |  |  |
| Hobbs, Kristi |  | Via Teleconference |
| Landin, Yvette |  |  |
| McIntyre, Ken |  | Via Teleconference |
| Mohanadhas, Thinesh |  |  |
| Mortensen, Tim |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

2013 ROS Chair Harry Holloway called the April 11, 2013 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Holloway directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the Agenda.

Draft February 14, 2013 ROS Meeting Minutes

David DeTullio moved to approve the February 14, 2013 ROS meeting minutes as posted.  Dana Showalter seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update (see Key Documents)

Mr. Holloway conveyed the March 7, 2013 TAC request that ROS comment as to whether Nodal Operating Guide Revision Request (NOGRR) 107, Disturbance Monitoring Requirements Clarification, would have retroactive application, requiring existing stations to retrofit with disturbance monitoring equipment.  Market Participants discussed that the 4/4/13 System Protection Working Group (SPWG) comments stipulate, among other things, that NOGRR107 does not result in additional requirements associated with disturbance monitoring, nor does it place any new requirements on existing Facilities.

NOGRR107, Disturbance Monitoring Requirements Clarification

Mr. DeTullio moved to endorse the 4/4/13 System Protection Working Group (SPWG) comments to NOGRR107.  Ken Donohoo seconded the motion.  The motion carried unanimously.

System Protection Working Group (SPWG) (see Key Documents)

There were no questions regarding the posted SPWG report.

Steady State Working Group (SSWG) (see Key Documents)

There were no questions regarding the posted SSWG report.

ERCOT Updates (see Key Documents)

February 2013 System Planning Report March 2013 System Planning Report ERCOT Staff presented the February and March 2013 System Planning Reports. Market Participants discussed that, given ongoing Resource adequacy issues, language clarifications may be needed for the Planning Guide Criteria to timely address stranded MWs and ensuring units are eligible for the study process sooner. Mr. Donohoo asked if there is a list of Mothballed units trying to re-enter service that would be constrained. Mr. Holloway requested that ERCOT Staff follow-up with the information at the May 9, 2013 ROS meeting. It was noted that defining the problem and gathering the relevant data may take longer than one month. ERCOT Staff noted that they have contracted with Siemens PTI to complete the missing and questionable data for the remaining Resource Asset Registration Forms (RARF) that are still incomplete. During the course of this project, Siemens will work closely with ERCOT to contact Resource Entities and Transmission Service Providers to find the best source of data for the incomplete RARFs. Once the best source of data is found, that data will be provided to the resource owner for inclusion and submission of their RARF to ERCOT. Some Market Participants expressed concern that they would be required to submit additional data despite having a completed RARF, and requested that ERCOT inform stakeholders in advance of future efforts regarding the RARF. Other Market Participants noted that the considerable past efforts regarding RARF data have not been in vain, but that it is now discovered that some of the data is not solving, and that the Siemens PTI engagement is merely a next-step in the RARF process and another request for assistance in gathering good data.

February 2013 Operations Report March 2013 Operations Report ERCOT Staff presented the February and March 2013 Operations Reports.

Black Start Working Group (BSWG) (see Key Documents)

Dylan Preas reviewed recent BSWG activities and noted that discussions continue regarding the definition of “intended function.”

Definition – “Intended Function” re NERC-005-2 R6

ROS took no action on this item.

Critical Infrastructure Protection Working Group (CIPWG)

There was no CIPWG update.

Dynamics Working Group (DWG) (see Key Documents)

Reza Ebrahimian reviewed recent DWG activities.  Market Participants discussed the DWG recommendation regarding the current method of modeling conventional generation voltage regulation points in the Real Time Contingency Analysis (RTCA), SSWG and DWG cases.

Network Data Support Working Group (NDSWG) (see Key Documents)

Market Participants debated whether one or both the State Estimator Standards and Telemetry Standards Other Binding Documents should be approved by ROS or TAC; whether consideration or approval should be given to the standards annually; and whether bodies other than ROS or TAC, such as the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG), should give review to the State Estimator Standards.

Nodal Protocol Revision Request (NPRR) 517, Revisions to the Telemetry Standards and State Estimator Standards Approval Process (Vote)

Marguerite Wagner moved to recommend approval of NPRR517 as revised by ROS.  Clayton Greer seconded the motion.  The motion carried with objection from the Municipal Market Segment, and one abstention from the Municipal Market Segment.

Other Binding Document – State Estimator Standards

Cyrus Reed moved to approve the State Estimate Standards as revised by ROS.  Bob Green seconded the motion.  The motion carried with one objection from the Municipal Market Segment.

Other Binding Document – Telemetry Standards

Ms. Wagner moved to approve the Telemetry Standards as revised by ROS.  Mr. Donohoo seconded the motion.  The motion carried with one objection from the Municipal Market Segment and two abstentions from the Independent Power Marketer (IPM) and Investor Owned Utility (IOU) Market Segments.

NERC Reliability Working Group (NRWG)

There was no NRWG update.

Operations and Planning Synchronization Task Force (OPSTF) (see Key Documents)

James Armke presented the OSPTF recommendations for ROS consideration.

Recommendation re Facility Loading Levels

Dennis Kunkel moved to endorse the OPSTF recommendations:

OPSTF recommends that the Planning Working Group (PLWG) revise the ERCOT Planning Criteria to require that performance requirements for pre-contingency or single contingency facility loading levels for transmission circuits be within 95 percent of the applicable facility rating.  OPSTF also recommends that PLWG consider whether the 95 percent limit should be applied consistently to all studies, or if there is justification that some studies (such as G-1 or A-1 studies) should be exempted from the proposed 95 percent limit and monitored at the present criteria of 100 percent of the limit.

OPSTF further recommends that the PLWG develop an implementation schedule that allows sufficient time for establishing Transmission Service Provider (TSP) and ERCOT process(es), conducting assessments, developing plans, and implementing solutions.  The Planning Guide Revision Request (PGRR) should take into account the fact that certain facilities (such as generation export lines or radial load-serving lines) may be planned to be normally loaded above 95 percent and that this change is not intended to cause those facilities to be upgraded.

Blake Williams seconded the motion.  The motion carried with one objection from the Independent Generator Market Segment, and three abstentions from the Independent Generator (2) and IPM Market Segments.

Operations Working Group (OWG) (see Key Documents)

There were no questions regarding the posted OWG report.

NPRR528, Clarification of Assessment of Chronic Congestion

NPRR529, Congestion Management Plan

Ms. Wagner opined that the Nodal Protocols already have a mechanism to address chronic congestion in the Shadow Price Cap; questioned what is not working in the current process that NPRR528 and NPRR529 seek to remedy; and expressed concern that NPRR528 and NPRR529 present commercial rather than reliability questions.

Mr. Kunkel moved to recommend PRS table NPRR528 and NPRR529 to allow time for OWG to review the items and provide comment at the May 9 or June 13, 2013 ROS meetings.  Tony Kroskey seconded the motion.  The motion carried unanimously.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

David Kee reviewed recent PDCWG activities and conveyed the PDCWG recommendation regarding system oscillations.  Randy Jones noted that the PDCWG recommendation had not been noticed for a vote, but agreed with the recommendation.  Mr. Holloway opined that, given the size of the recommended effort, his directive would be insufficient.

Ms. Wagner moved to waive notice in order for ROS to consider the PDCWG recommendation regarding system oscillations.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

Mr. R. Jones moved that ERCOT lead the effort to evaluate the need for phasor measurement unit data and system study, provide analysis to determine root causes of system oscillations, and report findings to ROS.  Ms. Wagner seconded the motion.  The motion carried unanimously.

NPRR524, Resource Limits in Providing Ancillary Service

Mr. Holloway moved to recommend that PRS table NPRR524 for one month.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

NPRR527, Required Combined Cycle Telemetry for Operational Awareness and PDCWG Analysis

Mark Garrett moved to recommend that PRS table NPRR527 for one month.  Jeremy Carpenter seconded the motion.  The motion carried unanimously.

Planning Working Group (PLWG) (see Key Documents)

PGRR027, Analysis of Subsynchronous Resonance Studies in Transmission Studies

Ms. Wagner expressed concern that PGRR027 would require existing Generation Resources to install protective equipment.  Market Participants discussed that PGRR027 applies only to Interconnecting Entities (IEs) and that a NOGRR will be submitted to outline the criteria for subsynchronous resonance studies and to establish requirements for existing Generation Resources.  Ms. Wagner suggested that any related document move through the approval process at the same time as PGRR027.  ERCOT Staff offered additional administrative clarifications to PGRR027.

Mr. Donohoo moved to recommend approval of PGRR027 as recommended by PLWG in the 3/27/13 PLWG Report and as revised by ROS.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Data Change Process Task Force (DCPTF) (see Key Documents)

Brenda Hampton reviewed recent DCPTF activities and noted discussions regarding control of the RARF data elements through the Resource Registration Glossary.  There were no objections to controlling RARF data via the Resource Registration Glossary with revisions subject to review by ROS and approval by TAC.

Special Protection System (SPS) Type 2 Task Force (SPS2TF)

Mr. R. Jones reported that the SPS2TF might have another meeting to review NOGRR110, Synchronization with NPRR529, Congestion Management Plan, and file comments; and that subject to the approval of NOGRR110, SPS2TF might disband.

Voltage Reduction Task Force Scope (VRTF)

There were no questions regarding the posted VRTF report.

Other Business

Market Participants discussed that the ERCOT Staff will regularly report to both ROS and the Wholesale Market Subcommittee (WMS) regarding the Fast Responding Regulation Service (FRRS) pilot project; and that currently the Geomagnetic Disturbance Procedure is reviewed by the OWG but not by a stakeholder voting body, and that review should be given to the process.

Adjournment

Mr. Holloway adjourned the April 11, 2013 ROS meeting at 1:40 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2013/04/20130411-ROS