| NPRR Number | 539 | NPRR Title | Amend Wholesale Storage Load Definition |
| --- | --- | --- | --- |
| Date Posted |  | April 26, 2013 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Section Requiring Revision |  | 2.1, Definitions |  |
| Market Guide Section Requiring Revision |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds thermal energy storage associated with turbine inlet chilling to the list of technologies eligible for Wholesale Storage Load (WSL) Settlement treatment. At its April 12, 2013 meeting, WMS endorsed this NPRR and directed Emerging Technologies Working Group (ETWG) to file it. There was one abstention to the WMS motion from the Consumer Market Segment. |  |
| Reason for Revision |  | The WSL definition identifies specific energy storage technologies eligible to receive WSL Settlement treatment and in order for thermal energy storage associated with turbine inlet chilling to receive WSL settlement treatment, it must be added to the list. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No. |  |

Business Case

| Business Case | 1 | Describe qualitative benefits: - Affords an energy storage technology the Settlement treatment for which it is eligible under P.U.C. Subst. R. 25.192, Transmission Service Rates, P.U.C. Subst. R. 25.501, Wholesale Market Design, and the Protocols. - Provides additional clarity regarding WSL treatment eligibility. |
| --- | --- | --- |

| Sponsor |  |
| --- | --- |
| Name | Mark Bruce on behalf of ETWG |
| E-mail Address | mark.bruce@stratusenergy.com |
| Company | Stratus Energy Group |
| Phone Number |  |
| Cell Number | 512-810-1516 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

Proposed Protocol Language Revision

2.1 	DEFINITIONS

- Load

...

Wholesale Storage Load (WSL)

Energy that is separately metered from all other Facilities to charge a technology that is capable of storing energy and releasing that energy at a later time to generate electric energy.  WSL includes losses for the energy conversion process that are captured by the WSL EPS Meter.  WSL is limited to the following technologies:  batteries, flywheels, compressed air energy storage, pumped hydro-electric power, electro chemical capacitors, and thermal energy storage associated with turbine inlet chilling.