| NPRR Number |  | NPRR Title | Clarification for Posting Transmission Loss Factors |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution |  | Normal. |  |
| Nodal Protocol Sections Requiring Revision |  | 13.2.4, Seasonal Transmission Loss Factor Calculation 13.2.5, Loss Monitoring |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the posting requirements for Transmission Loss Factors (TLFs). |  |
| Reason for Revision |  | The existing language is inconsistent with the existing methodology for the posting of TLFs. TLF’s are only calculated for four seasons and are posted by season. Additionally, the cases used to calculate the TLFs are classified as Critical Energy Infrastructure Information (CEII) and therefore cannot be posted to the Market Information System (MIS) Public Area due to restrictions. They are, however, posted on the Planning and Operations Information site. Finally, this NPRR deletes language regarding cost of losses in evaluation of transmission additions as is duplicative of language in Section 3.1.3.2, Reliability-Driven Project Evaluation, of the Planning Guide. |  |
| Credit Implications |  | None. |  |

| Business Case |  |
| --- | --- |
| 1 | - This NPRR will clarify existing language such that it aligns with the current business process. |

| Sponsor |  |
| --- | --- |
| Name | James Teixeira |
| E-mail Address | jteixeira@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6582 |
| Cell Number | 512-656-6734 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

Proposed Protocol Language Revision

13.2.4	Seasonal Transmission Loss Factor Calculation

(1)	Seasonal on-peak and off-peak TLFs are derived from the annually updated ERCOT on-peak and off-peak load flow base cases analysis by ERCOT.  Base cases reflect the most current data on the transmission system and Generation Resource dispatch.  The ERCOT Transmission Grid topology and related Generation Resource dispatch in the base cases are the critical factors in calculating losses.  Seasonal time periods are defined as follows:

(a)	Spring (March – May)

(b)	Summer (June – September)

(c)	Fall (October – November)

(d)	Winter (December – February)

(2)	ERCOT shall calculate seasonal TLFs by dividing ERCOT seasonal case transmission losses (60 kV system and higher) by the ERCOT seasonal base Load adjusted (reduced) for self serve Load modeled in the case.  The resulting loss factors are expressed as a percentage of Load.

(3)	ERCOT shall post the seasonal TLFs to the MIS Public Area prior to the start of the year for the next four seasons beginning with the Spring season.  .

13.2.5	Loss Monitoring

ERCOT shall monitor Transmission Losses annually and will investigate any abnormal loss factors.