## Slide 1: PDCWG Report to ROS
David Kee Chair
CPS Energy
Sydney Niemeyer Vice Chair
NRG Energy

## Slide 2: May Meetings
Met May 29 & 30, 2013
  May 29 – Joint & open meeting with QMWG re NPRR 524 & 527
  May 30 – Regular closed meeting. 28 members representing 16 companies as well as ERCOT & TRE.
System oscillations
SCR 773 - update
FRRS data review
NPRR 524 - update
NPRR 527 – update
Event reviews
Frequency Control Report May 2013

## Slide 3: System Oscillations - update
Member reported that PSS tuning is working to protect generator
PSS tuning SME reported that oscillations are still occurring
  PSS only fixes symptom, not problem
PMU data is still desired
Action Requested:
  ERCOT will look back at 2002 study as starting point for dynamic study
  Request RPG be given action to review study and results

## Slide 4: SCR 773 - Update
Early look at the data (five days)
Some indications that SCR 773 may be successful
Dataset is too small to draw any conclusions

## Slide 5: FRRS update
ERCOT presented analysis
PDCWG provided feedback
Consensus was that the response seems to impact frequency as expected
No consensus on how to “fit” in current market design

## Slide 6: ERCOT methodology for determining FRRS capacity

## Slide 7: Questions for PDCWG
Can it be regulation?
  Yes it can, depending on how the Resource allocates its obligation and the performance to the deployments.
  FRRS can qualify for regulation AS and be evaluated by PDCWG via GREDP metric
  Example: FRRS Resource with 60MW capacity can serve a 1MW obligation over 60 minutes.
  FRRS Resources may want to follow the LFC regulation signal that Generation Resources follow to allow for pilot to be evaluated for regulation service. Current deployment signal is separate from regulation signal
Should it be regulation?
  Maybe not. The quality of response has a higher quality closer to primary frequency response.
  Responsive reserve may be a better fit.
How does this improve reliability?
  Seems to improve frequency decay during frequency event
  Frequency nadir is raised.
How much?
  TBD – more of an economic question, QMWG?
How much regulation can ERCOT stand to be offset by FRRS?
  Current participation (33MW up & 33MW down) levels are expected to be acceptable
  Maximum amount provided should not exceed “ 65MW up & 35MW down”
  Not a 1:1 equivalence of capacity between conventional generators and FRRS resources
Proposed Changes to deployment?
  Proportional control
  Reserve for unit trips as opposed to frequency control

## Slide 8: NPRR 524
PDCWG & QMWG
5/29/13

## Slide 9: Summary
NPRR524 considered in joint meeting of PDCWG & QMWG on 5/29/13
Language and comments were considered
All issues raised in the group were understood by NPRR author
Author plans to submit comments to incorporate the changes proposed by this group

## Slide 10: Generator Specific Fundamentals
Allocation & Awards
Currently up to 24% of the HSL can be awarded RRS
Proposal for the first 20% of the HSL of the Generation Resource is required to be frequency responsive
The remaining 4% of the HSL can be carried as non-frequency responsive and must meet any subsequent deployments within 10 minutes

## Slide 11: ERCOT Specific Fundamentals
2800MW RRS obligation
  Frequency Responsive LR = 1400MW to 0MW
  83% Frequency Responsive Generation = 1162MW to 2324MW
  17% Non Frequency Responsive = 238MW to 476MW
Possibly use portfolio based percentages. 83% of award has PFR & 17% of award will not have PFR.
  Not feasible in ERCOT systems (EMS)
  Can you carry all of the nonPFR MW on a single generator?

## Slide 12: Identified Risks
Risk of not passing BAL003. If this is the case, ERCOT would reduce maximum percentage of RRS capacity on a single resource from 24% to 20% (or what is deemed appropriate to pass standard)
No mechanism to allocate RRS to differentiate what capacity is frequency responsive.
  NPRR 527

## Slide 13: Qualification & Deployment
10 minute is a definite requirement for non frequency responsive capacity serving Responsive Reserve
How will the deployment work? (NPRR 429 problem)
  Some technology can provide the power augmentation via AGC & follow SCED
When changes are made to provide non frequency responsive capacity to market, RARF is updated to reflect the changes.
  Qualification of new capacity may or may not be required by ERCOT (issue not addressed)

## Slide 14: Testing Impact
Referring to Governor testing and test submissions via NDCRC application
  HSL changes may be an issue in the application

## Slide 15: Market Policy
Separation of services by value
  Fast PFR
  PFR
  REG
  RRS – GEN
  RRS – LR
  RRS – PA

## Slide 16: NPRR 527
PDCWG & QMWG 5/29/13
PDCWG 5/30/13

## Slide 17: NPRR 527
Collaborated with QMWG
Solution was agreed upon
Currently drafting comment language
Request to table NPRR527 for 1 month to allow PDCWG time to complete and submit comments. (Vote)

## Slide 18: Event Review
PDCWG Reviewed 3 events
  4/29/13 @13:59 loss of 522MW
    Combined cycles with duct firing capacity did not provide PFR. Regulation was nearly exhausted
  5/3/13 @04:55 high frequency
    Generators in startup or transitions on combined cycles were noted as main driver based on the given dataset (repeat from last month)
    Seems that the online units are not dispatched down to make room for the generation that is coming online
  5/22/13 @16:11 loss of 820MW
    Combined cycles with duct firing capacity did not provide PFR.

## Slide 19: ERCOT Frequency Control Report
Sydney Niemeyer NRG Energy
June 4, 2013

## Slide 30
May Daily Time Error Change

## Slide 32
Time Correction History

## Slide 35
ERCOT Primary Frequency Response – BAL-003-1
2014 Bias and Frequency Response Measure

## Slide 39: Focus for 2013
Formal & documented review/report of frequency responsiveness for Power Augmentation on Combined Cycle Resources (train not individual unit)
Review regulation/GTBD deployment effectiveness (SCR 773)
Study the impact of HSL/basepoint/generation deviation on compliance and reliability
Responsive Reserve requirements, qualification vs. compliance. (10min vs. 16 second)
Standardized/consistent metrics for PFR analysis (BAL001-TRE).
Standardized/reasonable expectations for extreme events (2750MW or larger lost) – driven by NERC.
No performance required for nonpayment (freq. resp AS)
ERS impact review with appropriate ERCOT group. Target Q1-2014
PMU data understanding of implications
Pilot of fast frequency response – characterize & create evaluation process.
Work on realistic measurement of combined cycles

## Slide 40
Questions?