## Slide 1: NPRR 532 Performance Measurement & Verification and Telemetry Requirements for Load Resources providing Non-Spin
David Kee
CPS Energy
Energy Supply & Market Operations

## Slide 2: Challenges
Load Resources providing Ancillary Services
  Protocols do allow for Load Resources to provide Ancillary Services

## Slide 3: Definition: Non-Spinning Reserve (Non-Spin)
An Ancillary Service that is provided through use of the part of Off-Line Generation Resources that can be synchronized and ramped to a specified output level within 30 minutes (or Load Resources that can be interrupted within 30 minutes) and that can operate (or Load Resources that can be interrupted) at a specified output level for at least one hour. Non-Spin may also be provided from unloaded On-Line capacity that meets the 30-minute response requirements and that is reserved exclusively for use for this service.

## Slide 4: Challenges
Load Resources providing Ancillary Services
  Protocols do allow for Load Resources to provide Ancillary Services
  Protocols don’t contemplate Measurement and Validation of Aggregated Load Resources which prevents qualification & testing

## Slide 5: Deployment Methodology
Comments and proposed changes to ERCOT desk procedures create the best solution
  Deploy the Non Spin provided by LR last
  Holds MW out until needed prior to EEA (market issue with price suppression)

## Slide 6: Deployment Example
Chart: 
| Current Nonspin | Proposed nonspin
On Nonspin | 5 | 5
Off Nonspin | 5 | 3
LR Nonspin | 0 | 2
Gen & LR
LR
Moves LR MW up in capacity stack
???
Gen
Gen
Gen

## Slide 7: QUESTIONS…?