## Slide 1: NPRR 532 Performance Measurement & Verification and Telemetry Requirements for Load Resources providing Non-Spin
David Kee
CPS Energy
Energy Supply & Market Operations

## Slide 2: Challenges
Load Resources providing Ancillary Services
  Protocols do allow for Load Resources to provide Ancillary Services
Price Suppression
  Potential to be an issue

## Slide 3: Non-Spinning Reserve (Non-Spin)
An Ancillary Service that is provided through use of the part of Off-Line Generation Resources that can be synchronized and ramped to a specified output level within 30 minutes (or Load Resources that can be interrupted within 30 minutes) and that can operate (or Load Resources that can be interrupted) at a specified output level for at least one hour. Non-Spin may also be provided from unloaded On-Line capacity that meets the 30-minute response requirements and that is reserved exclusively for use for this service.

## Slide 4: Challenges
Load Resources providing Ancillary Services
  Protocols do allow for Load Resources to provide Ancillary Services
Price Suppression
  Potential to be an issue
Protocols don’t contemplate Measurement and Validation of Aggregated Load Resources which prevents qualification & testing

## Slide 5: Price Suppression
Comments and proposed changes to ERCOT desk procedures create the best solution
  Deploy the Non Spin provided by LR last
  Holds price suppressing MW out until needed to prevent EEA.
  In the case of anticipated 4CP days, LRs will be held out until needed as opposed to voluntarily responding to 4CP and suppressing market prices with no coordination of the price suppression.

## Slide 6: Deployment Example
Chart: 
| Current Nonspin | Proposed nonspin
On Nonspin | 5 | 5
Off Nonspin | 5 | 3
LR Nonspin | 0 | 2
Gen & LR
LR
Moves Price Suppressing MW up in capacity stack
???
Gen
Gen
Gen

## Slide 7: Risks
Not allowing for protocol changes to be implemented effectively
Strands capacity from the market
Disparate treatment of ALRs
Increases risk of price suppression more often due to voluntary Load Response not being controlled by ERCOT

## Slide 8: QUESTIONS…?