## Slide 1: Preliminary Report on ERCOT Pilot Project for Fast Responding Regulation Service (FRRS)
June 12th, 2013

## Slide 2: OUTLINE
Summary of Findings
Questions for PDCWG
Conventional Regulation Deployment and Frequency
FRRS Up and FRRS Down performance
FRRS-Pilot Resource’s ability to respond to sudden large frequency deviation
Measuring ERCOT deployed FRRS-up against rate of change of Frequency and Regulation-up deployment
Stakeholder Review Process

## Slide 3: Summary of Findings
  Based on the first three months of observations;
  The introduction of FRRS improves ERCOT’s ability to arrest frequency decay during unit trips.
  FRRS Pilot Resources generally followed ERCOT FRRS deployments and responded automatically using local frequency detecting techniques.
  When deployed, FRRS reduces the rate of change of frequency and regulation deployed to conventional Resources.
  Observed lower quantities offered for FRRS-down and an overall lower performance for FRRS-down.

## Slide 4: Questions for the PDCWG
Can FRRS be part of Regulation Service?
If so, how much FRRS can participate in Regulation Service?
If so, are there any recommended changes to deployment logic of the pilot and what performance criteria are recommended

## Slide 5: Conventional Regulation deployment and Frequency

## Slide 6: Response from Conventional Resource

## Slide 7: Response from FRRS Resource

## Slide 8: Response from Conventional and FRRS Resources

## Slide 9: FRRS Performance

## Slide 10: 05-22-2013 Frequency event

## Slide 11: 03-30-2013 High Frequency Event
60 Hz
Frequency FRRS-Up Deployed FRRS Response

## Slide 12: Effect of FRRS-Up on Frequency and Reg-Up
Frequency FRRS-Up Deployed FRRS Response Regulation Deployed
60 Hz

## Slide 13: FRRS Impact on RoCoF

## Slide 14: FRRS Impact on Reg-Up Deployment

## Slide 15: Additional Analysis Underway Using KERMIT
KERMIT is a Matlab/Simulink/Excel based platform used for simulating daily system operation with 1 second resolution.
  Capable of providing an assessment of a system’s ability to achieve adequate balancing and maintain system frequency
  Once the KERMIT model is calibrated and the deployment and un-deployment logic of FRRS are added, it can be used to study impacts of FRRS in the ERCOT system.

## Slide 16: Stakeholder Review Process
ERCOT discussed progress of FRRS-pilot and some performance data with ETWG and PDCWG in March, April and May 2013
More discussions in June with the various subcommittees (ID options)
TAC July 2 (Update on Pilot and outline options)
BOD July 16 (Present update and options)

## Slide 17: Appendix

## Slide 18: Purpose of FRRS Pilot
The pilot governing document states the purpose of the pilot project is to:
Determine whether FRRS can improve ERCOT’s ability to arrest frequency decay during unit trips
Determine the optimal means of deploying FRRS by testing various deployment methodologies
Determine whether FRRS can reduce the need for Regulation Service and thereby reduce total Ancillary Service costs
Assess the operational benefits and challenges of deploying FRRS
Provide data for ERCOT to determine the appropriate settlement treatment for Resources providing FRRS, including possible “pay-for-performance” methods such as those being developed in response to FERC Order 755.

## Slide 19: FRRS Pilot Overview
FRRS pilot deployment obligations began on Feb. 25, 2013 at hour ending 11.
When the pilot began, there were 32 MW FRRS UP and 30 MW FRRS DOWN qualified to participate.
Additional 1 MW FRRS UP and DOWN began participating on Mar. 16, 2013.
All the qualified resources completed the qualification tests.
ERCOT has made FRRS parameter changes twice and more parameter changes are expected during the course of pilot

## Slide 20: Log of Parameter Changes

## Slide 21: Impact on Reg-up in Feb 2013

## Slide 22: April and May 2013 Performance
April, 2013 | FRRS-UP | FRRS-DOWN
FRRS Resource A | 98.51% | 64.77%
FRRS Resource B | 77.78% | 100.00%
Total Average | 88.15% | 82.39%
May 1 – May 20, 2013 | FRRS-UP | FRRS-DOWN
FRRS Resource A | 97.61% | 50.00%
FRRS Resource B | 60.15% | 74.69%
Total Average | 78.88% | 62.34%

## Slide 23: Number of FRRS Deployments
59.97
59.98
59.975

## Slide 24: Determination of max FRRS-pilot participation

## Slide 25: May 2013 Regulation-Up Usage Vs Procurement

## Slide 26: FRRS-DN and FRRS-UP Payments

## Slide 27: OD 2-25-13 thru OD 5-20-13 Market Clearing Prices

## Slide 28: FRRS-DN Award Amounts

## Slide 29: FRRS-UP Award Amounts

## Slide 30: FRRS-DN Performance

## Slide 31: FRRS-Up Performance

## Slide 32: Performance Rate for First 13 Weeks