## Slide 1: CMWG Update to WMS 6-12-13
Report of CMWG Meeting of
6-5-13

## Slide 2: CRR Topics-2013 Under Funding
ERCOT Presentation & White Paper on CRR Modeling at: http://ercot.com/calendar/2013/06/20130605-CMWG
2013 shortfalls remaining after Balancing Account Distributions
Main differences occur when assumptions differ between CRR auction model and DA Model. Underfunding for May mainly due to outages that were not considered in CRR model due to timing of submission of transmission outages
CMWG will continue discussion on this in July
SCR 774 – Enhancement to Outage Scheduler & Reports (WMS Action item for CMWG was published early June—discuss at June PRS

## Slide 3: CRR Topics – Long Term Auctions & Credit Changes—NPRR 484 Implementation
Process working well—auction results publishing early. Bids for Seq3 due 6/13/13, Seq4 due 7/5/13
  NPRR 484—Credit Changes for CRR Collateralization-- Phase 1 includes the CRR and Credit changes to implement path-specific adders
    Each CRR (bid or owned) carries a path credit adder based on historical DAM and CRR clearing prices
  Phase 2--- deferred invoicing not implemented until 2015

## Slide 4: Implementation of NPRR 520—RT Competitive Constraint Analysis Implementation Details
  Available capacity for a resource—ERCOT will use telemetered HSL/LSL
  Designation of Managed Capacity—Client Services Continues to refine and is working with ERCOT Operations
  How to handle Resources committed via RUC—adds to entity’s managed capacity—resolution—monitor to see if any issues
  Status of resources in ECI calculation--Considers offline resources now….when you take HSL for offline, HSL is zero…thus use of offline impacts only the value of the Shift Factor used to determine pool of resources that can solve constraint --resolution—monitor to see if any issues

## Slide 5: Discussions of NPRRs 528/529/540/541
ERCOT states submitted to clarify existing practices
Repeated commitment from ERCOT that intent is not to get in front of SCED/holistic solution—that the RAPs, and MPs are for use solely POST CONTINGENCY
Only pre-contingency are PCAPs—which are limited in number and TOAPs which are limited in duration to relevant Outage