## Slide 1: Resource Adequacy Task Force (RATF)
Update to WMS
June 12, 2013

## Slide 2: Back Cast of Interim Solution B+ to Improve Real-Time Scarcity Pricing
Concerns/Questions of the RATF of May 17th
  Concerns about minimum contingency level- what is the appropriate value of X ?
    Should X be called the minimum contingency level- is this level where ERCOT sheds load? When X moves away from that level, should we continue to use VOLL as the multiplier or some percentage of VOLL ?
    Per the NERC standard, (BAL 002 1a), X could be equal 1,375 MW. Per historical data, the level could be around 1,100 MW
  Backcast does not take into account behavioral changes
    Concerns were discussed about operating inefficiently from commitment standpoint- could lead to over-commitment with higher contingency levels.
  Value of VOLL
    How is VOLL set and it impacts SWOC? Stakeholders would like an update on the status of VOLL study
    If PNM target is hit, is the VOLL lowered and how does it impact the market and ORDC
  Impacts of future market changes
    Future rule changes concerning ERS, quicker demand response, loads in SCED, changes to SWOC, and load contribution can dramatically lower the PNM
    Going forward look- What reserves are included- do LAARs participate; RMR units are at the offer caps now & should they remain the same
  Credit implications – how do you determine adder and when it applies for historical view for setting collateral parameters
  Will current AS price floors and SWOC remain if ORDC is implemented

## Slide 3: Back Cast of Interim Solution B+ to Improve Real-Time Scarcity Pricing
Concerns/Questions of the RATF of May 17th - Continued.
  Slope of LOLP Curve
    Is it more appropriate to use an exponential shape
    Line segments on concave curve as presented by ERCOT may overstates the curve compared to exponential shape.
  Day Ahead Market impact
    Do we add the ORDC for just AS in real-time?
    If the adder is significant, the DAM will reflect this and draw more energy sold
  “First Principles”
    Is the proposal based on "First Principles“ and how to set key parameters. Concerns about using the “First Principles” approach would actually reduce, not increase revenues
    If we depart from "First Principles," is it possible to create a greater slope of the curve to allow a more market friendly approach?
    How to maintain an increased value of reserves as the amount of reserve decreases
  Frequency of changes- methodologies create specific curve but has major impact on the adder. Three variables- level of X , frequency of VOLL study and the addition of the LOLP as part of AS methodologies
  Compliance concerns- qualifications; importance and accuracy of HSL and ramp rates
  Impacts of Power Balance Curve due to ORDC
    With no reserve curves, does the power balance curve need to be adjusted because lack of HASL

## Slide 4: Next Steps
Comments were file on May 31 under PUCT Project No. 40000
PUCT workshop is schedule for June 27 on Project No. 40000- Back Cast of Interim Solution B+ to Improve Real-Time Scarcity Pricing at Travis Building

## Slide 5: Appendix

## Slide 6: Back Cast of Interim Solution B+ to Improve Real-Time Scarcity Pricing
Concerns/Questions of the RATF of April 19th
  Determination of LOLP
    Should we use actual system conditions to calculate LOLP instead of the forecast values
    Should we use negative value in the LOLP distribution in table 14
    Differences in the LOLP in ERCOT’s curve and actual experience
  SCED was not re-run
  How should we set the minimum contingency levels (X)
  2011 analysis was not adjusted for current price floors
  Will current price floors and SWOC remain if ORDC is implemented
  How is DAM impacted by the two approaches on real time co-optimization
  What is included in a 30 minute reserve (online/offline) and payments
  What is the breakdown of the Ancillary Service Imbalance Charge
    Payments to generators outside existing reserve represents how much uplift
    Impact from charges on resource providing AS will be incorporated in their AS offers